# WIND DRIVEN FIRES IN STRUCTURES

# Daniel Madrzykowski and Stephen Kerber*

National Institute of Standards and Technology

Gaithersburg, MD., USA

* Currently with Underwriters Laboratories, Northbrook, IL., USA

ABSTRACT

Fires in high-rise buildings create unique safety challenges for building occupants and fire fighters. Smoke and heat spreading through the corridors and the stairs of a building during a fire can limit building occupants’ ability to escape and can limit fire fighters’ ability to rescue them.

The National Institute of Standards and Technology (NIST), in conjunction with the Chicago Fire Department and the Fire Department of New York City (FDNY), Fire Protection Research Foundation (FPRF) and NYU Polytechnic Institute have completed a study on wind driven fires.  The study consisted of full scale, live fire experiments, in both the NIST Large Fire Laboratory and high rise structures, in an effort to better understand this phenomenon and to develop strategies and tactics that will enable firefighters to survive and safely fight fires under wind driven conditions. This is particularly catastrophic in high rises and similar buildings where the fire must be fought from the interior of the structure.  However many of the lessons learned from this study have application to all residential structure fires.

INTRODUCTION

In 2002, there were 7300 reported fires in high rise structures (structures 7 stories or more) in the United States. The majority of these high rise fires occurred in residential occupancies, such as apartment buildings. In fires that originated in apartments, 92 % of the civilian fatalities occurred in incidents where the fire spreads beyond the room of origin 1.

Changes in the building’s ventilation, such as the opening of doors or windows can increase the growth of the fire and allow it to spread beyond the room of fire origin. This can also increase the spread of fire gases through the building. In some cases, such as the Cook County Administration Building fire in October 2003, the fire flow into the corridors and the stairway prevented fire fighters from suppressing the fire from inside the structure. This fire resulted in 6 building occupant fatalities and several fire fighter injuries in the stairway 2.

The failure of a window in the fire apartment in the presence of an external wind can create significant and rapid increases in the heat production of a fire. Combined with open doors to corridors, stairs, or downwind apartments, many wind driven fire incidents have resulted in fire fighter fatalities and injuries 3,4.

The objective of this study was to improve the safety of firefighters and building occupants by enabling a better understanding of wind driven fire conditions and fire fighting tactics that could be used to mitigate the fire hazard.  Two series of wind driven fire experiments were conducted to demonstrate the hazard and examine the potential fire fighting tactics.  The first set of experiments

were conducted in a laboratory and the second set of experiments was conducted in a seven story acquired structure in New York City.

Both sets of experiments were designed to expose a public corridor area to a wind driven, post-flashover apartment fire.  The door from the apartment to the corridor was open for each of the experiments.  The conditions in the corridor were of critical importance because the corridor is the portion of the building that firefighters would use to approach the fire apartment or that occupants from an adjoining apartment would use to exit the building.

LABORATORY EXPERIMENTS

The experiments were conducted in NIST’s Large Fire Facility in order to provide the best levels of control on the experiments and have the capability of making heat release rate and high quality gas concentration measurements which would be difficult and cost prohibitive to make in an acquired structure.

A series of experiments were conducted to develop baseline or benchmark conditions.  Full-scale heat release rate experiments were conducted on the waste container, the bed, upholstered chair and sofa.  The furnishings were also characterized in terms of material, size and mass.

The next series of tests conducted examined the wind source used for the structure tests.  The wind source was characterized based on the engine speed and wind velocity.  Differential pressure sensors and pressure probes were used to examine the pressures and flow through the structure with no fire present.  Wind tests were also conducted with the wind control devices to examine the changes to the pressures and flow in the structure after deployment.

Water distribution experiments, under wind driven conditions, were also conducted in the structure.  These experiments measured the mass of water collected in pans placed on the floor of the structure.  The water spray from several different application nozzles was measured.  These water distribution experiments provide a map of areas that might be impacted directly by the water during the suppression phase of the wind driven fire experiments.

Wind driven fire experiments were conducted in a fire resistant, three room structure with a corridor.  In order to understand the impact of the wind and mitigation tactics on the fire conditions within the structure, measurements of heat release rate, temperature, heat flux, pressure, gas concentrations, and gas velocity were made. Recordings of the experiments were made with video and thermal imaging cameras.

The constants in each of the fire experiments included fuel load, wind direction, and ignition location and source.  Variables included wind speed, wind mitigation technique, and suppression method used.  A presentation of some of the results is presented here.  A complete description of the experimental arrangement, instrumentation and all of the results is provided in NIST Technical Note 1618 5.

Heat Release Rate Experiments

One of the key measurements for quantifying fire hazard and growth is heat release rate.  These experiments were conducted on components of the fuel load used in the structure fire to provide bench marks for the amount of energy available from the furnishings.  In the following heat release rate experiments, the fuel load components were burned under a calorimeter in a “free burn” or “fuel limited” condition.   There were no compartmentation effects, or wind driven effects on the burning rates.

Eight heat release rate experiments were conducted to characterize the ignition source and the upholstered furniture items.  The average peak heat release of the trash container ignition source was 32 kW.  The upholstered chairs had an average peak heat release rate of 1.8 MW.  The bed fuel packages had an average peak heat release rate of 4.3 MW.  The sofas provided an average peak heat release rate of 2.5 MW.  The peak heat release rate for each of the furnishing items occurred between 389 s and 474 s in these free burn experiments.

In the structure fire experiments, both the bedroom and the living room contained a fuel load composed of furnishings with an average peak heat release rate of 7.8 MW with a total heat release of at least 1700 MJ, not accounting for any of the wooden furniture or interior finish materials.  These fuel packages coupled with interior finish fuels and the wood furnishings in the bedroom and living room should have the ability to sustain post-flashover conditions for several minutes, which will provide the time needed to examine the impact of a wind control device and or external water streams.  An example of the repeatability of the heat release rate data for the sofa fuel package is given in Figure 1.  The estimated expanded uncertainty is ± 11 % on the measured heat release rate 6.  An error bar representative of the estimated uncertainty for each measurement is given on every data graph.

Figure 1.  Replicate heat release rate versus time for sofa fuel package.

Fire Experiments in Laboratory Structure

Eight fire experiments to examine the impact of wind on fire spread through a multi-room structure and examine the capabilities of wind-control devices (WCD) and externally applied water to mitigate the hazard were conducted in the NIST Large Fire Laboratory. The principle measurements used to characterize the fire environment were heat release rate, temperature, heat flux, and velocity inside the structure. Measurements of oxygen, carbon dioxide, carbon monoxide, total hydrocarbons and differential pressures were also measured in the bedroom (room of fire origin) and in a furnished living room (room in the flow path).  Video and thermal images of the experiments were also recorded.

The experiments were designed to expose a public corridor area to a wind driven, post-flashover apartment fire.  The door from the apartment to the corridor was open for each of the experiments.  The conditions in the corridor were of critical importance because that is the area of the building that firefighters would use to approach the fire apartment or that occupants from an adjoining apartment would use to exit the building.

The structure was composed of three rooms; a bed room, a living room and a target room.  The bed room, target room and living room were connected by a hallway.  A door from the living room leads to a corridor that extends 7.3 m corridor in each direction, when measured along the inside of the exterior wall. The south side of the corridor is closed with no exit.  The north side of the corridor had an exit vent on the ceiling, which led to an insulated exhaust chimney that vents into the oxygen consumption calorimetry hood.  The only other opening to the facility is the bedroom window (1.5m x .5 m), when it vented during the fire experiments.  The window served as the wind inlet during the experiments.  A dimensioned schematic plan view of the structure is given in Figure 3 and a flow diagram with the areas of the corridor labeled is provided in Figure 4.

Figure 3.  Schematic plan view of the experimental structure with dimensions.

Figure 4.  Schematic diagram of flow paths through experimental structure.

Experiment 1 was conducted without any external wind.  This experiment provided valuable baseline data and demonstrated several important points relevant to fire fighting.

The experiment provided a good demonstration that smoke is fuel.  A ventilation limited (fuel rich) condition had developed prior to the failure of the window.  Oxygen depleted combustion products, containing carbon dioxide, carbon monoxide and unburned hydrocarbons, filled the rooms of the structure.  Once the window failed, the fresh air, entrained by natural ventilation, provided the oxygen needed to sustain the transition through flashover, which caused a significant increase in heat release rate.  In less than a minute after the window was vented, the heat release rate increased from approximately 1.5 MW to more than 14 MW.

This also demonstrated the fact that venting does not always equal cooling.  In this experiment, post ventilation temperatures and heat fluxes all increased, due to the ventilation induced flashover.  The natural ventilation caused fire induced flows. Velocities within the structure exceeded 5 m/s, just due to the fire growth and the flow path that was set-up between the window opening and the corridor vent.

The directional nature of the fire gas flow was demonstrated with the thermal measurements, both temperature and heat flux, which were twice as high in the “flow” portion (North) of the corridor as opposed to the “static” portion (South) of the corridor in Experiment 1.  Thermal conditions in the flow path were not consistent with firefighter survival. Figure 5 shows the temperatures along the flow path at an elevation of 1.5 m below the ceiling (or 0.9 m above the floor).  Notice the difference between the temperature in the flow path from the bedroom (BR) through the living room (LR) and into the north portion of the corridor (CN).  The south portions of the corridor (CS and CSW) were not in the flow path.

Figure 4.  Temperature versus time, Experiment 1, no imposed wind.  T = 0 is the time of window failure. Temperatures are measured 1.52 m below the ceiling.

# Wind Driven Laboratory Fire Experiments

Experiments 2 through 8 all used a mechanically generated wind, ranging from 3 m/s to 9 m/s.  The fuel load in the structure was the same for all of the experiments.  Each of these experiments demonstrated a rapid transition to untenable conditions in the corridor, even for a firefighter in full PPE, after the window failed.

Two different wind control devices (WCD) were used during these experiments.  The devices function by covering the window opening and blocking or reducing the flow of air into the room.  Both of the devices used in these experiments were made from a proprietary high temperature textile material that is flexible, resists abrasion, and can withstand temperatures of approximately 1100 ºC.

The main differences between the two devices are size, weight and stiffness.  The smaller WCD measured 1.8 m by 2.4 m and weighed approximately 12.3 kg.  It was reinforced with metal rods and had a rope fastened at each corner to secure it.  This device, given the size and shape, could be deployed by one firefighter from the floor above the fire.

The second WCD measured 2.95 m by 3.66 m and weighed approximately 20.5 kg.  This WCD had a chain sewn into the bottom of the curtain to assist with deployment. It also had tether straps attached at each corner.  This device would typically require two or more firefighters to deploy and secure in place.

Experiments 2 through 5 focused on the impact of WCDs.   In these experiments, the WCDs reduced the temperatures in the corridor outside the doorway by more than 50 % within 60 s of deployment as shown in Figure 5.  The heat fluxes were reduced by at least 70 % during this same time period as shown in Figure 6.  The WCDs also completely mitigated any gas velocity due to the external wind.

Figure 5.  Temperature versus time from the Corridor North array, 0.91 m above the floor, Experiments 2 through 5.  T = 0 is the time of WCD deployment.

Figure 6.  Heat flux versus time from the Corridor North position, 0.91 m above the floor, Experiments 2 through 5.  T = 0 is the time of WCD deployment.

Experiments 6 through 8 focused on the impact of externally applied water.  In these experiments, the externally applied water streams were implemented in three different ways; a fog stream across the face of the window opening, a fog stream into the window opening, and a solid water stream into the window opening. The fog stream across the window was not effective at reducing the thermal conditions in the corridor.  The fog stream in the window decreased the corridor temperature by at least 20 % and the corresponding heat flux measured by at least 30 %.  The solid stream experiments resulted in corridor temperature and heat flux reductions of at least 40 % within 60 s of application.  None of the water applications reduced the gas velocities in the structure.  In some cases, the gas velocity increased during water application, due to momentum imparted from the water.

# Door Control

In Experiment 7, the fire was started with the door from the living room to the corridor in the closed position.  The window failed at approximately 300 s.  The door was opened at 377 s after ignition, this point is designated as time “zero” in Figure 7.  This figure clearly shows how the door was used as a WCD and a thermal barrier to protect the corridor from extreme thermal conditions.  Temperatures along the flow path (corridor north position) exceeded 600 °C within 20 s of the door being opened.  The temperatures in the south portions of the corridor, which were not in the flow path, increased at a much slower rate.  These temperatures were measured at 0.91 m above the floor.  This data demonstrates the importance of door control and the importance of keeping firefighters out of the flow path of fire gases.

Figure 7.  Temperature versus time, Experiment 7.  T = 0 is the time that the door between the living room and the corridor was opened.

SEVEN STORY BUILDING FIRE EXPERIMENTS

Further research in an actual buildings was required to fully understand the ability of firefighters to implement these tactics, to examine the thermal conditions throughout the structure, such as in stairways, and to examine the interaction of these tactics with building ventilation strategies both natural and with positive pressure ventilation.

When a wind driven fire condition exists in a structure the “normal” direct frontal fire attack of stretching an attack line down the corridor and into the fire apartment is not a tactic that can be executed without burning or severely injuring the attack team.  Crawling under or through these extreme conditions or even flowing a large caliber line and trying to move down the hallway is not a safe or even possible option.  Therefore, the capabilities and limitations of alternate strategies were examined in these building fire experiments.

A series of fourteen fire experiments, based on the laboratory experiments in terms of furnishings and apartment arrangement, were conducted in a seven story building on Governors Island in New York City to evaluate the ability of positive pressure ventilation fans (PPV), wind control devices (WCD), and exterior water application via high rise nozzles to mitigate the hazards of a wind driven fire in a structure.  Each of the tactics were implemented by members of FDNY and the impact of each of the tactics was measured.

A single type of Positive Pressure Ventilation (PPV) fan, 0.7 m in diameter, was utilized for these experiments.  It was powered by a 6.7 kW (9.0 hp) gasoline engine and was utilized to ventilate and pressurize the stairwells of the structure during the experiments.  Fans were positioned about 1.8 m from the doorways they were flowing into and tilted back 10 degrees from vertical.  Fans were located at the front lobby doors, base of the stairwells on the first floor and two floors below the fire floor depending upon the experimental configuration.  Two of the fans used are shown in Figure 8.  The WCDs used were similar to those used in the laboratory experiments, Figure 9.  The high-rise nozzles were designed to be deployed from the floor below the fire, as shown in Figure 10.

The air flow for 12 of the 14 experiments was intensified by a natural or mechanical wind.  Each of the tools was evaluated individually as well and in conjunction with each other to assess the benefit to fire fighters, as well as occupants in the structure.  The data collected used to examine the impact of the PPV fans, WCDs, and the exterior water application tactics were temperature, differential pressure, and gas velocity inside the structure.  Each of the experiments was documented with video and thermal imaging cameras.  These experiments also captured video of specific fire phenomena that are not typically observable on the fire ground.  A complete description of the experimental arrangement, instrumentation and all of the results is provided in NIST Technical Note 1629 7.

During these experiments a public corridor and stairwell area was exposed to a wind driven, thermal flow from a post-flashover apartment fire.  The door from the apartment to the corridor was open for each of the experiments.

As in the laboratory experiments, excess fuel pyrolysis/generation (lack of ventilation) prevented the room of fire origin (bed room) from transitioning to flashover until windows self-vented and introduced additional fresh air with oxygen to burn.  Without a wind imposed on the vented window, the fire did not spread from the room of origin and never left the apartment of origin.  However, even with no externally applied wind, the creation of a flow path from the outside, through the fire apartment into the corridor and up the stairs to the open bulkhead on the roof increased the temperatures and velocities in the corridors and in the stairwell resulting in hazardous conditions for fire fighters and untenable conditions for occupants on the fire floor and above in the stairwell.

With an imposed wind of 9 m/s to 11 m/s and a flow path through the fire floor and exiting out of the bulkhead door on the roof, temperatures in excess of 400 ºC and velocities on the order of 10 m/s  were measured in the corridor and stairwell above the fire floor.  These extreme thermal conditions are not tenable, even for a firefighter in full protective gear.  Without a flow path, the wind driven fire condition inside the structure cannot occur.  Door control was shown to be the most basic means to interrupt or control the flow path in the building.

The PPV fans alone could not overcome the effects of a wind driven condition.  However when used in conjunction with door control, WCDs, and high-rise nozzles, the PPV fans were able to maintain

Figure 8. Positive Pressure Ventilation fan set-up for use in the lobby of building.

Figure 9.  Wind Control Device (1.8 m x 2.4 m) deployed over open window.

Figure 10. High-rise nozzle with smooth bore tip deployed from the floor below the fire.

tenable and clear conditions in the stairwell.  Although the PPV fans, when used alone, could not reverse the flow of a wind driven fire, PPV fans always improved conditions in the stairwell.

In all of the building experiments, the WCDs reduced the temperatures in the corridor and the stairwell by more than 50 % within 120 s of deployment.  The WCDs also completely mitigated any velocity due to the external wind. The WCDs were exposed to a variety of extended thermal conditions without failure.

In all cases, the water flows from the high-rise nozzles suppressed the fires, thereby causing reductions in temperature in the corridor and the stairwell of at least 50 % within 120 s of deployment.  The water flow rates used in these experiments were between 7.9 lps (125 gpm) and 12.6 lps (200 gpm).

Wind driven fire conditions can generate and transfer energy throughout the flow path. When doors or WCDs are used to stop the wind driven fire conditions, energy and fuel may be trapped on the fire floor. These experimental results indicate that the thermal conditions due to the residual heat on the fire floor were still of a level which could pose a hazard to firefighters in full protective equipment.  However, when used in combination with PPV fans to force cool air into the stairwell and out through the fire floor, and or with the cooling effect from water streams, the fire floor temperatures were reduced to tenable conditions for fire fighters in full protective equipment in minutes.

IMPLEMENTATION BY THE FIRE SERVICE

This research has provided the science to support the promulgation of improved standard operating guidelines (SOG) for the fire service to enhance firefighter safety, fire ground operations, through the use of new tactics and equipment.  FDNY has proven the effectiveness of the use of PPV, WCDs and high rise nozzles in fire department field trials and pilot programs and has implemented SOGs for these tools and tactics across the department.

Training will also be required in order to implement any of these tactics safely and effectively.  NIST with the support of U. S. Fire Administration developed a DVD set which has the reports and videos from both sets of experiments.  The DVD also includes an overview video presentation featuring Battalion Chief Peter Van Dorpe (Chicago Fire Department) and Battalion Chief Jerry Tracy (Fire Department of New York).  In addition, FDNY has developed a series of programs to train their members in the use and maintenance of the new tools as well as how to identify and mitigate wind driven fire conditions.

SUMMARY

Both sets of experiments demonstrated the “extreme” thermal conditions that can be generated by a simple “room and contents” fire and how these conditions can be extended along a flow path within a structure when wind, an inlet vent and an exit vent are present. The results showed wind speeds as low as 4 m/s to 7 m/s can cause flames and hot gases to extend beyond the room or apartment of origin, generating untenable conditions for fire fighters and building occupants.  Understanding this phenomenon and the strategies and tactics to mitigate them will enable firefighters to survive and safely fight fires under wind driven conditions.

Three potential fire fighting tactics, which can be implemented remote from the fire floor were examined.  The WCD can be implemented from the floor above the fire, while PPV and external water application can be implemented from below the fire floor.  All three were demonstrated to be effective in reducing the thermal hazard in the stair and corridor approaching the fire apartment.  The findings from both the laboratory and seven story building experiments were in agreement and supported the use of the WCD and direct exterior water application as effective tactics for wind driven fires in structures. In the building experiments, PPV was shown to be useful for pressurizing the stairways, but would be the most effective when used in conjunction with a WCD or high-rise nozzle deployment.

The results provide potential guidance for firefighters as a part of a fire size up and for the approach to the room of fire origin: note wind conditions in the area of the fire, look for “pulsing flames”, examine smoke conditions around closed doors in the potential flow path, and maintain control of doors in the flow path.  Building on the study, FDNY has implemented new SOGs for fire proof multiple dwelling units as a means of keeping firefighters out of the flow path.  Other fire departments in the U.S. are currently conducting field trails with the new tools.

REFERENCES

1. Hall, John, R., High-rise Building Fires.  National Fire Protection Association, Fire Analysis and Research Division, 1 Batterymarch Park, Quincy, MA., August 2005.

2. Madrzykowski, D., and Walton, W.D., Cook County Administration Building Fire, 69 West Washington, Chicago, Illinois, October 17, 2003: Heat Release Rate Experiments and FDS Simulations.  National Institute of Standards and Technology, Gaithersburg, MD, NIST SP 1021, July 2004.

3. NIOSH F99-01, Three firefighters die in a 10-Story High-Rise Apartment Building – New York, NIOSH Firefighter Fatality Investigation and Prevention Program, Morgantown, WV., August 1999.

4. NIOSH F2001-33, High-Rise Apartment Fire Claims the Life of One Career Firefighter (Captain) and Injures Another Career Firefighter (Captain) – Texas,  NIOSH Firefighter Fatality Investigation and Prevention Program, Morgantown, WV., October 2002.

5.  Madrzykowski, D., and Kerber, S., Fire Fighting Tactics Under Wind Driven 	Conditions: Laboratory Experiments, National Institute of Standards and Technology, Gaithersburg, MD, NIST TN 1618, January 2009.

6. Bryant, R.A., Ohlemiller, T.J., Johnsson, E.L., Hamins, A.H., Grove, B.S., Guthrie, W.F.,                         Maranghides, A., and Mulholland, G.W., The NIST 3 MW Quantitative Heat Release Rate Facility: Description and Procedures, National Institute of Standards and Technology, Gaithersburg, MD, NISTIR 7052, September 2004.

7.  Kerber, S., and Madrzykowski, D., Fire Fighting Tactics Under Wind Driven 	Conditions: 7 – Story Building Experiments, National Institute of Standards and Technology, Gaithersburg, MD, NIST TN 1629, April 2009.