February 2012

9. Reference Tables

Table 9.1
Use of Range to Estimate Standard Deviation

Table 9.2
Z Factors for Two-sided Confidence Intervals

Table 9.3
Student t-Variate

Table 9.4
Critical Values for the F-test, F0.975
Table 9.5
Critical Values for the F-test, F0.99
Table 9.6
Two-sided Tolerance Interval Factors

Table 9.7
Factors for Computing Two-sided Confidence Intervals for  

Table 9.8
Density of Air-free Water

Table 9.9
Density of Air

Table 9.10
Coefficient of Linear and Cubical Expansion for Materials Commonly Used in Laboratory Apparatus and Standards

Table 9.11
A Short Table of Random Numbers

Table 9.1  Use of Range to Estimate Standard Deviation

	Number of

Sets of

Replicates

k
	Factor
Degrees of

Freedom
	Number of Replicates in a Set

	
	
	2
	3
	4
	5
	6

	1
	
[image: image1.wmf]*

2

d

  

[image: image2.wmf]u



	1.41

1.00
	1.91

1.98
	2.24

2.93
	2.48

3.83
	2.67

4.68

	3
	
[image: image3.wmf]*

2

d

  

[image: image4.wmf]u



	1.23

2.83
	1.77

5.86
	2.12

8.44
	2.38

11.1
	2.58

13.6

	5
	
[image: image5.wmf]*

2

d

  

[image: image6.wmf]u



	1.19

4.59
	1.74

9.31
	2.10

13.9
	2.36

18.4
	2.56

22.6

	10
	
[image: image7.wmf]*

2

d

  

[image: image8.wmf]u



	1.16

8.99
	1.72

18.4
	2.08

27.6
	2.34

36.5
	2.55

44.9

	15
	
[image: image9.wmf]*

2

d

  

[image: image10.wmf]u



	1.15

13.4
	1.71

27.5
	2.07

41.3
	2.34

54.6
	2.54

67.2

	20
	
[image: image11.wmf]*

2

d

  

[image: image12.wmf]u



	1.14

17.8
	1.70

36.5
	2.07

55.0
	2.33

72.7
	2.54

89.6

	∞
	
[image: image13.wmf]*

2

d

  
	1.13
	1.69
	2.06
	2.33
	2.53

	
[image: image14.wmf]*

2

d

R

s

p

=




Intermediate values for d2* and  ν  may be obtained by interpolation, or from the reference from which this table was adapted. Example:  When using a Range chart for volume calibrations, based on two runs for each unknown test item, the d2* value is 1.41.  If testing 10 points on a tape measure, using 3 runs, the average range value is calculated for all points and d2* is 1.72.  

Adapted from Lloyd S. Nelson, J. Qual. Tech. 7 No. 1, January 1975. ©American Society for Quality Control, Reprinted by permission.

Table 9.2  Z‑Factors for Two‑sided Confidence Intervals 

for the Normal Distribution 

	Confidence Level. %
	Z Factor

	50
	0.68

	67
	1.00

	75
	1.15

	90
	1.645

	95
	1.960

	95.28
	2.000

	99.00
	2.575

	99.74
	3

	99.993 4
	4

	99.999 95
	5

	100,  10-9
	6

	100,  10-12
	7

	100,  10-15
	8

	100,  10-18.9
	9

	100,  10-23
	10


Table 9.3  Student t‑Variate 

	*
	80%
	90%
	95%
	98%
	99%
	99.73%

	df
	t0.90
	t0.95
	t0.975
	t0.99
	t0.995
	t0.9985

	1
	3.078
	6.314
	12.706
	31.821
	63.657
	235.80

	2
	1.886
	2.920
	4.303
	6.965
	9.925
	19.207

	3
	1.638
	2.353
	3.182
	4.541
	5.841
	9.219

	4
	1.533
	2.132
	2.776
	3.747
	4.604
	6.620

	5
	1.476
	2.015
	2.571
	3.365
	4.032
	5.507

	6
	1.440
	1.943
	2.447
	3.143
	3.707
	4.904

	7
	1.415
	1.895
	2.365
	2.998
	3.499
	4.530

	8
	1.397
	1.860
	2.306
	2.896
	3.355
	4.277

	9
	1.383
	1.833
	2.262
	2.821
	3.250
	4.094

	10
	1.372
	1.812
	2.228
	2.764
	3.169
	3.957

	11
	1.363
	1.796
	2.201
	2.718
	3.106
	3.850

	12
	1.356
	1.782
	2.179
	2.681
	3.055
	3.764

	13
	1.350
	1.771
	2.160
	2.650
	3.012
	3.694

	14
	1.345
	1.761
	2.145
	2.624
	2.977
	3.636

	15
	1.341
	1.753
	2.131
	2.602
	2.947
	3.586

	16
	1.337
	1.746
	2.120
	2.583
	2.921
	3.544

	17
	1.333
	1.740
	2.110
	2.567
	2.898
	3.507

	18
	1.330
	1.734
	2.101
	2.552
	2.878
	3.475

	19
	1.328
	1.729
	2.093
	2.539
	2.861
	3.447

	20
	1.325
	1.725
	2.086
	2.528
	2.845
	3.422

	25
	1.316
	1.708
	2.060
	2.485
	2.787
	3.330

	30
	1.310
	1.697
	2.042
	2.457
	2.750
	3.270

	40
	1.303
	1.684
	2.021
	2.423
	2.704
	3.199

	60
	1.296
	1.671
	2.000
	2.390
	2.660
	3.130

	∞
	1.282
	1.645
	1.960
	2.326
	2.576
	3.00


 * Columns to be used in calculating corresponding two-sided confidence interval.  From: NIST Handbook 91 p. T-5;  Last column from B.J. Joiner, J. Research NIST.

Table 9.4  Critical values for the F‑Test, F0.975
n1 = degrees of freedom for numerator     n2 = degrees of freedom for denominator
	 n1
                  n2     
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10
	12
	15
	20
	24
	30
	40

	1
	647.8
	799.5
	864.2
	899.6
	921.8
	937.1
	948.2
	956.7
	963.3
	968.6
	976.7
	984.9
	993.1
	997.2
	1001
	1006

	2
	38.51
	39.00
	39.17
	39.25
	39.30
	39.33
	39.36
	39.37
	39.39
	39.40
	39.41
	39.43
	39.45
	39.46
	39.46
	39.47

	3
	17.44
	16.04
	15.44
	15.10
	14.88
	14.73
	14.62
	14.54
	14.47
	14.42
	14.34
	14.25
	14.17
	14.12
	14.08
	14.04

	4
	12.22
	10.65
	9.98
	9.60
	9.36
	9.20
	9.07
	8.98
	8.90
	8.84
	8.75
	8.66
	8.98
	8.51
	8.46
	8.41

	5
	10.01
	8.43
	7.76
	7.39
	7.15
	6.98
	6.85
	6.76
	6.68
	6.62
	6.52
	6.43
	6.76
	6.28
	6.23
	6.18

	6
	8.81
	7.26
	6.60
	6.23
	5.99
	5.83
	5.70
	5.60
	5.52
	5.46
	5.37
	5.27
	5.60
	5.12
	5.07
	5.01

	7
	8.07
	6.54
	5.89
	5.52
	5.29
	5.12
	4.99
	4.90
	4.82
	4.76
	4.67
	4.57
	4.90
	4.42
	4.36
	4.31

	8
	7.57
	6.06
	5.42
	5.05
	4.82
	4.65
	4.53
	4.43
	4.36
	4.30
	4.20
	4.10
	4.43
	3.95
	3.89
	3.84

	9
	7.21
	5.71
	5.08
	4.72
	4.48
	4.32
	4.20
	4.10
	4.03
	3.96
	3.87
	3.77
	4.10
	3.61
	3.56
	3.51

	10
	6.94
	5.46
	4.83
	4.47
	4.24
	4.07
	3.95
	3.85
	3.78
	3.72
	3.62
	3.52
	3.85
	3.37
	3.31
	3.26

	11
	6.72
	5.26
	4.63
	4.28
	4.04
	3.88
	3.76
	3.66
	3.59
	3.53
	3.43
	3.33
	3.66
	3.17
	3.12
	3.06

	12
	6.55
	5.10
	4.47
	4.12
	3.89
	3.73
	3.61
	3.51
	3.44
	3.37
	3.28
	3.18
	3.51
	3.02
	2.96
	2.91

	13
	6.41
	4.97
	4.35
	4.00
	3.77
	3.60
	3.48
	3.39
	3.31
	3.25
	3.15
	3.05
	3.39
	2.89
	2.84
	2.78

	14
	6.30
	4.86
	4.24
	3.89
	3.66
	3.50
	3.38
	3.29
	3.21
	3.15
	3.05
	2.95
	3.29
	2.79
	2.73
	2.67

	15
	6.20
	4.77
	4.15
	3.80
	3.58
	3.41
	3.29
	3.20
	3.12
	3.06
	2.96
	2.86
	3.20
	2.70
	2.64
	2.59

	16
	6.12
	4.69
	4.08
	3.73
	3.50
	3.34
	3.22
	3.12
	3.05
	2.99
	2.89
	2.79
	3.12
	2.63
	2.57
	2.51

	17
	6.04
	4.62
	4.01
	3.66
	3.44
	3.28
	3.16
	3.06
	2.98
	2.92
	2.82
	2.72
	3.06
	2.56
	2.50
	2.44

	18
	5.98
	4.56
	3.95
	3.61
	3.38
	3.22
	3.10
	3.01
	2.93
	2.87
	2.77
	2.67
	3.01
	2.50
	2.44
	2.38

	19
	5.92
	4.51
	3.90
	3.56
	3.33
	3.17
	3.05
	2.96
	2.88
	2.82
	2.72
	2.62
	2.96
	2.45
	2.39
	2.33

	20
	5.87
	4.46
	3.86
	3.51
	3.29
	3.13
	3.01
	2.91
	2.84
	2.77
	2.68
	2.57
	2.91
	2.41
	2.35
	2.29

	21
	5.83
	4.42
	3.82
	3.48
	3.25
	3.09
	2.97
	2.87
	2.80
	2.73
	2.64
	2.53
	2.87
	2.37
	2.31
	2.25

	22
	5.79
	4.38
	3.78
	3.44
	3.22
	3.05
	2.93
	2.84
	2.76
	2.70
	2.60
	2.50
	2.84
	2.33
	2.27
	2.21

	23
	5.75
	4.35
	3.75
	3.41
	3.18
	3.02
	2.90
	2.81
	2.73
	2.67
	2.57
	2.47
	2.81
	2.30
	2.24
	2.18

	24
	5.72
	4.32
	3.72
	3.38
	3.15
	2.99
	2.87
	2.78
	2.70
	2.64
	2.54
	2.44
	2.78
	2.27
	2.21
	2.15

	25
	5.69
	4.29
	3.69
	3.35
	3.13
	2.97
	2.85
	2.75
	2.68
	2.61
	2.51
	2.41
	2.75
	2.24
	2.18
	2.12

	26
	5.66
	4.27
	3.67
	3.33
	3.10
	2.94
	2.82
	2.73
	2.65
	2.59
	2.49
	2.39
	2.73
	2.22
	2.16
	2.09

	27
	5.63
	4.24
	3.65
	3.31
	3.08
	2.92
	2.80
	2.71
	2.63
	2.57
	2.47
	2.36
	2.71
	2.19
	2.13
	2.07

	28
	5.61
	4.22
	3.63
	3.29
	3.06
	2.90
	2.78
	2.69
	2.61
	2.55
	2.45
	2.34
	2.69
	2.17
	2.11
	2.05

	29
	5.59
	4.20
	3.61
	3.27
	3.04
	2.88
	2.76
	2.67
	2.59
	2.53
	2.43
	2.32
	2.67
	2.15
	2.09
	2.03

	30
	5.57
	4.18
	3.59
	3.25
	3.03
	2.87
	2.75
	2.65
	2.57
	2.51
	2.41
	2.31
	2.65
	2.14
	2.07
	2.01

	40
	5.42
	4.05
	3.46
	3.13
	2.90
	2.74
	2.62
	2.53
	2.45
	2.39
	2.29
	2.18
	2.53
	2.01
	1.94
	1.88

	60
	5.29
	3.93
	3.34
	3.01
	2.79
	2.63
	2.51
	2.41
	2.33
	2.27
	2.17
	2.06
	2.41
	1.88
	1.82
	1.74

	120
	5.15
	3.80
	3.23
	2.89
	2.67
	2.52
	2.39
	2.30
	2.22
	2.16
	2.05
	1.94
	2.30
	1.76
	1.69
	1.61

	(
	5.02
	3.69
	3.12
	2.79
	2.57
	2.41
	2.29
	2.19
	2.11
	2.05
	1.94
	1.83
	2.19
	1.64
	1.57
	1.48


For use for a one-tailed test of equality of standard deviation estimate at 2.5 % level of confidence, or for a two-tailed test at 5 % level of confidence.

Table 9.5  Critical values for the F‑Test, F0.99

[image: image15.wmf]1

u

 = degrees of freedom for numerator      
[image: image16.wmf]2

u

 = degrees of freedom for denominator
	       
[image: image17.wmf]1

u


  
[image: image18.wmf]2

u

   
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10

	10
	10.04
	7.56
	6.55
	5.99
	5.64
	5.39
	5.20
	5.06
	4.94
	4.85

	11
	9.65
	7.21
	6.22
	5.67
	5.32
	5.07
	4.89
	4.74
	4.63
	4.54

	12
	9.33
	6.93
	5.95
	5.41
	5.06
	4.82
	4.64
	4.50
	4.39
	4.30

	13
	9.07
	6.70
	5.74
	5.21
	4.86
	4.62
	4.44
	4.30
	4.19
	4.10

	14
	8.86
	6.51
	5.56
	5.04
	4.69
	4.46
	4.28
	4.14
	4.03
	3.94

	15
	8.68
	6.36
	5.42
	4.89
	4.56
	4.32
	4.14
	4.00
	3.89
	3.80

	16
	8.53
	6.23
	5.29
	4.77
	4.44
	4.20
	4.03
	3.89
	3.78
	3.69

	17
	8.40
	6.11
	5.18
	4.67
	4.34
	4.10
	3.93
	3.79
	3.68
	3.59

	18
	8.29
	6.01
	5.09
	4.58
	4.25
	4.01
	3.84
	3.71
	3.60
	3.51

	19
	8.18
	5.93
	5.01
	4.50
	4.17
	3.94
	3.77
	3.63
	3.52
	3.43

	20
	8.10
	5.85
	4.94
	4.43
	4.10
	3.87
	3.70
	3.56
	3.46
	3.37

	22
	7.95
	5.72
	4.82
	4.31
	3.99
	3.76
	3.59
	3.45
	3.35
	3.26

	24
	7.82
	5.61
	4.72
	4.22
	3.90
	3.67
	3.50
	3.36
	3.26
	3.17

	26
	7.72
	5.53
	4.64
	4.14
	3.82
	3.59
	3.42
	3.29
	3.18
	3.09

	28
	7.64
	5.45
	4.57
	4.07
	3.75
	3.53
	3.36
	3.23
	3.12
	3.03

	30
	7.56
	5.39
	4.51
	4.02
	3.70
	3.47
	3.30
	3.17
	3.07
	2.98

	35
	7.42
	5.27
	4.40
	3.91
	3.59
	3.37
	3.20
	3.07
	2.96
	2.88

	40
	7.31
	5.18
	4.31
	3.83
	3.51
	3.29
	3.12
	2.99
	2.89
	2.80

	45
	7.23
	5.11
	4.25
	3.77
	3.45
	3.23
	3.07
	2.94
	2.83
	2.74

	50
	7.17
	5.06
	4.20
	3.72
	3.41
	3.19
	3.02
	2.89
	2.78
	2.70

	55
	7.12
	5.01
	4.16
	3.68
	3.37
	3.15
	2.98
	2.85
	2.75
	2.66

	60
	7.08
	4.98
	4.13
	3.65
	3.34
	3.12
	2.95
	2.82
	2.72
	2.63

	65
	7.04
	4.95
	4.10
	3.62
	3.31
	3.09
	2.93
	2.80
	2.69
	2.61

	70
	7.01
	4.92
	4.07
	3.60
	3.29
	3.07
	2.91
	2.78
	2.67
	2.59

	75
	6.99
	4.90
	4.05
	3.58
	3.27
	3.05
	2.89
	2.76
	2.65
	2.57

	80
	6.96
	4.88
	4.04
	3.56
	3.25
	3.04
	2.87
	2.74
	2.64
	2.55

	85
	6.94
	4.86
	4.02
	3.55
	3.24
	3.02
	2.86
	2.73
	2.62
	2.54

	90
	6.93
	4.85
	4.01
	3.53
	3.23
	3.01
	2.84
	2.72
	2.61
	2.52

	95
	6.91
	4.84
	3.99
	3.52
	3.22
	3.00
	2.83
	2.70
	2.60
	2.51

	100
	6.90
	4.82
	3.98
	3.51
	3.21
	2.99
	2.82
	2.69
	2.59
	2.50

	105
	6.88
	4.81
	3.97
	3.50
	3.20
	2.98
	2.81
	2.69
	2.58
	2.49

	110
	6.87
	4.80
	3.96
	3.49
	3.19
	2.97
	2.81
	2.68
	2.57
	2.49

	115
	6.86
	4.79
	3.96
	3.49
	3.18
	2.96
	2.80
	2.67
	2.57
	2.48

	120
	6.85
	4.79
	3.95
	3.48
	3.17
	2.96
	2.79
	2.66
	2.56
	2.47

	(
	6.63
	4.61
	3.78
	3.32
	3.02
	2.80
	2.64
	2.51
	2.41
	2.32


For use for a one-tailed test of equality of standard deviation estimate at 1 % level of confidence, or for a two-tailed test at 2 % level of confidence.

Table 9.6  Factors for Two‑sided Tolerance Intervals

for the Normal Distribution

	
	                                 = 0.95
	                               = 0.99

	          P

      n
	     0.75
	    0.90
	     0.95
	     0.99
	     0.999
	    0.75
	     0.90
	     0.95
	    0.99
	    0.999

	2
	  22.858
	  32.019
	  37.674
	  48.430
	  60.573
	 114.363
	 160.193
	 188.491
	 242.300
	 303.054

	3
	   5.922
	   8.380
	   9.916
	  12.861
	  16.208
	  13.378 
	  18.930
	  22.401
	  29.055
	  36.616

	4
	   3.779
	   5.369
	   6.370
	   8.299
	  10.502
	   6.614
	   9.398
	  11.150
	  14.527
	  18.383

	5
	   3.002
	   4.275
	   5.079
	   6.634
	   8.415
	   4.643
	   6.612
	   7.855
	  10.260
	  13.015

	6
	   2.604
	   3.712
	   4.414
	   5.775
	   7.337
	   3.743
	   5.337
	   6.345
	   8.301
	  10.548

	7
	   2.361
	   3.369
	   4.007
	   5.248
	   6.676
	   3.233
	   4.613
	   5.488
	   7.187
	   9.142

	8
	   2.197
	   3.136
	   3.732
	   4.891
	   6.226
	   2.905
	   4.147
	   4.936
	   6.468
	   8.234

	9
	   2.078
	   2.967
	   3.532
	   4.631
	   5.899
	   2.677
	   3.822
	   4.550
	   5.966
	   7.600

	10
	   1.987
	   2.839
	   3.379
	   4.433
	   5.649
	   2.508
	   3.582
	   4.265
	   5.594
	   7.129

	11
	   1.916
	   2.737
	   3.259
	   4.277
	   5.452
	   2.378
	   3.397
	   4.045
	   5.308
	   6.766

	12
	   1.858
	   2.655
	   3.162
	   4.150
	   5.291
	   2.274
	   3.250
	   3.870
	   5.079
	   6.477

	13
	   1.810
	   2.587
	   3.081
	   4.044
	   5.158
	   2.190
	   3.130
	   3.727
	   4.893
	   6.240

	14
	   1.770
	   2.529
	   3.012
	   3.955
	   5.045
	   2.120
	   3.029
	   3.608
	   4.737
	   6.043

	15
	   1.735
	   2.480
	   2.954
	   3.878
	   4.949
	   2.060
	   2.945
	   3.507
	   4.605
	   5.876

	16
	   1.705
	   2.437
	   2.903
	   3.812
	   4.865
	   2.009
	   2.872
	   3.421
	   4.492
	   5.732

	17
	   1.679
	   2.400
	   2.858
	   3.754
	   4.791
	   1.965
	   2.808
	   3.345
	   4.393
	   5.607

	18
	   1.655
	   2.366
	   2.819
	   3.702
	   4.725
	   1.926
	   2.753
	   3.279
	   4.307
	   5.497

	19
	   1.635
	   2.337
	   2.784
	   3.656
	   4.667
	   1.891
	   2.703
	   3.221
	   4.230
	   5.399

	20
	   1.616
	   2.310
	   2.752
	   3.612
	   4.614
	   1.860
	   2.659
	   3.168 
	   4.161
	   5.312

	21
	   1.599
	   2.286
	   2.723
	   3.577
	   4.567
	   1.833
	   2.620
	   3.121
	   4.100
	   5.234

	22
	   1.584
	   2.264
	   2.697
	   3.543
	   4.523
	   1.808
	   2.584
	   3.078
	   4.044
	   5.163

	23
	   1.570
	   2.244
	   2.673
	   3.512
	   4.484
	   1.785
	   2.551
	   3.040
	   3.993
	   5.098

	24
	   1.557
	   2.225
	   2.651
	   3.483
	   4.447
	   1.764
	   2.522
	   3.004
	   3.947
	   5.039

	25
	   1.545
	   2.208
	   2.631
	   3.457
	   4.413
	   1.745
	   2.494
	   2.972
	   3.904
	   4.985

	26
	   1.534
	   2.193
	   2.612
	   3.432
	   4.382
	   1.727
	   2.469
	   2.941
	   3.865
	   4.935

	27
	   1.523
	   2.178
	   2.595
	   3.409
	   4.353
	   1.711
	   2.446
	   2.914
	   3.828
	   4.888


From:  NIST Handbook 91, p T‑11 

Table 9.7  Factors for Computing Two‑sided Confidence Limits for (  (Part 1)

	Degrees of

Freedom
	( = 0.05
	(  = 0.01
	(  = 0.001

	
	SU
	SL
	SU
	SL
	SU
	SL

	1
	17.79
	     0.3576
	   86.31
	      0.2969
	844.4
	       0.2480

	2
	4.859
	      0.4581
	 10.70
	      0.3879
	33.29
	       0.3291

	3
	3.183
	      0.5178
	  5.449
	      0.4453
	11.65
	       0.3824

	4
	 2.567
	      0.5590
	  3.892
	      0.4865
	6.938
	       0.4218

	5
	   2.248
	      0.5899
	 3.175
	      0.5182
	5.085
	       0.4529

	6
	 2.052
	      0.6143
	 2.764
	      0.5437
	4.128
	       0.4784

	7
	1.918
	      0.6344
	2.498
	      0.5650
	3.551
	       0.5000

	8
	1.820
	      0.6513
	2.311
	      0.5830
	3.167
	       0.5186

	9
	1.746
	      0.6657
	2.173
	      0.5987
	2.894
	       0.5348

	10
	1.686
	      0.6784
	2.065
	      0.6125
	2.689
	       0.5492

	11
	1.638
	      0.6896
	1.980
	      0.6248
	2.530
	       0.5621

	12
	1.598
	      0.6995
	1.909
	      0.6358
	2.402
	       0.5738

	13
	1.564
	      0.7084
	1.851
	      0.6458
	2.298
	       0.5845

	14
	1.534
	      0.7166
	1.801
	      0.6549
	2.210
	       0.5942

	15
	1.509
	      0.7240
	1.758
	      0.6632
	2.136
	       0.6032

	16
	1.486
	      0.7808
	1.721
	      0.6710
	2.073
	       0.6116

	17
	1.466
	      0.7372
	1.688
	      0.6781
	2.017
	       0.6193

	18
	1.448
	      0.7430
	1.658 
	      0.6848
	1.968
	       0.6266

	19
	1.432
	      0.7484
	1.632
	      0.6909
	1.925
	       0.6333

	20
	1.417
	      0.7535
	1.609
	      0.6968
	1.886
	       0.6397

	21
	1.404
	      0.7582
	1.587
	      0.7022
	1.851
	       0.6457

	22
	1.391
	      0.7627
	1.568
	      0.7074
	1.820
	       0.6514

	23
	1.380
	      0.7669
	1.550
	      0.7122
	1.791
	       0.6568

	24
	1.370
	      0.7709
	1.533
	      0.7169
	1.765
	       0.6619

	25
	1.360
	      0.7747
	1.518
	      0.7212
	1.741
	       0.6668


From:  NIST Handbook 91, p T‑34 

Table 9.7  Factors for Computing Two‑sided Confidence Limits for (  (Part 2)

	Degrees of

Freedom
	(  = 0.05
	( = 0.01
	( = 0.001

	
	SU
	SL
	SU
	SL
	SU
	SL

	26
	1.351
	0.7783
	1.504
	0.7253
	1.719
	0.7130

	27
	1.343
	0.7817
	1.491
	0.7293
	1.698
	0.6758

	28
	1.335
	0.7849
	1.479
	0.7331
	1.679
	0.6800

	29
	1.327
	0.7880
	1.467
	0.7367
	1.661
	0.6841

	30
	1.321
	0.7909
	1.457
	0.7401
	1.645
	0.6880

	31
	1.314
	0.7937
	1.447
	0.7434
	1.629
	0.6917

	32
	1.308
	0.7964
	1.437
	0.7467
	1.615
	0.6953

	33
	1.302
	0.7990
	1.428
	0.7497
	1.601
	0.6987

	34
	1.296
	0.8015
	1.420
	0.7526
	1.588
	0.7020

	35
	1.291
	0.8089
	1.412
	0.7554
	1.576
	0.7052

	36
	1.286
	0.8062
	1.404
	0.7582
	1.564
	0.7083

	37
	1.281
	0.8085
	1.397
	0.7608
	1.553
	0.7113

	38
	1.277
	0.8106
	1.390
	0.7633
	1.543
	0.7141

	39
	1.272
	0.8126
	1.383
	0.7658
	1.533
	0.7169

	40
	1.268
	0.8146
	1.377
	0.7681
	1.523
	0.7197

	41
	1.264
	0.8166
	1.371
	0.7705
	1.515
	0.7223

	42
	1.260
	0.8184
	1.365
	0.7727
	1.506
	0.7248

	43
	1.257
	0.8202
	1.360
	0.7748
	1.498
	0.7273

	44
	1.253
	0.8220
	1.355
	0.7769
	1.490
	0.7297

	45
	1.249
	0.8237
	1.349
	0.7789
	1.482
	0.7320

	46
	1.246
	0.8253
	1.345
	0.7809
	1.475
	0.7342

	47
	1.243
	0.8269
	1.340
	0.7828
	1.468
	0.7364

	48
	1.240
	0.8285
	1.335
	0.7847
	1.462
	0.7386

	49
	1.237
	0.8300
	1.331
	0.7864
	1.455
	0.7407

	50
	1.234
	0.8314
	1.327
	0.7882
	1.449
	0.7427


 From: NIST Handbook 91, p. T-34

Table 9.8  Density of Air‑free Water in g/cm3 as a

Function of Celsius Temperature
	T
	0.0 °C
	0.1 °C
	0.2 °C
	0.3 °C
	0.4 °C
	0.5 °C
	0.6 °C
	0.7 °C
	0.8 °C
	0.9 °C

	0.0
	0.999 840
	0.999 846
	0.999 853
	0.999 859
	0.999 865
	0.999 871
	0.999 877
	0.999 883
	0.999 888
	0.999 893

	1.0
	0.999 899
	0.999 903
	0.999 908
	0.999 913
	0.999 917
	0.999 921
	0.999 925
	0.999 929
	0.999 933
	0.999 937

	2.0
	0.999 940
	0.999 943
	0.999 946
	0.999 949
	0.999 952
	0.999 954
	0.999 956
	0.999 959
	0.999 961
	0.999 963

	3.0
	0.999 964
	0.999 966
	0.999 967
	0.999 968
	0.999 969
	0.999 970
	0.999 971
	0.999 971
	0.999 972
	0.999 972

	4.0
	0.999 972
	0.999 972
	0.999 972
	0.999 971
	0.999 971
	0.999 970
	0.999 969
	0.999 968
	0.999 967
	0.999 965

	5.0
	0.999 964
	0.999 962
	0.999 960
	0.999 958
	0.999 956
	0.999 954
	0.999 951
	0.999 949
	0.999 946
	0.999 943

	6.0
	0.999 940
	0.999 937
	0.999 933
	0.999 930
	0.999 926
	0.999 922
	0.999 918
	0.999 914
	0.999 910
	0.999 906

	7.0
	0.999 901
	0.999 896
	0.999 892
	0.999 887
	0.999 881
	0.999 876
	0.999 871
	0.999 865
	0.999 860
	0.999 854

	8.0
	0.999 848
	0.999 842
	0.999 835
	0.999 829
	0.999 822
	0.999 816
	0.999 809
	0.999 802
	0.999 795
	0.999 787

	9.0
	0.999 780
	0.999 773
	0.999 765
	0.999 757
	0.999 749
	0.999 741
	0.999 733
	0.999 725
	0.999 716
	0.999 707

	10.0
	0.999 699
	0.999 690
	0.999 681
	0.999 672
	0.999 662
	0.999 653
	0.999 643
	0.999 634
	0.999 624
	0.999 614

	11.0
	0.999 604
	0.999 594
	0.999 583
	0.999 573
	0.999 562
	0.999 552
	0.999 541
	0.999 530
	0.999 519
	0.999 507

	12.0
	0.999 496
	0.999 485
	0.999 473
	0.999 461
	0.999 449
	0.999 437
	0.999 425
	0.999 413
	0.999 401
	0.999 388

	13.0
	0.999 376
	0.999 363
	0.999 350
	0.999 337
	0.999 324
	0.999 311
	0.999 297
	0.999 284
	0.999 270
	0.999 256

	14.0
	0.999 243
	0.999 229
	0.999 215
	0.999 200
	0.999 186
	0.999 172
	0.999 157
	0.999 142
	0.999 128
	0.999 113

	15.0
	0.999 098
	0.999 083
	0.999 067
	0.999 052
	0.999 036
	0.999 021
	0.999 005
	0.998 989
	0.998 973
	0.998 957

	16.0
	0.998 941
	0.998 925
	0.998 908
	0.998 892
	0.998 875
	0.998 858
	0.998 841
	0.998 824
	0.998 807
	0.997 890

	17.0
	0.998 773
	0.998 755
	0.998 738
	0.998 720
	0.998 702
	0.998 684
	0.998 666
	0.998 648
	0.998 630
	0.998 612

	18.0
	0.998 593
	0.998 575
	0.998 556
	0.998 537
	0.998 519
	0.998 500
	0.998 480
	0.998 461
	0.998 442
	0.998 422

	19.0
	0.998 403
	0.998 383
	0.998 364
	0.998 344
	0.998 324
	0.998 304
	0.998 284
	0.998 263
	0.998 243
	0.998 222

	20.0
	0.998 202
	0.998 181
	0.998 160
	0.998 139
	0.998 118
	0.998 097
	0.998 076
	0.998 055
	0.998 033
	0.998 012

	21.0
	0.997 990
	0.997 968
	0.997 947
	0.997 925
	0.997 903
	0.997 881
	0.997 858
	0.997 836
	0.997 814
	0.997 791

	22.0
	0.997 768
	0.997 746
	0.997 723
	0.997 700
	0.997 677
	0.997 654
	0.997 630
	0.997 607
	0.997 584
	0.997 560

	23.0
	0.997 536
	0.997 513
	0.997 489
	0.997 465
	0.997 441
	0.997 417
	0.997 392
	0.997 368
	0.997 344
	0.997 319

	24.0
	0.997 294
	0.997 270
	0.997 245
	0.997 220
	0.997 195
	0.997 170
	0.997 145
	0.997 119
	0.997 094
	0.997 068

	25.0
	0.997 043
	0.997 017
	0.996 991
	0.996 966
	0.996 940
	0.996 913
	0.996 887
	0.996 861
	0.996 835
	0.996 808

	26.0
	0.996 782
	0.996 755
	0.996 728
	0.996 702
	0.996 675
	0.996 648
	0.996 621
	0.996 593
	0.996 566
	0.996 539

	27.0
	0.996 511
	0.996 484
	0.996 456
	0.996 428
	0.996 401
	0.996 373
	0.996 345
	0.996 316
	0.996 288
	0.996 260

	28.0
	0.996 232
	0.996 203
	0.996 175
	0.996 146
	0.996 117
	0.996 088
	0.996 060
	0.996 031
	0.996 001
	0.995 972

	29.0
	0.995 943
	0.995 914
	0.995 884
	0.995 855
	0.995 825
	0.995 795
	0.995 765
	0.995 736
	0.995 706
	0.995 676

	30.0
	0.995 645
	0.995 615
	0.995 585
	0.995 554
	0.995 524
	0.995 493
	0.995 463
	0.995 432
	0.995 401
	0.995 370

	31.0
	0.995 339
	0.995 308
	0.995 277
	0.995 246
	0.995 214
	0.995 183
	0.995 151
	0.995 120
	0.995 088
	0.995 056

	32.0
	0.995 024
	0.994 992
	0.994 960
	0.994 928
	0.994 896
	0.994 864
	0.994 831
	0.994 799
	0.994 766
	0.994 734

	33.0
	0.994 701
	0.994 668
	0.994 635
	0.994 602
	0.994 569
	0.994 536
	0.994 503
	0.994 470
	0.994 436
	0.994 403

	34.0
	0.994 369
	0.994 336
	0.994 302
	0.994 268
	0.994 234
	0.994 201
	0.994 167
	0.994 132
	0.994 098
	0.994 064

	35.0
	0.994 030
	0.993 995
	0.993 961
	0.993 926
	0.993 891
	0.993 857
	0.993 822
	0.993 787
	0.993 752
	0.993 717

	36.0
	0.993 682
	0.993 647
	0.993 611
	0.993 576
	0.993 541
	0.993 505
	0.993 469
	0.993 434
	0.993 398
	0.993 362

	37.0
	0.993 326
	0.993 290
	0.993 254
	0.993 218
	0.993 182
	0.993 146
	0.993 109
	0.993 073
	0.993 036
	0.993 000

	38.0
	0.992 963
	0.992 926
	0.992 889
	0.992 852
	0.992 815
	0.992 778
	0.992 741
	0.992 704
	0.992 667
	0.992 629

	39.0
	0.992 592
	0.992 554
	0.992 517
	0.992 479
	0.992 442
	0.992 404
	0.992 366
	0.992 328
	0.992 290
	0.992 252


*Based on the work of H. Wagenbreth and W. Blanke, PTB ‑ Mitteilingen 6‑71. 

Reference equations for Air-Saturated distilled water should be used and are provided in GLP 10 as published in NISTIR 7383, see latest edition.

Table 9.9  Density of Air, g/cm3, as Function of Temperature and Air Pressure*
	Barometric Pressure
	Temperature, °C

	kPa
	mbar
	mm Hg
	18
	20
	22
	24
	26
	28

	 77.33
	 773
	580
	 0.000 92
	 0.000 92
	0.000 91
	0.000 91
	0.000 90
	0.000 90

	 79.99
	 800
	600
	 0.000 95
	 0.000 95
	0.000 94
	0.000 93
	0.000 93
	0.000 92

	 82.66
	 827
	620
	 0.000 99
	 0.000 98
	0.000 97
	0.000 96
	0.000 96
	0.000 95

	 85.33
	 853
	640
	 0.001 02
	 0.001 01
	0.001 00
	0.001 00
	0.000 99
	0.000 98

	 87.99
	 880
	660
	 0.001 05
	 0.001 04
	0.001 03
	0.001 03
	0.001 02
	0.001 01

	 90.66
	 907
	680
	 0.001 08
	 0.001 07
	0.001  07
	0.001 06
	0.001 05
	0.001 04

	 93.33
	 933
	700
	 0.001 11
	0.001 10
	0.001 10
	0.001 09
	0.001 08
	0.001 07

	 95.99
	 960
	720
	 0.001 14
	0.001 14
	0.001 13
	0.001 12
	0.001 12
	0.001 10

	 98.66
	 987
	740
	 0.001 18
	0.001 17
	0.001 16 
	0.001 15
	0.001 14
	0.001 13

	 101.32
	 1013
	760
	0.001 21
	0.001 20
	0.001 19
	0.001 18
	0.001 17
	0.001 17

	 103.99
	 1040
	780
	 0.001 24
	0.001 23
	0.001 22
	0.001 21
	0.001 21
	0.001 20

	 106.66
	 1067
	800
	 0.001 27
	0.001 26
	0.001 25
	0.001 24
	0.001 24
	0.001 23


Computed for air at 50 % relative humidity using Option A in SOP 2.
*Equations to compute the density of air at any pressure, temperature, and relative humidity are given in Section 8 of the Appendix to SOP No. 2 and Option B is preferred for all precision mass and volume calibrations.
Table 9.10  Density and Coefficient of Expansion

	Material
	Density
	Coefficient of Expansion

	
	(g/cm3)
	Linear (/°C)
	Cubical (/°C)
	Cubical (/°F)

	Aluminum
	2.7
	0.000 024
	0.000 069
	0.000 038

(not suitable for provers)

	Brass
	8.4 at 0 (C

8.3909 at 20 (C
	0.000 019
	0.000 054
	

	Cast iron
	7.0

7.2
	0.000 010
	0.000 030
	

	Copper
	
	0.000 017
	0.000 050
	

	Diamond
	
	0.000 001 18
	0.000 003 5
	

	Fused silica (quartz)
	
	0.000 000 5
	0.000 001 6
	

	Glass, borosilicate (T1CA)
	
	
	0.000 010
	

	Glass, borosilicate (T1CB)
	
	
	0.000 015
	

	Glass, soda-lime
	
	
	0.000 025
	

	Gold
	18.0
	
	0.000 043
	

	Invar
	
	0.000 000 4
	0.000 001 2
	

	Lead
	11.34
	0.000 029
	0.000 087
	

	Length bench
	
	0.000 010 6
	
	

	Mercury
	
	
	0.000 018
	

	Nichrome
	8.39
	
	0.000 039
	

	Nichrome V
	8.5
	
	0.000 039
	

	Platinum
	
	0.000 011
	0.000 027
	

	Polycarbonate plastic
	
	
	0.000 45
	

	Polypropylene plastic
	
	
	0.000 24
	

	Polystyrene plastic
	
	
	0.000 21
	

	Steel, stainless (mass)
	7.84, 7.95, 8.0
	
	0.000 045
	

	Steel, stainless (provers)
	
	0.000 018
	0.000 047 7
	0.000 026 5

	Steel, tape, mild
	
	0.000 0116
	0.000 033 5
	

	Steel, pressure vessel, low carbon
	
	
	
	0.000 016

	Steel, prover, low carbon
	
	0.000 012
	0.000 033 5
	0.000 018 6

	Steel, terne plate
	
	0.000 012
	0.000 035
	0.000 019 5

	Tantalum
	16.6
	
	0.000 020
	

	Water (20 °C)
	
	
	0.000 21
	


Reference values for cubical coefficient of expansion given in per (F are provided as reference for prover calibrations used for petroleum products where the reference temperature is 60 (F.

Table 9.11  A Short Table of Random Numbers

46
96
85
77
27
92
86
26
45
21
89
91
71
42
64
64
58
22
75
81
74
91
48
46
18

44
19
15
32
63
55
87
77
33
29
45
00
31
34
84
05
72
90
44
27
78
22
07
62
17

34
39
80
62
24
33
81
67
28
11
34
79
26
35
34
23
09
94
00
80
55
31
63
27
91

74
97
80
30
65
07
71
30
01
84
47
45
89
70
74
13
04
90
51
27
61
34
63
87
44

22
14
61
60
86
38
33
71
13
33
72
08
16
13
50
56
48
51
29
48
30
93
45
66
29

40
03
96
40
03
47
24
60
09
21
21
18
00
05
86
52
85
40
73
73
57
68
36
33
91

52
33
76
44
56
15
47
75
78
73
78
19
87
06
98
47
48
02
62
03
42
05
32
55
02

37
59
20
40
93
17
82
24
19
90
80
87
32
74
59
84
24
49
79
17
23
75
83
42
00

11
02
55
47
48
84
74
36
22
67
19
20
15
92
53
37
13
75
54
89
56
73
23
39
07

10
33
79
26
34
54
71
33
89
74
68
48
23
17
49
18
81
05
52
85
70
05
73
11
17

67
59
28
25
47
89
11
65
65
20
42
23
96
41
64
20
30
89
87
64
37
93
36
96
35

93
50
75
20
09
18
54
34
68
02
54
87
23
05
43
36
98
29
97
93
87
08
30
92
98

24
43
23
72
80
64
34
27
23
46
15
36
10
63
21
59
69
76
02
62
31
62
47
60
34

39
91
63
18
38
27
10
78
88
84
42
32
00
97
92
00
04
94
50
05
75
82
70
80
35

74
62
19
67
54
18
28
92
33
69
98
96
74
35
72
11
68
25
08
95
31
79
11
79
54

91
03
35
60
81
16
61
97
25
14
78
21
22
05
25
47
26
37
80
39
19
06
41
02
00

42
57
66
76
72
91
03
63
48
46
44
01
33
53
62
28
80
59
55
05
02
16
13
17
54

06
36
63
06
15
03
72
38
01
58
25
37
66
48
56
19
56
41
29
28
76
49
74
39
50

92
70
96
70
89
80
87
14
25
49
25
94
62
78
26
15
41
39
48
75
64
69
61
06
38

91
08
88
53
52
13
04
82
23
00
26
36
47
44
04
08
84
80
07
44
76
51
52
41
59

68
85
97
74
47
53
90
05
90
84
87
48
25
01
11
05
45
11
43
15
60
40
31
84
59

59
54
13
09
13
80
42
29
63
03
24
64
12
43
28
10
01
65
62
07
79
83
05
59
61

39
18
32
69
33
46
58
19
34
03
59
28
97
31
02
65
47
47
70
39
74
17
30
22
65

67
43
31
09
12
60
19
57
63
78
11
80
10
97
15
70
04
89
81
78
54
84
87
83
42

61
75
37
19
56
90
75
39
03
56
49
92
72
95
27
52
87
47
12
52
54
62
43
23
13

78
10
91
11
00
63
19
63
74
58
69
03
51
38
60
36
53
56
77
06
69
03
89
91
24

93
23
71
58
09
78
08
03
07
71
79
32
25
19
61
04
40
33
12
06
78
91
97
88
95

37
55
48
82
63
89
92
59
14
72
19
17
22
51
90
20
03
64
96
60
48
01
95
44
84

62
13
11
71
17
23
29
25
13
85
33
35
07
69
25
68
57
92
57
11
84
44
01
33
66

29
89
97
47
03
13
20
86
22
45
59
98
64
53
89
64
94
81
55
87
73
81
58
46
42

16
94
85
82
89
07
17
30
29
89
89
80
98
36
25
36
53
02
49
14
34
03
52
09
20

04
93
10
59
75
12
98
84
60
93
68
16
87
60
11
50
46
56
58
45
88
72
50
46
11

95
71
43
68
97
18
85
17
13
08
00
50
77
50
46
92
45
26
97
21
48
22
23
08
32

86
05
39
14
35
48
68
18
36
57
09
62
40
28
87
08
74
79
91
08
27
12
43
32
03

59
30
60
10
41
31
00
69
63
77
01
89
94
60
19
02
70
88
72
33
38
88
20
60
86

05
45
35
40
54
03
98
96
76
27
77
84
80
08
64
60
44
34
54
24
85
20
85
77
32

71
85
17
74
66
27
85
19
55
56
51
36
48
92
32
44
40
47
10
38
22
52
42
29
96

80
20
32
80
98
00
40
92
57
51
52
83
14
55
31
99
73
23
40
07
64
54
44
99
21

13
50
78
02
73
39
66
82
01
28
67
51
75
66
33
97
47
58
42
44
88
09
28
58
06

67
92
65
41
45
36
77
96
46
21
14
39
56
36
70
15
74
43
62
69
82
30
77
28
77

72
56
73
44
26
04
62
81
15
35
79
26
99
57
28
22
25
94
80
62
95
48
98
23
86

28
86
85
64
94
11
58
78
45
36
34
45
91
38
51
10
68
36
87
81
16
77
30
19
36

69
57
40
80
44
94
60
82
94
93
98
01
48
50
57
69
60
77
69
60
74
22
05
77
17

71
20
03
30
79
25
74
17
78
34
54
45
04
77
42
59
75
78
64
99
37
03
18
03
36

89
98
55
98
22
45
12
49
82
71
57
33
28
69
50
59
15
09
25
79
39
42
84
18
70

58
74
82
81
14
02
01
05
77
94
65
57
70
39
42
48
56
84
31
59
18
70
41
74
60

50
54
73
81
91
07
81
26
25
45
49
61
22
88
41
20
00
15
59
93
51
60
65
65
63

49
33
72
90
10
20
65
28
44
63
95
86
75
78
69
24
41
65
86
10
34
10
32
00
93

11
85
01
43
65
02
85
69
56
88
34
29
64
35
48
15
70
11
77
83
01
34
82
91
04

34
22
46
41
84
74
27
02
57
77
47
93
72
02
95
63
75
74
69
69
61
34
31
92
13

From:  NIST Handbook 91, p T‑82

Reference Tables
Page 12 of 13

_1107777765.unknown

_1107852401.unknown

_1107852454.unknown

_1392108332.unknown

_1107852439.unknown

_1107852371.unknown

_1107774584.unknown

