## Instructions
File Purpose: Control Chart, Standard Deviation Chart, Range Chart
Instructions
This file was created as a template for Volume calibrations, but assessment is required before use.
Enter all values in the light yellow colored cells. You must have results from 2 RUNS.
Incorrect calculations may result if ALL cells are not completely filled in.
WARNING: If you copy and paste to another spreadsheet, be sure to double check all reference cells, data validation for the LISTS and LOOKUP tables!!!
Password is "Metrology".
Modifications
Date | Initials | Modification
2013-01-16 | GH | Development and modification after limited input.
Disclaimer | You must validate all spreadsheets for use in your laboratory!!!
2013-01-15 | These spreadsheets are provided as a useful approach for metrology calculations according to the SOP represented here. However, NIST OWM or any other organization involved in their development, collectively and individually, do not warrant this spreadsheets for any specific purpose, nor do they make any representations regarding their fitness for any use or purpose whatsoever. Each user agrees to decide if, when and how to use the spreadsheets, does so at his or her sole risk, and is responsible to suitable and applicable verification prior to use. When using the tools provided on the NIST OWM website, you agree that you are not entitled to rely on any information generated using these worksheets. You further agree to hold NIST OWM, and any of their partners in the creation of the tools, harmless for loss you might suffer arising out of any inaccuracies in numbers generated by the worksheets. Under no circumstances shall NIST OWM, or any of their partners that helped create the tools, be liable for any damages, including incidental, special or consequential damages, arising from the use of these spreadsheets or an inability to use them.
If you distribute these tools through any means other than the NIST OWM website at www.nist.gov/labmetrology, you should check the website to ensure the tool being provided is the latest version available, and provide information to users on how to check for updates and revisions to the tools.

## Vol Data
| Laboratory Name: |  |  |  |  | SOP: |  | Units: |  |  |  |  | #VALUE!
| Flask ID: |  |  |  |  | Accepted Ref Vol: |  | Ref. source: | [7 empty] | #VALUE! | [6 empty] | Do not delete!
| Nominal Vol: |  |  |  |  | U of Ref. Value: |  | P(n) of Uref: | #DIV/0! | [6 empty] | #VALUE! | [6 empty] | List for whether to include data | [7 empty] | #VALUE!
| Balance ID: |  |  |  |  | Tolerance: | [9 empty] | Accepted Ref Vol: Ref. source: | [6 empty] | Y
| Mean: | TBD |  | df: |  | Tol. Source: | [16 empty] | N | [10 empty] | #VALUE!
| Flask Std Dev: | TBD |  |  |  | Comment:
| Ave Range: | TBD |  |  |  | Round chart values to: | 3 | decimal places | [22 empty] | Warning (s(p)*2) (): | #VALUE! |  | Warning (R-bar*2.512) (): | #VALUE!
| Ave Process Std Dev: | TBD | [28 empty] | Control (s(p)*3) (): | #VALUE! |  | Control (R-bar*3.267) (): | #VALUE!
|  | Lower Warning (x-bar - 2s) (): | #VALUE! |  |  |  | Upper Warning (x-bar + 2s) (): | #VALUE! |  |  |  |  | Control Chart Data and Limits | [11 empty] | Observed Range () |  |  | Process Standard Deviation () |  |  | Standard Deviation Chart |  |  | Range Chart
|  | Lower Control (x-bar - 3s) (): | #VALUE! |  |  |  | Upper Control (x-bar + 3s) (): | #VALUE! |  |  |  | Mean () | Bias of Mean From Reference () | Warning Limit (x-bar ± 2s) |  | Control Limit (x-bar ± 3s) |  |  |  | Data in Calculations () | Data in calculations for Chart () | Data not in calculations for chart ()
# | Date | Operator | Test # | Volume Run 1 | Volume Run 2 | Ave 2 Runs () | Uncertainty () | Include in Calculations (Y/N) | Observed Range () | Process Standard Deviation () | Bias of value from Mean Red >3S , Yellow>2s () |  |  | Upper Warning (x-bar + 2s) () | Lower Warning (x-bar - 2s) () | Upper Control (x-bar + 3s) () | Lower Control (x-bar - 3s) () | Reference Value () | Uncertainty of Reference () |  |  |  | Run 1 | Run 2 | Data in Calculations | Data in Calculations for Chart | Data Not in Calculations for Chart | Data in Calculations | Data in Calculations for Chart | Data Not in Calculations for Chart | Control (s(p)*3) () | Warning (s(p)*2) () | Ave s(p) | Control (R-bar*3.267) () | Warning (R-bar*2.512) () | Ave R
1 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
2 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
3 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
4 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
5 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
6 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
7 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
8 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
9 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
10 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
11 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
12 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
13 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
14 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
15 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
16 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
17 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
18 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
19 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
20 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
21 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
22 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
23 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
24 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
25 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
26 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
27 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
28 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
29 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
30 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
31 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
32 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
33 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
34 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
35 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
36 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
37 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
38 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
39 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
40 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
41 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
42 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
43 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
44 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
45 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
46 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
47 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
48 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
49 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
50 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
51 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
52 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
53 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
54 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
55 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
56 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
57 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
58 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
59 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
60 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
61 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
62 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
63 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
64 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
65 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
66 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
67 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
68 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
69 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
70 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
71 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
72 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
73 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
74 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
75 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
76 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
77 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
78 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
79 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
80 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
81 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
82 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
83 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
84 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
85 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
86 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
87 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
88 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
89 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
90 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
91 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
92 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
93 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
94 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
95 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
96 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
97 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
98 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
99 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
100 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
101 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
102 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
103 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD
104 | [7 empty] | Y |  |  |  | TBD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 |  | #N/A | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A | #VALUE! | #VALUE! | TBD | #VALUE! | #VALUE! | TBD