| 2011 Amendments | | | | | |
| --- | --- | --- | --- | --- | --- |
| The following table lists the codes, paragraphs, and pages in which the 96th National Conference on Weights and Measures made amendments. In the column headed “Action,” changes are noted as “added,” “amended,” “deleted,” or “renumbered.” Each code, section, or paragraph that has been changed will be noted as “Added 2011” or “Amended 2011.” | | | | | |
| **SECTION** | **CODE** | **S&T**  **ITEM NO.** | **PARAGRAPH** | **ACTION** | **PAGE** |
| 1.10. | General Code | 310-3 | G-A.6. | Amended | 1-3 |
| G-S.1.2. | Amended | 1-5 |
| 2.20. | Scales | 320-2 | T.N.4.7. | Amended | 1-42 |
| 2.21. | Belt-conveyor Scale (BSC) Systems | 321-1 | N.3.1.3. | Amended | 2-62 |
| 3.31. | Vehicle-tank Meters | 331-1 | S.2.6. | Added | 3-34 |
| 4.42. | Farm Milk Tanks | 342-1 | N.5.1. | Amended | 4-18 |
| Appendix D | Glossary | 336-1 | utility-type water meter | Added | D-27 |

| 2011 Editorial Changes | | | | |
| --- | --- | --- | --- | --- |
| **SECTION** | **CODE** | **PARAGRAPH** | **ACTION** | **PAGE** |
| Introduction |  | 1. Source. | Updated language to reflect current practices | 1 |
| D. Submission of Agenda Items. | Corrected language **~~The Constitution of the~~**NCWM **~~requires~~** **Bylaws require** . . . |  |
| E. Submssion Process. | Changed submission process | 2 |
| F. Procedures. | Updated procedures | 2 |
| G. Criteria for Inclusion **~~in~~on** the **NCWM** Committee’s Agenda. | 4.a. a concise statement of the item or problem outlining the purpose and national need for its consideration. **~~When possible, an~~An** electronic copy of the background material and proposed amendment(s) should be submitted in **~~a PC compatible word processing document format (e.g.,~~** Microsoft Word**~~)~~** **format** on a **~~high density 8.9 cm (3.5 in) disk or~~**CD Rom, **DVD,** or by electronic mail sent to **~~owm@nist.gov~~info@ncwm,net**; | 2 |
| Introduction Section | Replaced the word “issue” with “item” | 7 |
| Form 15 | Updated form | 8 |
| 2.20 | Scales | S.1.2.1. | Added the word “Units” to the paragraph title. | 2-8 |
| S.2.1.1. | Removed duplicated words “for an automatic zero-tracking mechanism.” | 2-15 |
| Table S.6.3.b., Note 19 | Added the following text (from the column heading referencing Note 9 in Table S.6.3.a.) for clarity: Item 19 . “*For weighing and load-receiving elements not permanently attached to indicating element or covered by a separate CC.”* | 2-25 |
| Table 4. | Reformatted table to clarify how the minimum test weights and test loads apply to scales in metric units and to scales in U.S. customary unit. | 2-31 |
| T.N.9. | Removed Editor’s Note | 2-44 |
| 4.40 | Vehicle Tanks Used as Measures | S.4.3. | Corrected (a) and (b) format; the items had been improperly split | 4-7 |
| Appendix C | General Tables of Units | Units of Mass | Added 1 µlb = 0.000 001 pound (lb) | C-6 |
| 4. Tables of Units of Measurement | Correct presentation of figures that show “exact” measurement by adding an underscore. | C-8 |