|  |
| --- |
| 2014 Amendments |
| The following table lists the codes, paragraphs, and pages in which the 99th National Conference on Weights and Measures made amendments. In the column headed “Action,” changes are noted as “added,” “amended,” “deleted,” or “renumbered.” Each code, section, or paragraph that has been changed will be noted as “Added 2014” or “Amended 2014.” |
| **SECTION** | **CODE** | **S&T****ITEM NO.** | **PARAGRAPH** | **ACTION** | **PAGE** |
| 1.10. | General Code | 310-2 | G-S.5.6. | Amended | 1-7 |
| 2.20. | Scales | 320-2 | UR.2.4. | Amended | 2-49 |
| 2.21. | Belt-Conveyor Scales | 321-1 | UR.1.2.(d) | Amended | 2-67 |
| 3.30. | Liquid Measuring Devices | 330-1 | S.1.6.7.  | Amended | 3-11 |
| S.1.6.8. | Amended | 3-11 |
| UR.3.3. | Amended | 3-23 to 3-24 |
| 330-3 | N.4.2.4. | Amended | 3-19 |
| 330-5A | U.R.3.3.(c)(1) | Amended | 3-24 |
| 330-5B | U.R.3.3. and UR.3.3.(c)(2) | Amended | 3-24 |
| 3.32. | LPG and Anhydrous Ammonia Liquid-Measuring Devices | 332-2 | S.1.5.3. | Added | 3-50 |

|  |
| --- |
| **2014 Editorial Changes** |
| **SECTION** | **CODE** | **PARAGRAPH** | **ACTION** | **PAGE** |
| All |  |  | The references to “inch-pound” have been changed to “U.S. customary.” |  |
| 2.20. | Scales | S.6.1. | Deleted note referring to N.1.3.3. and T.N.3.1.; the note is no longer necessary. | 2-21 |
| 2.21. | Belt-Conveyor Scale Systems | UR.1.2. | Deleted the second sentence referencing the orientation of the conveyor, which was repeated in paragraph UR.1.2.(h). | 2-67 |
| 5.50. | Fabric-Measuring Devices | S.1. Units | Corrected the fraction “1/7 yd” to “1/8 yd.” Corrected reference to metric units. Restructured for clarity. | 5-5 |