# Quality Management System Updates for ISO/IEC 17025:2017

Suggestion:  Insert 17025:2017 crosswalk with/as Table of Contents in Current Quality Manual and update sections before re-organizing.  Select applicable version of current manual from the following two tables.

# 1990’s Structure of State Laboratory Quality Manuals

| 17025:2017 Crosswalk | Manual Section | Title | 17025:2017 Revisions and Updates | Page |
| --- | --- | --- | --- | --- |
| 1 | 1 | Scope and Parameters |  |  |
| 2, 3 | 2 | References and Definition | Master List Update |  |
| 1 | 3 | Quality Policy | Add: Risk Policy Add: Confidentiality (to the extent allowed by law) add: notify customer (post policy) |  |
| 5 | 4 | Organization and Management | No TM, QM titled (everyone with responsibility) |  |
| 8.3, 8.5, 8.8, 8.9 | 5 | Management System, Audit and Review (Audit & Assessment) | Management Review Risk Management Add Risk Assessment to Audits |  |
| 4.1, 4.2, 5.6 6.2 | 6 | Personnel | Add: impartiality and (employee handbook?) |  |
| 6.3 | 7 | Laboratory Facilities and Environment | Reference SOPs |  |
| 6.4 | 8 | Standards, Equipment and Associate Apparatus | Calibration program |  |
| 6.5, Annex A | 9 | Measurement Traceability and Calibration | GMP 13 – updated GMP 11 – updated |  |
| 7.2, 7.6, 7.7 | 10 | Calibration Test Methods and Procedures | Master list Method validation procedure – updated |  |
| 7.4 | 11 | Handling and Storage of Calibration & Test Items |  |  |
| 7.5, 7.11, 8.4 | 12 | Records (Document Control and Record Keeping) | Data Management |  |
| 7.8 | 13 | Calibration Certificates | SOP 1 – updated |  |
| 6.6, 7.1 | 14 | Subcontracting | In general NA |  |
| 6.6 | 15 | Outside Support Services and Supplies | Supplies and Supplier Evaluation procedure – updated |  |
| 7.9, 7.10, 8.5, 8.6, 8.7 | 16 | Complaints, Corrective action and Preventive Action | SAP – merge procedures and use one form Risk Management (vs Preventive Action) |  |
|  | 17 | Site Security | Risk Policy |  |
|  | 18 | Safety | Risk Policy, Safety Manual, Hazard Reviews and SDS |  |
|  |  | Appendices |  |  |

17025:2005 Structure of Quality Manuals

| 17025:2017 Crosswalk | Manual Section (17025:2005) | Title | 17025:2017 Revisions and Updates | Page |
| --- | --- | --- | --- | --- |
|  | 1 | Scope and Parameters |  |  |
|  | 2 | References and Definition | Master List Update |  |
|  | 3 | Quality Policy | Add: Risk Policy Add: Confidentiality (to the extent allowed by law) add: notify customer (post policy) |  |
| 5, 8.1 | 4.1 | Organization |  |  |
| 8.2 | 4.2 | Management System |  |  |
| 8.3, 7.11 | 4.3 | Document Control | Data Management (Electronic Docs and Records) |  |
| 7.1 | 4.4 | Contract Review |  |  |
| 6.6, 7.1 | 4.5 | Subcontracting | In general NA |  |
| 6.6 | 4.6 | Purchasing Services and Supplies | Supplies and Supplier Evaluation procedure – updated |  |
| 7.1, 8.6.2 | 4.7 | Customer Service |  |  |
| 7.9 | 4.8 | Complaints |  |  |
| 7.10 | 4.9 | Nonconforming Work |  |  |
| 8.6 | 4.10 | Improvement Action | Add Risk Management |  |
| 8.7 | 4.11 | Corrective Action |  |  |
| 8.5 | 4.12 | Preventive Action | Add Risk Management |  |
| 7.5, 7.11, 8.4 | 4.13 | Control of Records | Data Management (Electronic Docs and Records) |  |
| 8.8 | 4.14 | Internal Audits | Add Risk Assessment |  |
| 8.9 | 4.15 | Management Review |  |  |
| 6.1 | 5.1 | General Technical |  |  |
| 5.6, 6.2 | 5.2 | Personnel | Add: impartiality and (employee handbook?) |  |
| 6.3 | 5.3 | Facility and Environmental |  |  |
| 7.2 | 5.4 | Methods and Method Validation | Master list Method validation procedure – updated |  |
| 6.4 | 5.5 | Equipment | Calibration program, includes Standards |  |
| 6.5, Annex A | 5.6 | Measurement Traceability | GMP 11 and GMP 13 updated |  |
| 7.3 | 5.7 | Sampling | Mostly NA |  |
| 7.4 | 5.8 | Handling Test and Calibration Items |  |  |
| 7.7 | 5.9 | Measurement Assurance | Ensuring Validation of Results (GLP 1, SOP 9, 17, 20, 30 updated) |  |
| 7.8 | 5.10 | Calibration Certificates |  |  |
|  |  | Safety and Security | Propose: Safety Manual or Risk Management Policies and Procedures |  |
|  |  | Appendices |  |  |