# Appendix C.  Model Inspection Report Forms

Random Package Report	167

Random Package Report – Example	168

Standard Package Report	169

Standard Package Report – Example	170

Standard Package Report –  Animal Bedding	171

Measurement Grid and Package Error Worksheet for Cylindrical and Square or Rectangular Test Measures	172

Ice Glazed Package Worksheet	173

Ice Glazed Package Worksheet – Example	174

Ice Glazed Package Report	175

Ice Glazed Package Report – Example	176

Determining the Free Liquid and Net Volume of Oysters Worksheet	177

Determining the Free Liquid and Net Volume  of Oysters Worksheet – Example	178

Chitterlings Worksheet – Category A	179

Chitterlings Worksheet – Category A – Example	180

Chitterlings Worksheet – Category B	181

Chitterlings Worksheet – Category B – Example	182

Peat Moss Labeled by Volume Package Worksheet – Dimensional Procedure	183

Borax Audit Worksheet	184

THIS PAGE INTENTIONALLY LEFT BLANK

| Date: |  | Random Package Report |  |  |  |  |  |  |  |  |  |  |  |  | Sampling Plan: A B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report Number: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address): |  |  |  | Product/Brand Identity: |  |  |  |  |  |  |  |  |  |  | Manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Container Description: |  |
|  |  |  |  | Lot Codes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity: (Enter weight for each package in Column 1 below.) |  | 2. Unit of Measure: |  |  | 3. MAV: (Look up the MAV for each package with a minus error (−), convert it to dimensionless units and enter this value in the Box 4 column below.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5. Inspection Lot Size: |  |  |  |  |  |  |  | 6. Sample Size (n): |  |
| 7. Initial Tare Sample Size: |  | 8. Number of MAVs Allowed: |  |  | 9. Range of Package Errors (Rc): |  |  |  |  |  | 10. Range of Tare Weights (Rt): |  |  |  |  |  |  |  |  |  |  |  |  | 11. Rc/Rt : (Box 9 Box 10 = ) |  |  |  |  |  |  |  | 12. Total No. of Tare Samples: |  |
| 13. Avg. Tare Wt: Used Dry Tare Wet Tare Unused Dry Tare |  |  |  |  |  |  |  |  |  |  | 13a. Tare Correction Moisture Allowance Not Applicable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt: (Labeled Wt + Box 13 − Box 13a =) |  |
|  |  | Pkg 1 | Pkg 2 |  | Pkg 3 |  | Pkg 4 |  |  |  | Pkg 5 |  |  |  |  | Pkg 6 |  |  |  |  |  | Pkg 7 |  |  |  |  | Pkg 8 |  |  |  |  | Pkg 9 | Pkg 10 |
| a. Gross Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Package Error |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Product Description, Lot Code, Unit Price |  |  |  |  |  |  | Money Errors |  |  |  |  |  |  |  |  | Column 1 Labeled Net Weight |  |  |  |  |  |  |  |  |  |  | Package Errors |  |  |  |  |  | 4. MAV Dimensionless Units |
|  |  |  |  |  |  |  | − |  |  |  |  | + |  |  |  |  |  |  |  |  |  |  |  |  |  |  | − |  |  |  | + |  |  |
| 1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Totals |  |  |  |  |  |  |  |  |  |  |
| 15. Total Error: |  | 16. Number of unreasonable minus (−) errors: (Compare each package error with the MAV in Column 4.) |  |  |  |  | 17. Is Box 16 greater than Box 8? Yes, lot fails No, go to Box 18 |  |  |  |  |  |  |  |  |  |  | 18. Avg. error in dimensionless units: (Box 15 Box 6 =) |  |  |  |  |  |  |  |  |  |  | 19. Avg. error in labeled units: (Box 18 × Box 2 =) |  |  |  |  |
| 20. Does Box 18 = zero (0) or Plus (+)? Yes, lot passes, go to Box 25 No, go to Box 21 |  |  | 21. Compute Sample Standard Deviation: |  |  |  | 22. Sample Correction Factor: |  |  |  |  |  |  |  |  |  |  | 23. Compute Sample Error Limit: (Box 21 × Box 22 =) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is Box 18 larger than Box 23? Yes, lot fails, go to Box 25 No, lot passes, go to Box 25 |  |  |  |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot: Approved Rejected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: January 20, 2010 | Random Package Report – Example |  |  |  |  |  |  |  |  |  |  |  |  | Sampling Plan: A B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report Number: 17 |  |  |  |
| Location (name, address): L&O Market MacCorkle Ave. Charleston, WV 25171 |  |  | Product/Brand Identity: Ground Chuck |  |  |  |  |  |  |  |  |  |  | Manufacturer: Meat Dept. – L&O Market |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Container Description: 2S Tray w/soaker and plastic wrap |  |  |  |
|  |  |  | Lot Codes: 1, 19, 99 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity: (Enter weight for each package in Column 1 below.) | 2. Unit of Measure: 0.001 lb |  |  |  |  | 3. MAV: (Look up the MAV for each package with a minus error (−), convert it to dimensionless units and enter this value in the Box 4 column below.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5. Inspection Lot Size: 23 |  |  |  |  |  |  |  | 6. Sample Size (n): 12 |  |  |  |  |
| 7. Initial Tare Sample Size: 2 | 8. Number of MAVs Allowed: 0 |  |  |  |  | 9. Range of Package Errors (Rc): 10 |  |  | 10. Range of Tare Weights (Rt): 1 |  |  |  |  |  |  |  |  |  |  |  | 11. Rc/Rt : (Box 9 Box 10 = ) 10 |  |  |  |  |  |  |  | 12. Total No. of Tare Samples: 2 |  |  |  |  |
| 13. Avg. Tare Wt: 0.020 lb Used Dry Tare Wet Tare Unused Dry Tare |  |  |  |  |  |  |  |  | 13a. Tare Correction Moisture Allowance Not Applicable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt: (Labeled Wt + Box 13 − Box 13a =) Label Wt + 0.020 lb |  |  |  |  |
|  | Pkg 1 |  | Pkg 2 |  | Pkg 3 |  | Pkg 4 |  | Pkg 5 |  |  |  |  | Pkg 6 |  |  |  |  | Pkg 7 |  |  |  |  |  |  | Pkg 8 |  |  | Pkg 9 |  |  |  | Pkg 10 |
| a. Gross Wt | 1.852 lb |  | 1.223 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt | 0.020 lb |  | 0.021 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt | 1.832 lb |  | 1.202 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Package Error | −18 |  | −8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Product Description, Lot Code, Unit Price |  |  |  |  |  |  | Money Errors |  |  |  |  |  |  | Column 1 Labeled Net Weight |  |  |  |  |  |  |  |  |  |  | Package Errors |  |  |  |  |  |  |  | 4. MAV Dimensionless Units |
|  |  |  |  |  |  |  | − |  |  | + |  |  |  |  |  |  |  |  |  |  |  |  |  |  | − |  |  |  | + |  |  |  |  |
| 1. Ground Chuck – 1, 19, 99 – $1.79 per lb |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.85 lb |  |  |  |  |  |  |  |  |  |  | 18 |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.21 lb |  |  |  |  |  |  |  |  |  |  | 7 |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.56 lb |  |  |  |  |  |  |  |  |  |  | 8 |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.98 lb |  |  |  |  |  |  |  |  |  |  | 14 |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  | $ 0.04 |  |  |  |  |  |  | 1.07 lb |  |  |  |  |  |  |  |  |  |  | 23 |  |  |  |  |  |  |  | 44 |
| 6. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.55 lb |  |  |  |  |  |  |  |  |  |  | 16 |  |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.02 lb |  |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  | $ 0.04 |  |  |  |  |  |  | 1.44 lb |  |  |  |  |  |  |  |  |  |  | 25 |  |  |  |  |  |  |  | 56 |
| 9. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.33 lb |  |  |  |  |  |  |  |  |  |  | 16 |  |  |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.03 lb |  |  |  |  |  |  |  |  |  |  | 20 |  |  |  |  |  |  |  | 70 |
| 11. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.73 lb |  |  |  |  |  |  |  |  |  |  | 14 |  |  |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.16 lb |  |  |  |  |  |  |  |  |  |  | 11 |  |  |  |  |  |  |  |  |
| 13. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Totals |  |  |  |  |  | −174 |  |  |  |  |  |  |  |
| 15. Total Error: − 174 | 16. Number of unreasonable minus (−) errors: (Compare each package error with the MAV in Column 4.) 0 |  |  |  |  |  | 17. Is Box 16 greater than Box 8? □ Yes, lot fails No, go to Box 18 |  |  |  |  |  |  |  |  |  | 18. Avg. error in dimensionless units: (Box 15 Box 6 =) − 14.5 |  |  |  |  |  |  |  |  |  |  | 19. Avg. error in labeled units: (Box 18 × Box 2 =) − 0.014 lb |  |  |  |  |  |
| 20. Does Box 18 = Zero (0) or Plus (+)? Yes, lot passes, go to Box 25 No, go to Box 21 |  |  | 21. Compute Sample Standard Deviation: 6.721 |  |  |  | 22. Sample Correction Factor: 0.635 |  |  |  |  |  |  |  |  |  | 23. Compute Sample Error Limit: (Box 21 × Box 22 =) 4.267 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is Box 18 larger than Box 23? Yes, lot fails, go to Box 25 No, lot passes, go to Box 25 |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot: Approved Rejected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments |  |  |  |  |  |  |  | Official’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Acknowledgement of Report: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: |  | Standard Package Report |  |  |  |  |  |  |  |  |  |  |  |  |  | Sampling Plan: A B |  |  |  |  |  |  | Report Number: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address): |  |  |  |  |  |  |  | Product/Brand Identity: |  |  |  |  |  |  |  | Manufacturer: |  |  |  |  |  |  | Container Description: |  |  |
|  |  |  |  |  |  |  |  | Lot Codes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity: |  | 2. Unit of Measure: |  |  |  |  |  | 3. MAV: |  |  | 4. MAV (dimensionless units): (Box 3 Box 2 =) |  |  |  |  |  |  | 5. Inspection Lot Size: |  |  |  |  | 6. Sample Size (n): |  |  |
| 7. Initial Tare Sample Size: |  | 8. Number of MAVs Allowed: |  |  |  |  |  | 9. Range of Package Errors (Rc): |  |  | 10. Range of Tare Weights (Rt): |  |  |  |  |  |  | 11. Rc/Rt: (Box 9 10 =) |  |  |  |  | 12. Total Number of Tare Samples: |  |  |
| 13. Average Tare Wt: Used Dry Tare Wet Tare Unused Dry Tare |  |  |  |  |  |  |  | 13a. Tare Correction Moisture Allowance Vacuum Pack Not Applicable |  |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt: (Box 1 + Box13 − Box 13a =) |  |  |  |  |  |  |  |
|  |  |  | Pkg 1 | Pkg 2 |  |  | Pkg 3 |  |  | Pkg 4 |  | Pkg 5 |  |  | Pkg 6 |  |  | Pkg 7 | Pkg 8 |  | Pkg 9 |  |  |  | Pkg 10 |
| a. Gross Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Package Error |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| − | + |  |  |  | − |  |  |  | + |  |  |  | − |  |  |  | + |  |  | − |  |  |  | + |  |
| 1. |  |  |  |  | 13. |  |  |  |  |  |  |  | 25. |  |  |  |  |  |  | 37. |  |  |  |  |  |
| 2. |  |  |  |  | 14. |  |  |  |  |  |  |  | 26. |  |  |  |  |  |  | 38. |  |  |  |  |  |
| 3. |  |  |  |  | 15. |  |  |  |  |  |  |  | 27. |  |  |  |  |  |  | 39. |  |  |  |  |  |
| 4. |  |  |  |  | 16. |  |  |  |  |  |  |  | 28. |  |  |  |  |  |  | 40. |  |  |  |  |  |
| 5. |  |  |  |  | 17. |  |  |  |  |  |  |  | 29. |  |  |  |  |  |  | 41. |  |  |  |  |  |
| 6. |  |  |  |  | 18. |  |  |  |  |  |  |  | 30. |  |  |  |  |  |  | 42. |  |  |  |  |  |
| 7. |  |  |  |  | 19. |  |  |  |  |  |  |  | 31. |  |  |  |  |  |  | 43. |  |  |  |  |  |
| 8. |  |  |  |  | 20. |  |  |  |  |  |  |  | 32. |  |  |  |  |  |  | 44. |  |  |  |  |  |
| 9. |  |  |  |  | 21. |  |  |  |  |  |  |  | 33. |  |  |  |  |  |  | 45. |  |  |  |  |  |
| 10. |  |  |  |  | 22. |  |  |  |  |  |  |  | 34. |  |  |  |  |  |  | 46. |  |  |  |  |  |
| 11. |  |  |  |  | 23. |  |  |  |  |  |  |  | 35. |  |  |  |  |  |  | 47. |  |  |  |  |  |
| 12. |  |  |  |  | 24. |  |  |  |  |  |  |  | 36. |  |  |  |  |  |  | 48. |  |  |  |  |  |
| Total: | Total: |  |  |  | Total: |  |  |  | Total: |  |  |  | Total: |  |  |  | Total: |  |  | Total: |  |  |  | Total: |  |
| 15. Total Error: |  | 16. Number of unreasonable minus (−) errors (compare each package error with Box 4): |  |  |  |  |  |  |  |  | 17. Is Box 16 greater than Box 8? Yes, lot fails No, go to Box 18 |  |  |  |  |  |  | 18. Average error in dimensionless units: (Box 15 Box 6 =) |  |  |  | 19. Average error in labeled units: (Box 18 × Box 2 =) |  |  |  |
| 20. Does Box 18 = Zero (0) or Plus (+)? Yes, lot passes, go to Box 25 No, go to Box 21 |  |  |  |  |  | 21. Compute Sample Standard Deviation: |  |  |  |  | 22. Sample Correction Factor: |  |  |  |  |  |  | 23. Compute Sample Error Limit: (Box 21 × Box 22 =) |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is Box 18 larger than Box 23? Yes, lot fails, go to Box 25 No, lot passes, go to Box 25 |  |  |  |  |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot: Approved Rejected |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature: |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report: |  |  |  |  |  |  |  |  |  |  |  |

| Date: January 20, 2010 |  |  | Standard Package Report – Example |  |  |  |  |  |  |  |  |  |  |  |  | Sampling Plan: A B |  |  |  |  |  |  |  | Report Number: 16 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address): Volunteer Market 18765 Alcoa Highway Knoxville, TN 37920 |  |  |  |  |  | Product/Brand Identity: Community Group Cookies (Thin Mints) |  |  |  |  |  |  |  |  |  | Manufacturer: ABC Cookies Inc. 1069 Capitol Avenue Nashville, TN 37204 |  |  |  |  |  |  |  | Container Description: Cardboard Box/ Plastic Liner |  |  |
|  |  |  |  |  |  | Lot Codes: April 2009 A & B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity: 453 g (1 lb) |  |  | 2. Unit of Measure: 0.001 lb |  |  |  |  | 3. MAV: 0.044 lb |  |  | 4. MAV (dimensionless units): (Box 3 Box 2 =) 44 |  |  |  |  |  |  |  | 5. Inspection Lot Size: 172 |  |  |  |  | 6. Sample Size (n): 12 |  |  |
| 7. Initial Tare Sample Size: 2 |  |  | 8. Number of MAVs Allowed: 0 |  |  |  |  | 9. Range of Package Errors (Rc): 24 |  |  | 10. Range of Tare Weights (Rt): 2 |  |  |  |  |  |  |  | 11. Rc/Rt: (Box 9 10 =) 12 |  |  |  |  | 12. Total Number of Tare Samples: 2 |  |  |
| 13. Average Tare Wt: 0.014 lb Used Dry Tare Wet Tare Unused Dry Tare |  |  |  |  |  |  |  | 13a. Tare Correction Moisture Allowance Vacuum Pack Not Applicable |  |  |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt: (Box 1 + Box13 − Box 13a =) 1.014 lb |  |  |  |  |  |  |  |
|  |  | Pkg 1 |  | Pkg 2 |  |  | Pkg 3 |  |  | Pkg 4 |  | Pkg 5 |  |  | Pkg 6 |  |  | Pkg 7 |  | Pkg 8 |  | Pkg 9 |  |  |  | Pkg 10 |
| a. Gross Wt |  | 1.052 lb |  | 1.026 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt |  | 0.015 lb |  | 0.013 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt |  | 1.037 lb |  | 1.013 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Package Error |  | 37 |  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| − | + |  |  |  | − |  |  |  | + |  |  |  | − |  |  |  | + |  |  |  | − |  |  |  | + |  |
| 1. | 38 |  |  |  | 13. |  |  |  |  |  |  |  | 25. |  |  |  |  |  |  |  | 37. |  |  |  |  |  |
| 2. | 12 |  |  |  | 14. |  |  |  |  |  |  |  | 26. |  |  |  |  |  |  |  | 38. |  |  |  |  |  |
| 3. | 8 |  |  |  | 15. |  |  |  |  |  |  |  | 27. |  |  |  |  |  |  |  | 39. |  |  |  |  |  |
| 4. | 4 |  |  |  | 16. |  |  |  |  |  |  |  | 28. |  |  |  |  |  |  |  | 40. |  |  |  |  |  |
| 5. 3 |  |  |  |  | 17. |  |  |  |  |  |  |  | 29. |  |  |  |  |  |  |  | 41. |  |  |  |  |  |
| 6. 2 |  |  |  |  | 18. |  |  |  |  |  |  |  | 30. |  |  |  |  |  |  |  | 42. |  |  |  |  |  |
| 7. | 12 |  |  |  | 19. |  |  |  |  |  |  |  | 31. |  |  |  |  |  |  |  | 43. |  |  |  |  |  |
| 8. 3 |  |  |  |  | 20. |  |  |  |  |  |  |  | 32. |  |  |  |  |  |  |  | 44. |  |  |  |  |  |
| 9. | 4 |  |  |  | 21. |  |  |  |  |  |  |  | 33. |  |  |  |  |  |  |  | 45. |  |  |  |  |  |
| 10. 1 |  |  |  |  | 22. |  |  |  |  |  |  |  | 34. |  |  |  |  |  |  |  | 46. |  |  |  |  |  |
| 11. 0 |  |  |  |  | 23. |  |  |  |  |  |  |  | 35. |  |  |  |  |  |  |  | 47. |  |  |  |  |  |
| 12. | 6 |  |  |  | 24. |  |  |  |  |  |  |  | 36. |  |  |  |  |  |  |  | 48. |  |  |  |  |  |
| Total: 9 | Total: 84 |  |  |  | Total: |  |  |  | Total: |  |  |  | Total: |  |  |  | Total: |  |  |  | Total: |  |  |  | Total: |  |
| 15. Total Error: + 75 |  |  | 16. Number of unreasonable minus (−) errors (compare each package error with Box 4): 0 |  |  |  |  |  |  |  | 17. Is Box 16 greater than Box 8? Yes, lot fails No, go to Box 18 |  |  |  |  |  |  |  | 18. Average error in dimensionless units: (Box 15 Box 6 =) + 6.25 |  |  |  | 19. Average error in labeled units: (Box 18 × Box 2 =) + 0.006 lb |  |  |  |
| 20. Does Box 18 = Zero (0) or Plus (+)? Yes, lot passes, go to Box 25 No, go to Box 21 |  |  |  |  |  | 21. Compute Sample Standard Deviation: |  |  |  |  | 22. Sample Correction Factor: |  |  |  |  |  |  |  | 23. Compute Sample Error Limit: (Box 21 × Box 22 =) |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is Box 18 larger than Box 23? Yes, lot fails, go to Box 25 No, lot passes, go to Box 25 |  |  |  |  |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot: Approved Rejected |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: Lot Passes |  |  |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report: |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: | Standard Package Report – Animal Bedding |  |  |  | Sampling Plan A – Table 2-1., Appendix A. in NIST Handbook 133 |  |  | Report Number: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address): |  |  | Product/Brand Identity: |  | Manufacturer: |  |  | Container Description: |
|  |  |  | Lot Codes: |  |  |  |  |  |
| 1. Labeled Quantity (Usable Volume): | 2. Unit of Measure: |  | 3. MAV: (5 % of labeled quantity) |  | 4. MAV: (0.05 × Box 1. Usable Volume) | 5. Inspection Lot Size: |  | 6. Sample Size (n): |
|  |  |  |  |  |  |  |  | 7. Number of Unreasonable Package Errors Allowed for Sample Size: |
| Gross Weight for Audit Testing |  |  | Package Error |  | Test Notes |  |  |  |
|  |  |  | − | + |  |  |  |  |
| 1. |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |  |  |
| 11. |  |  |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |  |  |
|  |  |  | Total: | Total: |  |  |  |  |
| 8. Total Error: | 9. Number of unreasonable minus (−) errors (compare each package error with Box 4): |  |  |  | 10. Is Box 9 greater than Box 7? Yes, lot fails go Box 17 No, go to Box 11. |  | 11. Calculate Average Error: (Box 8 ÷ Box 6 =) |  |
| 12. Does Box 11 = Zero (0) or Plus (+)? Yes, lot passes, go to Box 17 No, go to Box 13, 14, 15 & 16 |  |  | 13. Compute Sample Standard Deviation: |  | 14. Sample Correction Factor: | 15. Compute Sample Error Limit (SEL): (Box 13 × Box 14 =) |  |  |
| 16. Disregarding the signs, is Box 11 larger than Box 15? Yes, lot fails, go to Box 17 No, lot passes, go to Box 17 |  |  |  |  | 17. Disposition of Inspection Lot: Approve Reject |  |  |  |
| Comments: |  |  |  |  | Official’s Signature: |  |  |  |
|  |  |  |  |  | Acknowledgement of Report: |  |  |  |

Measurement Grid and Package Error Worksheet for Cylindrical and Square or Rectangular Test Measures

Complete this for Cylindrical Test Measures

Sample Package ______________ Labeled Expanded Volume (L): _______________ A. Interior Height of Test Measure: __________________ B. Radius of Test Measure (r): ___________ C. Average Depth (Sum of Measurements ÷ 26): _______________ D. Average Height of Product (= A − C): __________________ E. Volume (L): _____________ = 3.14159265 × r2 (B2): __________ × D: ________ ÷ 1 000 000 F. Package Error (L): ____________ = Labeled Volume (L): ____________ − E (L): _____________ Volume is calculated using: Volume in liters = πr2h For example: if r2 is 23035 and height of product is 109.26 then ((Pi) 3.14159265 × r2 (23035) × 109.26) ÷ 1 000 000 = 7.90 L

Complete this for Square or Rectangular Test Measures

Sample Package ______________ Labeled Expanded Volume (L): _______________ A. Interior Height of Test Measure: ___________ B. Area of Test Measure Base (L × W): ___________ C. Average Depth (Sum of Measurements ÷ 25): _______________ D. Average Height of Product (= A − C): __________________ E. Volume (L): ___________ = B. Area of Test Measure Base: __________ × D: ________ ÷ 1 000 000 F. Package Error (L): ____________ = Labeled Volume (L): ____________ − E (L): _____________ Volume is calculated using: Volume in liters = (lw)h For example: If length and width are 609.6 the area of the measure’s base is 371612. If the Average Height of the Product is 109.26 then: * Area of Test Measure Base (371612) × Average Height of Bedding (109.26) ÷ 1 000 000 = 40.6 L

(Added 2016)

Ice Glazed Package Worksheet

STEP

- Package Price (if standard pack) $ ____________ Price Per Pound (if random pack)  $ ______________

Lot Size: ____________ Sample Size: ___________ Unit of Measure: _________

- Number each package.  Weigh each package for the Gross Package Weight and enter in Row 1.

- Enter Labeled Net Weight in Row 2.  (If dual units determine the larger unit.)   ___________

- Record the Maximum Allowable Variation (MAV) in Row 3.

- Weigh the receiving pan = _____________ (enter in Row 4).  (Clean and dry the receiving pan and verify the weight after each use.  Thoroughly clean the sieve.)

- Deglaze the product.  Remove each package from the low temperature storage.  Open the package immediately and place the contents in the sieve or other draining device (e.g., colander) under a gentle spray of cold water.  Carefully agitate the product.  Handle with care to avoid breaking the product.  Continue the spraying process until all the ice glaze that is seen or felt is removed.

- Without shifting the product, incline the sieve to an angle of 17° to 20° (incline to facilitate drainage) and drain for two minutes using a stopwatch.

- Immediate transfer the entire product to the receiving pan to determine the net weight.

- To calculate the net weight (receiving pan and product) – (receiving pan)  = Net Weight  (enter in Row 5)

- Calculate ± Package error (net weight [Row 5] – labeled net weight [Row 2]) = ± Error, (enter in Row 6).

| Row | Package | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gross Pkg. Weight (Step 2) |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Labeled Net Weight (Step 3) |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MAV (Step 4) |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Receiving Pan Weight (Step 5) |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Net Weight (Step 9) |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | ± Error (Step 10) |  |  |  |  |  |  |  |  |  |  |  |  |

Used Dry Tare _______

Transfer data from the “Ice Glazed Package Worksheet” to the “Ice Glazed Package Report”

(Added 2010)

Ice Glazed Package Worksheet – Example

STEP

- Package Price (if standard pack) $   6.99            Price Per Pound (if random pack)  $  _____________

Lot Size:        6         Sample Size:        6          Unit of Measure:          0.001 lb

- Number each package.  Weigh each package for the Gross Package Weight and enter Row 1.

- Enter Labeled Net Weight in Row 2.  (If dual units determine the larger unit.) 1 lb/453 g

- Record the Maximum Allowable Variation (MAV) in Row 3.

- Weigh the receiving pan =   0.795 lb   (enter in Row 4).  (Clean and dry the receiving pan and verify the weight after each use.  Thoroughly clean the sieve.)

- Deglaze the product.  Remove each package from the low temperature storage.  Open the package immediately and place the contents in the sieve or other draining device (e.g., colander) under a gentle spray of cold water.  Carefully agitate the product.  Handle the product with care to avoid breaking the product.  Continue the spraying process until all the ice glaze that is seen or felt is removed.

- Without shifting the product, incline the sieve to an angle of 17° to 20° (incline to facilitate drainage) and drain for two minutes using a stopwatch.

- Immediately transfer the entire product to the receiving pan to determine the net weight.

- To calculate the net weight (receiving pan and product) – (receiving pan)  = Net Weight  (enter in Row 5)

- Calculate ± Package error (net weight [Row 5] – labeled net weight [Row 2]) = ± Error, (enter in Row 6).

| Row | Package | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gross Pkg. Weight (Step 2) | 1.180 | 1.205 | 1.110 | 1.150 | 1.000 | 1.210 |  |  |  |  |  |  |
| 2 | Labeled Net Weight (Step 3) | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |  |  |  |  |  |  |
| 3 | MAV (Step 4) | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 |  |  |  |  |  |  |
| 4 | Receiving Pan Weight (Step 5) | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 | 0.795 |  |  |  |  |  |  |
| 5 | Net Weight (Step 9) | 0.985 | 0.975 | 1.000 | 1.030 | 0.930 | 0.980 |  |  |  |  |  |  |
| 6 | ± Error (Step10) | −0.015 | −0.025 | 0 | +0.030 | −0.070 | −0.020 |  |  |  |  |  |  |

Used Dry Tare  0.025 lb

Transfer data from the “Ice Glazed Package Worksheet” to the “Ice Glazed Package Report”

(Added 2010)

| Date: |  |  |  | Ice Glazed Package Report |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Sampling Plan: A B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report Number: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address): |  |  |  |  |  |  |  |  |  |  |  |  | Product/Brand Identity: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Container Description: |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Lot Codes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Standard Pack Labeled Quantity: (If random packed, enter weight for each package in Column 1 below.) |  |  |  |  |  |  |  |  | 2. Unit of Measure: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3. MAV: Look up the MAV for each package with a minus (−) error, enter value in the Box 4 column below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5. Inspection Lot Size: |  |  |  |  |  |  |  |  | 6. Sample Size (n): |  |  |  |  |  |
| 7. Price per lb: 7a. Standard Pack: Package Price ___________ divide by (Box 1) = ____________ 7b. Random Pack: Labeled Price per lb ___________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 8. No. of MAVs Allowed: |  |  |  |  |  |
|  |  | Pkg 1 |  |  |  |  |  | Pkg 2 |  |  |  |  |  | Pkg 3 |  |  |  |  | Pkg 4 |  |  |  | Pkg 5 |  |  |  |  |  | Pkg 6 |  |  |  | Pkg 7 |  |  |  |  | Pkg 8 |  |  |  |  |  | Pkg 9 |  |  |  |  |  | Pkg 10 |  |  |  |  |  | Pkg 11 |  |  |  |  | Pkg 12 |  |
| Pkg. Gross Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a. Labeled Net Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Gross: Rec. Pan and deglazed product Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Tare: Rec. Pan Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Net Wt : (Box b − Box c= ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| e. Package Error: (Box d − Box a = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Package # | Column 1 Labeled Net Weight (random pack only) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Package Errors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4. MAV Dimensionless Units |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | − |  |  |  |  |  |  |  |  |  |  | + |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Totals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | f. |  |  |  |  |  |  |  |  |  |  | g. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Total Error: (add Row e or Box f + g) |  |  | 10. Number of Unreasonable Minus (−) Errors: (compare each package error with the MAV in the Box 4 column) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11. Is Box 10 greater than Box 8? Yes, lot fails No, go to Box 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12. Avg. Error: (Box 9 Box 6 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. Does Box 12 = Zero (0) or Plus (+)? Yes, lot passes, go to Box 18 No, go to Box 14 |  |  |  |  |  |  |  |  |  |  |  | 14. Compute Sample Standard Deviation: |  |  |  |  |  |  |  |  |  |  |  | 15. Sample Correction Factor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 16. Compute Sample Error Limit: (Box 14 × Box 15 =) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. Disregarding the signs, is Box 12 larger than Box 16? Yes, lot fails, go to Box 18 No, lot passes, go to Box 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 18. Disposition of Inspection Lot: Approved Rejected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 19. Economic Impact: (Box 12 × Box 7 × Box 5 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: January 20, 2010 |  |  |  |  |  | Ice Glazed Package Report – Example |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Sampling Plan: A B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report Number: 103 |  |  |  |  |  |
| Location (name, address): Ocean Fresh Market 101 8th Street Key West, FL |  |  |  |  |  |  |  |  |  |  |  |  | Product/Brand Identity: Raw/Peeled Shrimp 71 – 90 Count |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Manufacturer: Ocean Fresh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Container Description: Plastic |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Lot Codes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Standard Pack Labeled Quantity: 453 g (1 lb) (If random packed, enter weight for each package in Column 1 below.) |  |  |  |  |  |  |  |  | 2. Unit of Measure: 0.001 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3. MAV: Look up the MAV for each package with a minus (−) error, enter value in the Box 4 column below. 0.044 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5. Inspection Lot Size: 6 |  |  |  |  |  |  |  |  | 6. Sample Size (n): 6 |  |  |  |  |  |
| 7. Price per lb: 7a. Standard Pack: Package Price $ 6.99 divide by (Box 1) = $ 6.99 7b. Random Pack: Labeled Price per lb ___________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 8. No. of MAVs Allowed 0 |  |  |  |  |  |
|  |  | Pkg 1 |  |  |  |  |  | Pkg 2 |  |  |  |  |  | Pkg 3 |  |  |  |  | Pkg 4 |  |  |  | Pkg 5 |  |  |  |  |  | Pkg 6 |  |  |  | Pkg 7 |  |  |  |  | Pkg 8 |  |  |  |  |  | Pkg 9 |  |  |  |  |  | Pkg 10 |  |  |  |  |  | Pkg 11 |  |  |  |  | Pkg 12 |  |
| Pkg. Gross Wt |  | 1.180 |  |  |  |  |  | 1.205 |  |  |  |  |  | 1.100 |  |  |  |  | 1.150 |  |  |  | 1.000 |  |  |  |  |  | 1.210 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a. Labeled Net Wt |  | 1.000 |  |  |  |  |  | 1.000 |  |  |  |  |  | 1.000 |  |  |  |  | 1.000 |  |  |  | 1.000 |  |  |  |  |  | 1.000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Gross: Rec. Pan & deglazed product Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Tare: Rec. Pan Wt |  | 0.795 |  |  |  |  |  | 0.795 |  |  |  |  |  | 0.795 |  |  |  |  | 0.795 |  |  |  | 0.795 |  |  |  |  |  | 0.795 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Net Wt (Box b − Box c= ) |  | 0.985 |  |  |  |  |  | 0.975 |  |  |  |  |  | 1.000 |  |  |  |  | 1.030 |  |  |  | 0.930 |  |  |  |  |  | 0.980 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| e. Package Error (Box d − Box a = ) |  | − 0.015 |  |  |  |  |  | − 0.025 |  |  |  |  |  | 0 |  |  |  |  | + 0.030 |  |  |  | − 0.070 |  |  |  |  |  | − 0.020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Package # | Column 1 Labeled Net Weight (random pack only) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Package Errors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4. MAV Dimensionless Units |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | − |  |  |  |  |  |  |  |  |  |  | + |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Totals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | f. |  |  |  |  |  |  |  |  |  |  | g. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Total Error: (add Row e or Box f + g) − 0.100 |  |  |  |  |  | - Number of Unreasonable Minus (−) Errors: (compare each package error with the MAV in the Box 4 column) 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11. Is Box 10 greater than Box 8? Yes, lot fails No, go to Box 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12. Avg. error: (Box 9 Box 6 = ) − 0.016 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. Does Box 12 = Zero (0) or Plus (+)? Yes, lot passes, go to Box 18 No, go to Box 14 |  |  |  |  |  |  |  |  |  |  |  | 14. Compute Sample Standard Deviation: |  |  |  |  |  |  |  |  |  |  |  | 15. Sample Correction Factor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 16. Compute Sample Error Limit: (Box 14 × Box 15 =) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. Disregarding the signs, is Box 12 larger than Box 16? Yes, lot fails, go to Box 18 No, lot passes, go to Box 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 18. Disposition of Inspection Lot: Approved Rejected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 19. Economic Impact: (Box 12 × Box 7 × Box 5 = ) − 0.016 × $6.99 x 6 = $0.67 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: Product found to contain less than the stated net contents. Failed due to MAV. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  | Determining the Free Liquid and Net Volume of Oysters Worksheet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report Number: |  |  |  |  |  |  |  |  |
| Location (name, address): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Product/Brand Identity: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Container Description: |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Lot Codes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity: |  |  |  |  |  |  | 2. Unit of Measure: |  |  |  |  |  |  |  |  | 3. Inspection Lot Size: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4. Sample Size: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of Free Liquid Values |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steps: |  |  |  |  |  |  |  |  |  | Pkg 1 |  |  |  |  |  |  |  | Pkg 2 |  |  |  | Pkg 3 |  |  |  |  | Pkg 4 |  |  |  |  | Pkg 5 |  |  |  |  | Pkg 6 |  |  |  |  |  | Pkg 7 |  |  |  |  |  | Pkg 8 |  |  |  |  |  | Pkg 9 |  |  |  |  | Pkg 10 |  |
| 1. Weight of Dry Receiving Pan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Gross Weight of Package |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Temperature of Oysters 7 °C (± 1) [45 °F (± 2)] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Tare Weight of Package |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Net Weight of Oysters & Liquid (Step 2 – Step 3 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Weight of Receiving Pan and Drained Liquid |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Weight of Free Liquid (Step 5 – Step 1 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Percentage (%) of Free Liquid (Step 6 Step 4 × 100 =) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Volume |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Test the oysters at the temperature of 7 °C (± 1) [45 °F (± 2)]. 2. Establish the level of fill of the package using a depth gage. 3. Empty and dry the package. 4. Refill the package with water to the level of the depth gage. 5. Record the amount of delivered water and then sum the quantities to obtain the total volume in the package. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of Free Liquid |  |  |  |  |  |  |  |  |  | Quantity of Water Delivered into Package |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Pkg 1 |  |  |  |  |  |  |  | Pkg 2 |  |  |  | Pkg 3 |  |  |  |  | Pkg 4 |  |  |  |  | Pkg 5 |  |  |  |  | Pkg 6 |  |  |  |  |  | Pkg 7 |  |  |  |  |  | Pkg 8 |  |  |  |  |  | Pkg 9 |  |  |  |  | Pkg 10 |  |
| 8. Flask Size |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Flask Size |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Graduate or Cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Graduate or Cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. Total (8 + 9 + 10 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: December 20, 2013 |  |  |  |  | Determining the Free Liquid and Net Volume of Oysters Worksheet – Example |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Report Number: 1 of 2 |  |  |  |  |  |  |  |  |  |
| Location (name, address): Superchain Market Main Street Bradenton, FL |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Product/Brand Identity: World’s Best Oysters – Oyster Standard |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Manufacturer: World’s Best Packing Beach Road, AL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Container Description: Clear Plastic Tub with metal pull top |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Lot Codes: 12/26/2012 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity: 12 fl oz (355 ml) |  |  |  |  | 2. Unit of Measure: 0.001 lb |  |  |  |  |  |  |  |  |  | 3. Inspection Lot Size: 206 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4. Sample Size: 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of Free Liquid Values |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steps: |  |  |  |  |  |  |  |  |  |  | Pkg 1 |  |  |  | Pkg 2 |  |  |  |  |  | Pkg 3 |  |  |  |  | Pkg 4 |  |  |  | Pkg 5 |  |  |  |  | Pkg 6 |  |  |  |  |  | Pkg 7 |  |  |  |  | Pkg 8 |  |  |  |  |  | Pkg 9 |  |  |  |  |  |  | Pkg 10 |  |  |
| 1. Weight of Dry Receiving Pan |  |  |  |  |  |  |  |  |  |  | 11.841 |  |  |  | 11.841 |  |  |  |  |  | 11.841 |  |  |  |  | 11.841 |  |  |  | 11.841 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Gross Weight of Package |  |  |  |  |  |  |  |  |  |  | 0.871 |  |  |  | 0.884 |  |  |  |  |  | 0.920 |  |  |  |  | 0.869 |  |  |  | 0.8632 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Temperature of Oysters 7 °C (± 1) [45 °F (± 2)] |  |  |  |  |  |  |  |  |  |  | 44 °F |  |  |  | 46 °F |  |  |  |  |  | 44 °F |  |  |  |  | 47 °F |  |  |  | 45.5 °F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Tare Weight of Package |  |  |  |  |  |  |  |  |  |  | 0.060 |  |  |  | 0.060 |  |  |  |  |  | 0.060 |  |  |  |  | 0.059 |  |  |  | 0.060 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Net Weight of Oysters & Liquid (Step 2 – Step 3 = ) |  |  |  |  |  |  |  |  |  |  | 0.811 |  |  |  | 0.824 |  |  |  |  |  | 0.86 |  |  |  |  | 0.81 |  |  |  | 0.803 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Weight of Receiving Pan and Drained Liquid |  |  |  |  |  |  |  |  |  |  | 12.020 |  |  |  | 12.121 |  |  |  |  |  | 12.120 |  |  |  |  | 12.031 |  |  |  | 12.242 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Weight of Free Liquid (Step 5 – Step 1 = ) |  |  |  |  |  |  |  |  |  |  | 0.179 |  |  |  | 0.28 |  |  |  |  |  | 0.279 |  |  |  |  | 0.19 |  |  |  | 0.401 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Percentage (%) of Free Liquid (Step 6 Step 4 × 100 =) |  |  |  |  |  |  |  |  |  |  | 22 % |  |  |  | 33 % |  |  |  |  |  | 32 % |  |  |  |  | 23 % |  |  |  | 49 % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Volume |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Test the oysters at the temperature of 7 °C (± 1) [45 °F (± 2)]. 2. Establish the level of fill of the package using a depth gage. 3. Empty and dry the package. 4. Refill the package with water to the level of the depth gage. 5. Record the amount of delivered water and then sum the quantities to obtain the total volume in the package. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of Free Liquid |  |  |  |  |  |  |  |  |  |  | Quantity of Water Delivered into Package |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Pkg 1 |  |  |  | Pkg 2 |  |  |  |  | Pkg 3 |  |  |  |  | Pkg 4 |  |  |  |  |  | Pkg 5 |  |  |  |  | Pkg 6 |  |  |  |  |  | Pkg 7 |  |  |  |  | Pkg 8 |  |  |  |  | Pkg 9 |  |  |  |  |  | Pkg 10 |  |  |  |
| 8. Flask Size |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Flask Size |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Graduate or Cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Graduate or Cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. Total (8 + 9 + 10 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Inspector: |  |  |  | Chitterlings Worksheet – Category A (Net Weight & Purge Determinations) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  |  |  |  |  |  |  |
| Packer: |  |  |  |  | Lot Code: |  |  | Drain Pan Tare: | Unit of Measure: |  |
|  |  |  |  |  | Brand: |  |  |  |  |  |
| Package Number | A | B | C |  | D | E | If Error Exceeds MAV = Fail | F | G |  |
|  | Labeled Net Weight | Package Gross Weight | Package Tare Weight |  | Actual Package Net Weight B – C = | Package Error D – A = |  | Purged Net Wt Weight of Drained Chitterlings (or Purged Liquid) and Drain Pan − Drain Pan Tare = | Purge % (A – F) × 100 A |  |
| 1 |  |  |  |  |  |  |  |  |  | % |
| 2 |  |  |  |  |  |  |  |  |  | % |
| 3 |  |  |  |  |  |  |  |  |  | % |
| 4 |  |  |  |  |  |  |  |  |  | % |
| 5 |  |  |  |  |  |  |  |  |  | % |
| 6 |  |  |  |  |  |  |  |  |  | % |
| 7 |  |  |  |  |  |  |  |  |  | % |
| 8 |  |  |  |  |  |  |  |  |  | % |
| 9 |  |  |  |  |  |  |  |  |  | % |
| 10 |  |  |  |  |  |  |  |  |  | % |
| 11 |  |  |  |  |  |  |  |  |  | % |
| 12 |  |  |  |  |  |  |  |  |  | % |
| Number of Unreasonable Errors Allowed: Table 2-9. MAV: |  |  | E1 − Total Error : |  |  |  |  | G1 − Total Purge: |  | % |
|  |  |  | E2 – Average Error : (E1 ÷ n = ) |  |  |  |  | G2 – Average Purge: (G1 ÷ n = ) |  | % |
|  |  |  | G3 – Adjusted Average Purge: (G2 – Purge Sample Error Limit [PSEL] = ) |  |  |  |  |  |  | % |
| NET WEIGHT COMPLIANCE: (1) If any of the minus package errors (see Column E) exceed the MAV, the sample fails. (2) If none exceeds the MAV and the Average Error (E2) is a positive number, the sample passes. (3) If the Average Error (E2) is a minus number, calculate the sample standard deviation and enter it below. (4) Use the Sample Correction Factor (SCF) to calculate the Sample Error Limit (SEL). (5) Disregarding the signs, (a) if the Average Error (E2) is larger than the SEL, the sample fails or (b) if the Average Error is less than the SEL the sample passes. Standard Deviation: × 0.635 (SCF) = (SEL) Passed Failed |  |  |  |  |  |  |  |  |  |  |
| PURGE COMPLIANCE: MAVs are not applied in the purge test (1) If the Average Purge Error (G2) is less than or equal to 20 %, the sample passes. (2) If the Average Purge Error is greater than 20 %, calculate the sample standard deviation and enter it below. (3) Use the Sample Correction Factor (SCF) to calculate the Purge Sample Error Limit (PSEL) in percent. (4) Subtract the PSEL from the Average Purge (G2) to obtain an Adjusted Average Purge (AAP) and enter that value in G3. (5)(a) If the AAP (G3) is greater than 20 %, the sample fails or (b) if the AAP (G3) is 20 % or less, the sample passes. Standard Deviation: × 0.635 (SCF) = (PSEL) Purge (G3) Passed Failed |  |  |  |  |  |  |  |  |  |  |
| Sample Disposition: |  |  |  |  |  |  |  |  |  |  |

| Inspector: S. Inspector |  |  |  | Chitterlings Worksheet – Category A – Example (Net Weight & Purge Determinations Worksheet) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: July 12, 2016 |  |  |  |  |  |  |  |  |  |  |
| Packer: Packer Inc. 1000 Roadway PackingTown, USA |  |  |  |  | Lot Code: a342012 |  |  | Drain Pan Tare: 0.997 lb | Unit of Measure: lb |  |
|  |  |  |  |  | Brand: Allbrand |  |  |  |  |  |
| Package Number | A | B | C |  | D | E | If Error Exceeds MAV = Fail | F | G |  |
|  | Labeled Net Weight | Package Gross Weight | Package Tare Weight |  | Actual Package Net Weight B – C = | Package Error D – A = |  | Purged Net Wt Weight of Drained Chitterlings (or Purged Liquid) and Drain Pan − Drain Pan Tare = | Purge % (A – F) × 100 A |  |
| 1 | 5 lb | 5.130 | 0.032 |  | 5.098 | 0.098 |  | 4.19 | 16.2 | % |
| 2 |  | 5.160 | 0.033 |  | 5.127 | 0.127 |  | 4.21 | 15.8 | % |
| 3 |  | 5.012 | 0.032 |  | 4.980 | − 0.020 |  | 4.17 | 16.6 | % |
| 4 |  | 5.170 | 0.034 |  | 5.136 | 0.136 |  | 4.20 | 16.0 | % |
| 5 |  | 5.020 | 0.033 |  | 4.987 | − 0.013 |  | 4.18 | 16.4 | % |
| 6 |  | 5.102 | 0.032 |  | 5.070 | 0.070 |  | 4.22 | 15.6 | % |
| 7 |  | 5.051 | 0.033 |  | 5.018 | 0.018 |  | 4.24 | 15.2 | % |
| 8 |  | 5.116 | 0.032 |  | 5.084 | 0.084 |  | 4.20 | 16.0 | % |
| 9 |  | 5.120 | 0.034 |  | 5.086 | 0.086 |  | 4.19 | 16.2 | % |
| 10 |  | 5.023 | 0.032 |  | 4.991 | − 0.009 |  | 4.20 | 16.0 | % |
| 11 |  | 5.122 | 0.032 |  | 5.090 | 0.090 |  | 4.26 | 14.8 | % |
| 12 |  | 5.020 | 0.033 |  | 4.987 | − 0.013 |  | 4.18 | 16.4 | % |
| Number of Unreasonable Errors Allowed: NONE Table 2-9. MAV: 0.0.094 lb |  |  | E1 − Total Error: 0.054 lb |  |  |  |  | G1 − Total Purge: 191.2 |  | % |
|  |  |  | E2 – Average Error: 0.0045 lb (E1 ÷ n = ) |  |  |  |  | G2 – Average Purge: 15.9 (G1 ÷ n = ) |  | % |
|  |  |  | G3 – Adjusted Average Purge: (G2 – Purge Sample Error Limit [PSEL] = ) |  |  |  |  |  |  | % |
| NET WEIGHT COMPLIANCE: (1) If any of the minus package errors (see Column E) exceed the MAV, the sample fails. (2) If none exceeds the MAV and the Average Error (E2) is a positive number, the sample passes. (3) If the Average Error (E2) is a minus number, calculate the sample standard deviation and enter it below. (4) Use the Sample Correction Factor (SCF) to calculate the Sample Error Limit (SEL). (5) Disregarding the signs, (a) if the Average Error (E2) is larger than the SEL, the sample fails or (b) if the Average Error is less than the SEL the sample passes. Standard Deviation: 0.0601 × 0.635 (SCF) = 0.0382 (SEL) Passed √ Failed |  |  |  |  |  |  |  |  |  |  |
| PURGE COMPLIANCE: MAVs are not applied in the purge test (1) If the Average Purge Error (G2) is less than or equal to 20 %, the sample passes. (2) If the Average Purge Error is greater than 20 %, calculate the sample standard deviation and enter it below. (3) Use the Sample Correction Factor (SCF) to calculate the Purge Sample Error Limit (PSEL) in percent. (4) Subtract the PSEL from the Average Purge (G2) to obtain an Adjusted Average Purge (AAP) and enter that value in G3. (5)(a) If the AAP (G3) is greater than 20 %, the sample fails or (b) if the AAP (G3) is 20 % or less, the sample passes. Standard Deviation: 2.420 × 0.635 (SCF) = 1.536 (PSEL) Purge (G3) 18.83 % Passed √ Failed |  |  |  |  |  |  |  |  |  |  |
| Sample Disposition: Lot passes on both criteria. |  |  |  |  |  |  |  |  |  |  |

| Inspector: |  |  |  | Chitterlings Worksheet – Category B (For Use Inside a USDA Inspected Packing Plant Net Weight & Purge Determination) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  |  |  |  |  |  |  |
| Packer: |  |  |  |  | Lot Code: |  |  | Drain Pan Tare: | Unit of Measure: |  |
|  |  |  |  |  | Brand: |  |  |  |  |  |
| Package Number | A | B | C |  | D | E | If Error Exceeds MAV = Fail | F | G |  |
|  | Labeled Net Weight | Package Gross Weight | Package Tare Weight |  | Actual Package Net Weight B – C = | Package Error D – A = |  | Purged Net Wt Drained Chitterlings (or Purged Liquid) and Pan − Drain Pan Tare = | Purge % (A – F) x 100 A |  |
| 1 |  |  |  |  |  |  |  |  |  | % |
| 2 |  |  |  |  |  |  |  |  |  | % |
| 3 |  |  |  |  |  |  |  |  |  | % |
| 4 |  |  |  |  |  |  |  |  |  | % |
| 5 |  |  |  |  |  |  |  |  |  | % |
| 6 |  |  |  |  |  |  |  |  |  | % |
| 7 |  |  |  |  |  |  |  |  |  | % |
| 8 |  |  |  |  |  |  |  |  |  | % |
| 9 |  |  |  |  |  |  |  |  |  | % |
| 10 |  |  |  |  |  |  |  |  |  | % |
| Number of Unreasonable Errors Allowed: NONE Table 2-9. MAV: |  |  | E1 – Total Error: |  |  |  |  | G1 –Total Purge: |  | % |
|  |  |  | E2 – Average Error: (E1 ÷ n = ) |  |  |  |  | G2 – Average Purge: (G1 ÷ n = ) |  | % |
| NET WEIGHT COMPLIANCE: (1) If any of the minus package errors (see Column E) exceed the MAV the sample fails. (2) If none of the package errors exceeds the MAV and the Average Error (E2) is a positive number the sample passes. (3) If the Average Error (E2) is a minus number the sample fails. Passed: Failed: |  |  |  |  |  |  |  |  |  |  |
| PURGE COMPLIANCE: MAVs are not applied in the purge test (1) If the Average Purge Error (G2) is less than or equal to 20 %, the sample passes. (2) If the Average Purge Error (G2) is greater than 20 %, the sample fails. Purge: Passed: Failed: |  |  |  |  |  |  |  |  |  |  |
| Sample Disposition: |  |  |  |  |  |  |  |  |  |  |

| Inspector: S. Inspector |  |  |  | Chitterlings Worksheet – Category B – Example (for use Inside a USDA Inspected Packing Plant Net Weight & Purge Determinations) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: July 14, 2016 |  |  |  |  |  |  |  |  |  |  |
| Packer: Packer Inc. 1000 Roadway PackingTown, USA |  |  |  |  | Lot Code: a34526 |  |  | Drain Pan Tare: 0.997 lb | Unit of Measure: lb |  |
|  |  |  |  |  | Brand: Allbrand |  |  |  |  |  |
| Package Number | A | B | C |  | D | E | If Error Exceeds MAV = Fail | F | G |  |
|  | Labeled Net Weight | Package Gross Weight | Package Tare Weight |  | Actual Package Net Weight B – C = | Package Error D – A = |  | Purged Net Wt Drained Chitterlings (or Purged Liquid) and Pan − Drain Pan Tare = | Purge % (A – F) x 100 A |  |
| 1 | 5 | 5.130 | 0.032 |  | 5.098 | 0.098 |  | 4.19 | 16.2 | % |
| 2 |  | 5.160 | 0.033 |  | 5.127 | 0.127 |  | 4.21 | 15.8 | % |
| 3 |  | 5.012 | 0.032 |  | 4.980 | − 0.020 |  | 4.17 | 16.6 | % |
| 4 |  | 5.170 | 0.034 |  | 5.136 | 0.136 |  | 4.20 | 16.0 | % |
| 5 |  | 5.020 | 0.033 |  | 4.987 | − 0.013 |  | 4.18 | 16.4 | % |
| 6 |  | 5.102 | 0.032 |  | 5.070 | 0.070 |  | 4.22 | 15.6 | % |
| 7 |  | 5.051 | 0.033 |  | 5.018 | 0.018 |  | 4.24 | 15.2 | % |
| 8 |  | 5.116 | 0.032 |  | 5.084 | 0.084 |  | 4.20 | 16.0 | % |
| 9 |  | 5.120 | 0.034 |  | 5.086 | 0.086 |  | 4.19 | 16.2 | % |
| 10 |  | 5.023 | 0.032 |  | 4.991 | − 0.009 |  | 4.20 | 16.0 | % |
| Number of Unreasonable Errors Allowed: NONE Table 2-9. MAV: 0.094 lb |  |  | E1 – Total Error 0.057 lb |  |  |  |  | G1 –Total Purge: 160 |  | % |
|  |  |  | E2 – Average Error 0.057 lb (E1 ÷ n = ) |  |  |  |  | G2 – Average Purge: 16 (G1 ÷ n = ) |  | % |
| NET WEIGHT COMPLIANCE: (1) If any of the minus package errors (see Column E) exceed the MAV the sample fails. (2) If none of the package errors exceeds the MAV and the Average Error (E2) is a positive number the sample passes. (3) If the Average Error (E2) is a minus number the sample fails. Passed: √ Failed: |  |  |  |  |  |  |  |  |  |  |
| PURGE COMPLIANCE: MAVs are not applied in the purge test (1) If the Average Purge Error (G2) is less than or equal to 20 %, the sample passes. (2) If the Average Purge Error (G2) is greater than 20 %, the sample fails. Purge: Passed: Failed: |  |  |  |  |  |  |  |  |  |  |
| Sample Disposition: |  |  |  |  |  |  |  |  |  |  |

| Date: |  |  |  |  | Peat Moss Labeled by Volume Package Worksheet – Dimensional Procedure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Labeled Quantity |  |  |  |  | Converted to Metric: |  |  |  |  | Largest Quantity: |  |  |  |  |  |  |  |  | Manufacturer : |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Product: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lot Size: |  |  |  |  |  |  |  |  |  | Sample Size: |  |  |  |  |  |  |  |  | Lot Code: |  |  |  |  |  |  |  |  | Plant Number: |  |  |  |  |  |  |
| 1 cubic foot = 1728 cu in *Total Volume (cubic feet) = L × W × H ÷ 1728 or *Total Volume (L) (cubic meter) = L × W × H ÷ 1 000 000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dimensions Measured in: ☐ mm ☐ in Package Error in: ☐ mL ☐ cu in |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Length |  |  |  |  |  |  |  |  | Avg | Width |  |  |  |  |  |  |  |  | Avg |  | Height |  |  |  |  |  |  |  |  | Avg |  | Total* |  |
| 1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 1. What is the MAV for this labeled quantity in Table 2-6? ☐ __________ mL ☐ ________ cu in |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Total Package Error: |  |  |  |  |  |  |  |  |
| Step 2. How many minus errors exceed the MAV _______? If the number of unreasonable errors exceeds the number permitted for the sample size in Table 2-1., the sample fails; go to Step 7. If there are no Unreasonable Errors, sum the package errors, and calculate the Average Error entering it in Step 3. Go to Step 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Step 3: Average Package Error: |  |  |  |  |  |  |  |  |
| Step 4. If the Average Error is zero or a positive number, the sample passes; go to Step 7. If the Average Error is a negative number, go to Step 5. Step 5. Calculate the Sample Standard Deviation (s) and multiply (s) by the Sample Correction Factor (SCF) for the sample size to obtain the Sample Error Limit (SEL); go to Step 6. (s)______________ × (SCF) ___________ = SEL ________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Box 6. Disregarding the signs, is the SEL in Step 5 larger than the Average Package Error in Step 3? If yes, the sample passes, go to Step 7 and approve the lot. If no, the sample fails, go to Step 7 and reject the lot. |  |  |  |  |  |  |  |  |
| Step 7. Action Taken: ☐ Lot Rejected ☐ Lot Approved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Random Numbers: Enter the numbers as you select them in the top row and reorder them in the bottom row. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: | Borax Audit Worksheet Use only IF the sample fails the net weight test. Use the lightest package in the sample. |  |
| --- | --- | --- |
| Inspector: |  |  |
| - Product: |  | - Lot Code: |
| - Declared Net Weight on the Package: |  |  |
| - Declared Volume on the Borax Package: |  |  |
| - Gross Weight of Package: |  |  |
| - Tare Weight of Package: |  |  |
| - Net Weight of Package: |  |  |
| - Volume of Dry Measure – Look up the volume of the dry measure in milliliters used to calculate the volume and enter it below: = mL Dry Measure: Dry Pint = 550.6 mL; Dry Quart = 1001 mL; Liter = 1000 mL |  |  |
| - Empty Weight of Dry Measure: |  |  |
| - Gross Weight of Dry Measure + Borax: |  |  |
| - Net Weight of Borax in the Dry Measure: (Box 10 – Box 9) × Box 8= |  |  |
| - Net Volume of Borax: (Box 7 ÷ Box 11) × Box 8 = |  |  |
| - Refer to Step 10 to determine if the sample is in compliance or if further action is required. |  |  |
| (Added 2016) |  |  |
| (7/2016) |  |  |