## Document Information
OSAC Registry Request Comment Adjudication Template
Document Title | E3085 Standard Guide for Using Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations
Requesting Subcommittee | Materials
Subcommittee Chair |  | Subcommittee Technical Contact
Name: | Diana Wright | Name: | Robyn Weimer
Affiliation: |  | Affiliation
Email: | dmwright@fbi.gov | Email: | robyn.weimer@dfs.virginia.gov
Phone: | 703-632-7418 | Phone: | 804-588-4049
Beginning Comment Period Date | 2017-05-17
End Comment Period Date | 2017-06-18
Comment Adjudication Meeting Dates | Numerous meetings including pitch meeting
# of Members Present | Vote via Kavi: 23 yes; 0 no; 1 abstain; 1 absent
QIC requested edits to adjudication in 09/17; comments edited and re-balloted to SC; ballot closed on 01/03/18; 21-yes; 1-no; 0-abstain
Note: This template is intended for use by all subcommittees considering a new document for addition into OSAC Registry

## Comment Adjudication
Id | Person First Name | Person First Name | Assigned To | Person Email | Person Phone | Origin | Category | Section | Page | Line | Subject | Comment/Proposals | Response | Status | Resolution | Disposition | Resolution Date and Vote Outcome | Company Name | Interest Category | Submission Date | Group Name | Document Name | Revision Number | Document Description | History
1820 | Lynn | Garcia |  | lynn.garcia@fsc.texas.gov | 5129360649 | Public Review | N/A | 3,8,9 |  |  | LRC CONSENSUS COMMENTS | Please see attached LRC consensus comments. | Please see attached two page document. | Resolved | Not persuasive | None | Resolved ballot closed on 01/03/18; 21-yes; 1-no; 0-abstain | 2017-06-16 18:16 | LRC |  | 2017-06-16 18:16 | SAC Chemistry/Instrument Analysis | Link - ASTM E3085-17 Standard Guide for Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations - Public Comment Period Closes June 17, 2017 - Free review during comment period | 0 | The OSAC Materials (Trace) Subcommittee under the Chemistry SAC has submitted ASTM E3085-17 for consideration for listing on the OSAC Registry. Document Scope: Infrared spectroscopy (IR) is a valuable method for the identification and comparison of pressure sensitive tapes. This guide provides basic recommendations and information about infrared spectrometers and accessories, with an emphasis on sampling techniques specific to pressure sensitive tape examinations. The particular method(s) employed by each examiner or laboratory will depend upon available equipment, examiner training, sample suitability, and sample size. (Click on ADD A COMMENT on the upper left above Document Details) | 2017-06-16 18:15:52 - 172.18.0.4 - lynn.garcia@fsc.texas.gov - Added new comment 2017-06-16 18:15:52 - 172.18.0.4 - lynn.garcia@fsc.texas.gov - Updated submitter info 2017-06-16 18:15:53 - 172.18.0.4 - lynn.garcia@fsc.texas.gov - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2017-06-16 18:15:53 - 172.18.0.4 - lynn.garcia@fsc.texas.gov - Updated comment info: category=N/A ¦ section=3,8,9 ¦ item=N/A ¦ page= ¦ line= ¦ proposal updated
1821 | Will | Guthrie |  | will.guthrie@nist.gov | 301-975-2854 | Public Review | Substantive | 3.1.6 / 3.1.6.1 | 1 | NA | STG Consensus Comments on ASTM E3085-17 | The definition of "meaningful difference" in ASTM E3085-17 (Standard Guide for Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations) is too similar to the generic definition of a "statistically significant difference" to be appropriate for use as a non-statistical term. Note: This same definition is also used in the current draft document titled Standard Practice for Interpretation and Report Writing in Forensic Comparisons of Trace Materials. If the ability to discriminate or differentiate between forensic measurement results is defined by the level of variation observed in relevant measurement data, then statistical methods must be proposed to estimate that variation and establish method performance. Alternatively, other means for defining a practically meaningful difference, based on external standards rather than repeatability or reproducibility of data, must be proposed. The following ten members of the OSAC Statistics Task Group indicated their willingness to sign on to this public comment and proposed solution via official Kavi ballot:Â Carriquiry, Alicia, Iowa State UniversityGuthrie, William, NISTKafadar, Karen, University of VirginiaKaye, David, Pennsylvania State University School of LawLancaster, Mark, Northern Kentucky UniversityMandal, Abhyuday, University of GeorgiaSpiegelman, Clifford, Texas A&M UniversityWang, Haonan, Colorado State UniversityWeir, Bruce, University of Washington-Zabell, Sandy, Northwestern University One other member of the Statistics Task Group abstained from signing on when voting on this commentÂ and twelveÂ members of the Task GroupÂ did not vote. If desired, the Statistics Task Group is willing to help, or to arrange external help, on the development of a statistically-based analysis method for comparing FTIR spectra that couldÂ be included in ASTM E3085. | Not persuasive: The intent of the development of a definition for “meaningful difference” was to prevent the assumption that the use of the term “significant differences” unilaterally conveyed the use of statistical assessments of the spectral data. Discussion point 3.1.6.1, was added to the definition to clarify the intent to distinguish between the use of these terms. Note: This same definition is also used in the current draft document titled Standard Practice for Interpretation and Report Writing in Forensic Comparisons of Trace Materials. | Resolved | Not persuasive | None | Resolved ballot closed on 01/03/18; 21-yes; 1-no; 0-abstain | 2017-06-17 20:14 | OSAC Statistics Task Group |  | 2017-06-17 20:14 | SAC Chemistry/Instrument Analysis | Link - ASTM E3085-17 Standard Guide for Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations - Public Comment Period Closes June 17, 2017 - Free review during comment period | 0 | The OSAC Materials (Trace) Subcommittee under the Chemistry SAC has submitted ASTM E3085-17 for consideration for listing on the OSAC Registry. Document Scope: Infrared spectroscopy (IR) is a valuable method for the identification and comparison of pressure sensitive tapes. This guide provides basic recommendations and information about infrared spectrometers and accessories, with an emphasis on sampling techniques specific to pressure sensitive tape examinations. The particular method(s) employed by each examiner or laboratory will depend upon available equipment, examiner training, sample suitability, and sample size. (Click on ADD A COMMENT on the upper left above Document Details) | 2017-06-17 20:14:17 - 172.18.0.4 - william.guthrie@nist.gov - Added new comment 2017-06-17 20:14:17 - 172.18.0.4 - william.guthrie@nist.gov - Updated submitter info 2017-06-17 20:14:18 - 172.18.0.4 - william.guthrie@nist.gov - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2017-06-17 20:14:18 - 172.18.0.4 - william.guthrie@nist.gov - Updated comment info: category=Substantive ¦ section=3.1.6 / 3.1.6.1 ¦ item=N/A ¦ page=1 ¦ line=NA ¦ proposal updated
1822 | Karen | Kafadar |  | kkafadar@gmail.com |  | Public Review | Substantive | 3.1.6 |  |  | Defintion of "Meaningful Difference" in ASTM E3085-17 | The definition of "meaningful difference" in ASTM E3085-17 (Standard Guide for Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations) is too similar to the generic definition of a "statistically significant difference" to be appropriate for use as a non-statistical term. If the ability to discriminate or differentiate between forensic measurement results is defined by the level of variation observed in relevant measurement data, then statistical methods must be proposed to estimate that variation and establish method performance. Alternatively, other means for defining a practically meaningful difference, based on external standards rather than repeatability or reproducibility of data, must be proposed. Notes 1. This same definition is also used in the current draft document entitled "Standard Practice for Interpretation and Report Writing in Forensic Comparisons of Trace Materials." 2. Of the 11 voting members of the Statisticians Task Group who cast a ballot on this comment, ten (91%) supported the comment. No statistician disagreed. One abstained. The names and votes of these 11 STG members are available on request. If the ability to discriminate or differentiate between forensic measurement results is defined by the level of variation observed in relevant measurement data, then statistical methods must be proposed to estimate that variation and establish method performance. Alternatively, other means for defining a practically meaningful difference, based on external standards rather than repeatability or reproducibility of data, must be proposed. | Not persuasive: The intent of the development of a definition for “meaningful difference” was to prevent the assumption that the use of the term “significant differences” unilaterally conveyed the use of statistical assessments of the spectral data. Discussion point 3.1.6.1, was added to the definition to clarify the intent to distinguish between the use of these terms. Note: This same definition is also used in the current draft document titled Standard Practice for Interpretation and Report Writing in Forensic Comparisons of Trace Materials. | Resolved | Not persuasive | None | Resolved ballot closed on 01/03/18; 21-yes; 1-no; 0-abstain | 2017-06-18 01:55 | University of Virginia |  | 2017-06-18 01:55 | SAC Chemistry/Instrument Analysis | Link - ASTM E3085-17 Standard Guide for Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations - Public Comment Period Closes June 17, 2017 - Free review during comment period | 0 | The OSAC Materials (Trace) Subcommittee under the Chemistry SAC has submitted ASTM E3085-17 for consideration for listing on the OSAC Registry. Document Scope: Infrared spectroscopy (IR) is a valuable method for the identification and comparison of pressure sensitive tapes. This guide provides basic recommendations and information about infrared spectrometers and accessories, with an emphasis on sampling techniques specific to pressure sensitive tape examinations. The particular method(s) employed by each examiner or laboratory will depend upon available equipment, examiner training, sample suitability, and sample size. (Click on ADD A COMMENT on the upper left above Document Details) | 2017-06-18 01:55:24 - 172.18.0.4 - kaye@psu.edu - Added new comment 2017-06-18 01:55:24 - 172.18.0.4 - kaye@psu.edu - Updated submitter info 2017-06-18 01:55:25 - 172.18.0.4 - kaye@psu.edu - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2017-06-18 01:55:25 - 172.18.0.4 - kaye@psu.edu - Updated comment info: category=Substantive ¦ section=3.1.6 ¦ item=Paragraph ¦ page= ¦ line= ¦ proposal updated
1824 | Eric | Steel |  | eric.steel@nist.gov |  | Public Review | Substantive | All |  |  | Measurement Science Comments on FTIR of Tape Guide | This summarized a few of the most important comments that were unanimous among several NIST microanalysts. Overall: This guide covers a lot of useful and sporadically detailed information about tapes and considerations during IR spectroscopic analysis, but lacks sufficient detail when describing the actual sample preparation, analysis, and comparison of tape spectra. The single main and unanimously stated comment among the NIST reviewers is that there is insufficient guidance on the interpretation of "meaningful differences". This is the basis of the whole document. From the guide section "3.1.6 meaningful difference, nâ€”a feature or property of a sample that does not fall within the variation exhibited by the comparison sample, considering the limitations of the sample or technique, and therefore indicates the two samples do not share a common origin." Â How is the variation determined, recorded, and reported? Does one get a subjective "feeling" for the variation or are there objective measures used in this approach? An objective (measurement) approach to determining the meaningful difference or variation is not described. But would be preferred to a subjective personal-opinion approach. The interpretation of meaningful differences depends upon data whose measurement is not described. From the guide section "8.5.1.2 "â€¦the amount of sample present, the hetero-/homogeneity of the material, typical spectral variation observed in similar materials, etc."Â Where is the guidance for collecting this data?Â Â We feel this guide gives insufficient information to be useful in the analysis and interpretation of tapes by IR spectroscopy. As a standard, a practitioner may want to say they follow this guide or ask to be accredited to this guide. This would not be meaningful in it current form. Example of specific suggestions for improvement: Much of the detail on generic IR instrumentation and analysis can be found and referenced in text books and the like. This would help focus the document on the IR characterization and analysis of tape. Explicit directions for sample acceptance criteria, sample preparation, and sampling approaches for tape are needed. Explicit directions or guidance on identifying components would be useful. Explicit guidance for comparing IR spectra are needed. How is the spectral variation determined, recorded, reported, and then compared?Â Directions/guidance is needed for how to determine the band position, band shape, and band intensity. This would be useful in making different laboratories and analysts attain comparable, reproducible data and results. One major suggestions to help focus the document would be to add specificity for each major group or type of tape. For example, if duct tape is the one of the most common tapes one sees in casework, then details regarding the suggested handling, instrument parameters, solvents used, methods to take the layers apart, and analyses of each tape component would be very helpful. Other similar recommendations can be done for packing and electrical tape since the are also seen in casework. Upon reading the Standard Guide, the reviewers had to make many educated guesses about how to properly analyze each component and use personal (and potentially variable by individual) judgement on what is thought should be examined with the FTIR instrument. | Please see attached document. | Resolved | Not persuasive | None | Resolved ballot closed on 01/03/18; 21-yes; 1-no; 0-abstain | 2017-06-18 03:21 | National Institute of Standards & Technology |  | 2017-06-18 03:21 | SAC Chemistry/Instrument Analysis | Link - ASTM E3085-17 Standard Guide for Fourier Transform Infrared Spectroscopy in Forensic Tape Examinations - Public Comment Period Closes June 17, 2017 - Free review during comment period | 0 | The OSAC Materials (Trace) Subcommittee under the Chemistry SAC has submitted ASTM E3085-17 for consideration for listing on the OSAC Registry. Document Scope: Infrared spectroscopy (IR) is a valuable method for the identification and comparison of pressure sensitive tapes. This guide provides basic recommendations and information about infrared spectrometers and accessories, with an emphasis on sampling techniques specific to pressure sensitive tape examinations. The particular method(s) employed by each examiner or laboratory will depend upon available equipment, examiner training, sample suitability, and sample size. (Click on ADD A COMMENT on the upper left above Document Details) | 2017-06-18 03:21:21 - 172.18.0.4 - - Added new comment 2017-06-18 03:21:21 - 172.18.0.4 - - Updated submitter info 2017-06-18 03:21:23 - 172.18.0.4 - - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2017-06-18 03:21:23 - 172.18.0.4 - - Updated comment info: category=Substantive ¦ section=All ¦ item=N/A ¦ page= ¦ line= ¦ proposal updated
No response needed
Note on B1: These columns will be removed prior to sending to the Subcommittee and released at a later point in the process.
Note on C1: These columns will be removed prior to sending to the Subcommittee and released at a later point in the process.

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with negative comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee
No response needed | Comment does not require a response
Resolution categories
Term | Definition
Resolved | Response has been adjudicated (agreed and voted on)
Unresolved | Response has not been adjudicated (agreed and voted on)