## Slide 1: Survey Snippets: Calibration and Reference Materials for Cytometer Measurement “Standardization”
NIST-FDA Flow Cytometry Workshop: Building Measurement Assurance in Flow Cytometry

## Slide 2: Wide range of fluorescent parameter is used

## Slide 3: Several approaches to QC the flow cytometer
(w/o further calibration/characterization)
(w further calibration/characterization)

## Slide 4: No consensus approach for QC and performance characterization
(to NIST standards)
(to mfg assigned intensities)

## Slide 5: No consensus on how to perform cytometer compensation

## Slide 6: No consensus about the compatibility/comparability of results from flow

## Slide 7: Some efforts to perform inter-laboratory flow cytometry studies

## Slide 8: Discussion topics
Reference materials for 12 color flow (calibration/compensation)?
Comparability between instruments?
Reliance on MFG calibration?
What are home-built protocols/materials based on?