## Slide 1: General recommendations for flow users
Need to understand your sample/application (purpose of the measurement) before designing the measurement
Need to understand the instrument performance
  Move towards scaling fluorescence
  Also to consider instrument drifts
Need to understand instrument capability – quantitation come afterwards
Then consider biological variability

## Slide 2: Performance of instrumentation
Metric for instrument performance
Unit of each metric

## Slide 3: Fit-for-purpose
Clinical/ CLIA labs
Manufacturing cell therapy products
Pharma
R&D
academia
  What is important for a measurement
  Need educational and professional input
What are common threads?
What are differences?

## Slide 4: Reference materials
Role of beads vs cell-based reference materials
Beads – additional bead reference standards can be produced if there is demand
Efforts to develop cell-based reference standard
  NIST is building capability for cell measurement / certification
Leukemia/lymphoma controls (particularly for MRD)
Reference standards as calibrators – how to use them

## Slide 5: Different levels of standardization
Instrument standardization
  For one device
  Across device platforms/site/etc.
CLSI documentary standard (CLSI has multiple flow cytometry standards)
  Scope
  Applicability for cell and gene therapy community

## Slide 6: Flow measurement process
Importance of sample handling
Optimize signal to noise ratio
Understand the role of Controls – including biological controls, internal controls,
Methods to harmonization of instrumentation
Towards automated gating (advantages and limitations)
Quality of flow (analytical methods)

## Slide 7: What can we do now
For existing instruments
Calibrated beads –linearity, alignment, sensitivity, resolution of Dim population
For future instruments
Guidance of a list of critical parameters, would all manufactures agree to strive for the same goals
Clear understanding of Q, B, noise
New strategies – LED pulser (implementation and limitations)

## Slide 8: Automation - increase efficiency
Automated data analysis is coming, how do we have confidence
  Back to reagents
Volunteers to evaluate existing algorithms on controlled (in silico) data

## Slide 9: Gaps
Better process for standardization (with add on software tools)
Cellular reference materials (for quality monitoring)
  Need to understand their limitations
Gap from bench to bedside (reimbursement)
Dimensionality – bench requires >20 colors
Validation – uneven approaches
Resource and information gaps

## Slide 10: Opportunities (with BioFabUSA or NIIMBL funding) what they would like the manufacturing institutes to do. What would be the best way for them to support moving these efforts forward:
Reagents
Standard panel cocktails (cell therapies, diagnostics, etc)
Workshops??
Funding for round-robins??
others

## Slide 11: Keep calm and go with the flow It is the best of times, it is the worst of times It takes a village

## Slide 12: Morning discussion recap
Understand instrument performance
LED pulser photon measurement
Test systems
Multiple color standards
Then understand biological variability
Move from relative quantitation to absolute quantitation
Fit for purpose
  What do we do now
  Future
  CLIA problems