## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB Standard 153, First Edition 2023 Standard Practices for Proficiency Testing for Forensic Toxicology Laboratories and Breath Alcohol Programs
OSAC Unit | Forensic Toxicology
Unit Chair
Name: | Robert Johnson
Affiliation:
Unit Technical Contact
Name: | Robert Johnson
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date | 2024-03-19
Notes made by the QTG, if applicable: | reviewed, no comments by the QTG rep
Full Subcommittee Resolution Vote Outcome. | The vote was 19-0 to approve.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition
Not Applicable The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope.
No Response Needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it.
No Revision Required The comment lacks sufficient merit to warrant a change. | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required The comment reveals a problem that makes the standard unsuitable for the registry. | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Public Comment | Resolution/Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
PUBLIC COMMENTS
1 | Andrea Roth (LTG chair) | Split vote (majority of those responding would vote no; see below). LTG submitted consensus comments in May 2022 voicing 2 concerns: (1) The standard requires “proficiency testing,” but allows inter/intralab comparisons - which it notes aren’t necessarily proficiency testing - under certain circumstances; and (2) allowing testing only of the “most common matrix” (rather than samples representative of casework) doesn't ensure that tested personnel can validly apply the method(s) to all casework. On this second point we further commented that “We realize the group rejected the suggestion to make sure proficiency testing covers the full gamut of casework on feasibility grounds, but the fact that valid proficiency testing is currently difficult or unavailable doesn't mean the standard should allow for someone to be deemed proficient in casework based on the testing if it doesn't cover the full gamut.” The adjudication rejected comment (1) on grounds that ISO/IEC 17043 requires external proficiency testing where possible but allows inter/intralab as better than nothing. But the language is still contradictory as written (because it requires “proficiency testing” but then allows something that isn’t proficiency testing in certain circumstances). It should acknowledge that the requirement of “proficiency testing” in general is not absolute as written. The adjudication rejected (2) on grounds that, “[f]or a minimum standard, the language is appropriate as written. A laboratory can choose to exceed the minimum standard.The commenter is reminded that proficiency testing alone is not the only way to assess the competency of the laboratory or its personnel. Method validation (ANSI/ASB 036), quality control (ANSI/ASB 054), and training and competency assessment (ASB 173) also play a key role. Proficiency testing is only one component of a quality management system.” But the point is that no lab should be deemed to have undergone proficiency testing if that testing doesn’t ensure the personnel can handle the actual casework they will face; this should be the minimum standard. Several LTG members deem issue #2 significant enough that they can’t support the standard; two LTG members would instead vote “yes,” on grounds that external PT isn’t always feasible (to be clear, those voting ‘no’ aren’t suggesting that external PT need always be required; only that it be representative of the spectrum of casework and that if PT is to be required, then inter/intralab comparisons should either be described as PT or the absolute requirement for PT should have a caveat). | No revision required for registry approval | Regarding the first comment that the standard requires “proficiency testing,” but allows for both inter and intralab comparisons: This was included to allow laboratories to create internal tests for situations of unique scenarios, methods, matrices and/or drugs that they want to test their laboratory’s performance on, as an external interlaboratory comparison test may not be available for every scenario. Regarding the second comment that allowing testing only of the “most common matrix” doesn't ensure that tested personnel can validly apply the method(s) to all casework: the standard requires proficiency testing of the most common matrix, because in practice, laboratories typically test one matrix in most cases. Antemortem laboratories typically test blood or urine most of the time, while postmortem laboratories typically test blood, while also testing other specimens, e.g., e.g., vitreous humor, gastric contents, liver, spleen, lung, kidney, brain, bile, spinal fluid. If a laboratory can demonstrate continued proficiency following its methods on at least one matrix, and uses good quality control in analysis of other matrices, it has increased confidence in all of its testing. Additionally, the standard requires that testing challenges the scope and sensitivity of testing found in ANSI/ASB Standards 119, 120, 121. These standards identify a minimum of 82, 33 and 42 analytes, respectively to be covered in postmortem, driving under the influence and drug-facilitated assault testing. Additionally, each standard identifies the sensitivity needed to achieve in the specific testing in one specific matrix type.
2 | Adele Quigley-McBride | On behalf of the OSAC Human Factors Task Group: Yes | No response needed
3 | Ann Meadows | Yes | No response needed
4 | MARIA LUISA LUISA SORIA | YES. This is relevant to a common theme of all forensic laboratories, in order to carry out the requirements´ ISO 17025 (7.7 Ensuring the validity of results 7.7.2) | No response needed