## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ASTM E2809−22, Standard Guide for Using Scanning Electron Microscopy/Energy Dispersive X-Ray Spectroscopy (SEM/EDS) in Forensic Polymer Examinations
OSAC Unit | Trace Materials
Unit Chair
Name: | Diana Wright
Affiliation:
Unit Technical Contact
Name: | Jeremiah Morris
Affiliation:
Begin Comment Period | 2022-06-07
End Comment Period | 2022-07-05
Resolution Vote Outcome: | None taken since there were no Negatives to adjudicate. SC reviewed responses during in person meeting in June.
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Pate Skene | Yes. This standard is generally well-written and provides clear guidance. Nonetheless, the Human Factors Task Group notice some specific issues for consideration: COMMENT 1: This standard directs the analyst to record whether the sample being analyzed is a known or questioned item (sec 5.2.1.1), but it does not explicitly say that a questioned sample should be analyzed prior to a potentially related known sample. If feasible, such a practice can help guard against the data/features from the known sample unconsciously influencing the interpretation of the questioned sample. The subcommittee may want to consider whether to add a statement to this effect, either in this or a future version, and/or in related standards (perhaps something like: “As practicable, the questioned spectrum should be evaluated before being compared to a reference spectrum”) | No Revision Required for Registry Approval | This suggestion will be considered in future revisions of the document.
1 | Pate Skene | COMMENT 2: Two typographic/editing errors should be fixed when possible - Section 5.3, second sentence needs to be fixed Section 6.2.6.3, first sentence needs to be edited (likely by deleting “should be selected”) | No Revision Required for Registry Approval | The editorial corrections suggested will be provided to ASTM.
1 | Pate Skene | COMMENT 3: Suggested Language: 7.4.4.1/ 7.4.42: Consider providing details to determine when a difference is exclusionary (i.e., specific criteria to guide the examiners making the interpretation to reach an exclusionary difference). At minimum, consider adding references to other standards/ documents that explicitly state the criteria in reaching exclusionary differences within the field (if they exist). Also, in the standard, as currently written, when a difference that might appear exclusionary exists, many reasons for not calling an exclusion are provided. Moreover, no attention is given to putting probabilities on the likelihood of an exclusion. The “standard” appears to be an invitation to subjectivity and bias. Rationale: Standard lacks guidance on how users are to determine an exclusionary difference. Without specific criteria, this might mean that it is up to the examiner to decide what to consider and what not to consider when making an exclusionary difference determination/conclusion. Hence, the assessment would be subjective. If such criteria exist in another standard, then it would be very useful to quote those documents in sections 7.4.4.1/ 7.4.42. | No Revision Required | The guide does not specify a single method to be used for spectral comparison – whether visual evaluation by spectral overlay or statistical evaluation. The specific method chosen is up to individual forensic service providers. Regarding spectral overlay, section 7.4.2.1 does list features which should be considered (“the presence or absence of peaks, peak shapes, and relative intensities”). Providing specific details on when a difference is exclusionary (as described in section 7.4.4.1) or not exclusionary (as described in section 7.4.4.2) is addressed during training (see E3233 and E3234) and during method validation which would be performed by individual forensic service providers.
1 | Pate Skene | COMMENT 4: Suggested language Consider adding ‘contemporaneous’ in: “8.2 Case notes should be [contemporaneous and] sufficient to allow an independent analyst to understand and evaluate all the work performed, independently analyze and interpret the data, and draw conclusions” Rationale: Case notes should not only be sufficient, but they should be written during/around the time of analysis. Retrospective recollection (based not memory) may not be accurate to reflect what was done during the analysis. It might be the case taking contemporaneous notes is being done in practice, or that it is implicitly mentioned in this guide somewhere else. However, there should be an explicit mention of this aspect, particularly that it pertinent to ISO 17025 requirements. See, for instance: “16.2.3 Whenever practicable, technical records shall be produced contemporaneously. The practitioner shall normally begin making records from the time instructions are received and shall continue making records throughout their involvement in the case, although, in some circumstances, it may be appropriate to start making records prior to any formal instructions from the customer.” Reference: UK Forensic Science Regulator (2020) Codes of Practice and Conduct for forensic science providers and practitioners in the Criminal Justice System, FSR-C-100, Issue 5, accessed at: https://assets.publishing.service.gov.uk/government/ | No Revision Required for Registry Approval | The recommendation to add "contemporaneous" to section 8.2 can be considered in future revisions of the document and can be covered in training. Additionally, avoiding the reliance on memory for data analysis is not really applicable to SEM-EDS examinations.
2 | Noriko Kawamura | Yes | No response needed.