## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ASTM E3296-22 Standard Guide for Using Pyrolysis Gas Chromatography and Pyrolysis Gas Chromatography-Mass Spectrometry in Forensic Polymer Examinations
OSAC Unit | Trace Materials
Unit Chair
Name: | Diana Wright
Affiliation:
Unit Technical Contact
Name: | Jeremiah Morris
Affiliation:
Begin Comment Period | 2022-04-05
End Comment Period | 2022-05-03
Resolution Vote Outcome: | 6/16/2022, 26 yes, 0 no, 4 abstentions (absent voters).
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Andrea Roth | No (LTG). Whatever the label given a standard, a standard that describes a method for reaching and interpreting results should contain information on the accuracy & reliability of the method. This Standard Guide describes several things that can be done, but it does not always explicate the essential steps and does not provide information on the accuracy of the final result that it calls for (the determination of whether an exclusionary difference is present). It gives no information on statistical procedures that might be used to assist in or arrive at this determination. To the extent it relies instead on skill, training, & experience at making judgments from “spectral overlays” or the like, it does not discuss what is known (or not known) about the accuracy and reliability of those judgments. The Guide assumes that “for comparison purposes, the goal is to determine whether any exclusionary differences exist ...” (§4.3). For it to meet ASTM’s goal of “increas[ing] the awareness of information and approaches in a given subject area,” it should acknowledge that an alternative to the determination of “exclusionary differences” is potentially available. E.g., Analytical Methods Committee, 2012, Bayesian statistics in action, AMCTB No 52, Anal. Chemistry, DOI: 10.1039/c2ay90023h. Although this Guide need not cover the use of a Bayes factor instead of exclusionary differences, the scope section should note this limitation in the information that the Guide provides. | Not applicable. "Exclusionary differences" is a term, not a methodology to evaluate data. The term acknowledges that statistical approaches can be used, but defining which to use is beyond the scope of this document. Discussions on the accuracy and reliability of specific methods of data analysis and comparison, whether spectral overlay or statistical approaches, is outside the scope of this document. This information is found in additional references and is addressed during training (e.g., E3233 and E3234) and during the method validation which would be performed by individual forensic service providers.
2 | Michelle Mercer | Yes. Editorial comment - SWGMAT website listed is not accessible. "Available from Scientific Working Group for Materials Analysis (SWGMAT), http://swgmat.org." The correct address to access SWGMAT documents is https://www.asteetrace.org/swgmat | No revision needed. This can be addressed in a future revision of the document.
3 | Pate Skene | NO (HFTG) The HFTG has reviewed and discussed the proposed “Standard Guide for Using Pyrolysis Gas Chromatography and Pyrolysis Gas Chromatography-Mass Spectrometry in Forensic Polymer Examinations.” We concur with the detailed comments submitted by the Legal Task Group, and add these additional remarks: The comments below reflect a consensus of the Human Factors Task Group (HFTG). This standard is one of the first, if not the first, “exclusionary difference” (ED) standard to be up for registry approval. The proposed standard, however, gives no information on statistical procedures that might be used to assist in or arrive at the ED determination. To the extent that it relies instead on skill, training, and experience at making judgments from spectral overlays or the like, it does not discuss what is known (or not known) about the accuracy and reliability of those judgments. This is not an appropriate scientific basis for OSAC standards addressing exclusionary differences. The HFTG endorses detailed comments offered by the Legal Task Group. In addition, HFTG suggests two additional revisions: 1. Linear sequential unmasking is a relatively easy/practical approach that aims to minimize potential cognitive biases from exposure to reference samples (1,2). Such an approach is recommended for feature-based comparisons, like comparing pyrograms. Dror, I. E., Thompson, W. C., Meissner, C. A., Kornfield, I., Krane, D., Saks, M., & Risinger, M. (2015). Letter to the editor-Context management toolbox: A linear sequential unmasking (LSU) approach for minimizing cognitive bias in forensic decision making. Journal of Forensic Sciences, 60(4), 1111–1112. https://doi.org/10.1111/1556-4029.12805 Quigley-McBride, A., Dror, I. E., Roy, T., Garrett, B. L., & Kukucka, J. (2022). A practical tool for information management in forensic decisions: Using Linear Sequential Unmasking-Expanded (LSU-E) in casework. Forensic Science International: Synergy, 4, 100216. https://doi.org/10.1016/j.fsisyn.2022.100216 2. Section 8.2: “Case notes should be [contemporaneous and] sufficient to allow an independent analyst to understand and evaluate all the work performed, independently analyze and interpret the data, and draw conclusions.” Notes should should be written during/around the time of analysis. Retrospective recollection (based not memory) may not be accurate to reflect what was done during the analysis. | Not applicable. In addition to the response above to comments from the LTG, the term "exclusionary difference" is contained within multiple documents which are already on the OSAC Registry (e.g., E2808, E3260). Regarding the discussion about Linear Sequential Unmasking (LSU), the document as written does not preclude this approach to data collection and analysis. This document serves as a guide for best practices and the application of LSU is a training issue to be addressed by individual forensic service providers. The recommendation to add "contemporaneous" to section 8.2 can be considered in future revisions of the document and can be covered in training. Additionally, avoiding the reliance on memory for data analysis is not really applicable to pyGC and pyGC/MS examinations.
The comments below reflect a consensus of the Human Factors Task Group (HFTG).
This standard is one of the first, if not the first, “exclusionary difference” (ED) standard to be up for registry approval. The proposed standard, however, gives no information on statistical procedures that might be used to assist in or arrive at the ED determination. To the extent that it relies instead on skill, training, and experience at making judgments from spectral overlays or the like, it does not discuss what is known (or not known) about the accuracy and reliability of those judgments. This is not an appropriate scientific basis for OSAC standards addressing exclusionary differences.
The HFTG endorses detailed comments offered by the Legal Task Group. In addition, HFTG suggests two additional revisions:
1. Linear sequential unmasking is a relatively easy/practical approach that aims to minimize potential cognitive biases from exposure to reference samples (1,2). Such an approach is recommended for feature-based comparisons, like comparing pyrograms.
Dror, I. E., Thompson, W. C., Meissner, C. A., Kornfield, I., Krane, D., Saks, M., & Risinger, M. (2015). Letter to the editor-Context management toolbox: A linear sequential unmasking (LSU) approach for minimizing cognitive bias in forensic decision making. Journal of Forensic Sciences, 60(4), 1111–1112. https://doi.org/10.1111/1556-4029.12805
Quigley-McBride, A., Dror, I. E., Roy, T., Garrett, B. L., & Kukucka, J. (2022). A practical tool for information management in forensic decisions: Using Linear Sequential Unmasking-Expanded (LSU-E) in casework. Forensic Science International: Synergy, 4, 100216. https://doi.org/10.1016/j.fsisyn.2022.100216
2. Section 8.2: “Case notes should be [contemporaneous and] sufficient to allow an independent analyst to understand and evaluate all the work performed, independently analyze and interpret the data, and draw conclusions.” Notes should should be written during/around the time of analysis. Retrospective recollection (based not memory) may not be accurate to reflect what was done during the analysis.