## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB 054-21 Standard for a Quality Control Program in Forensic Toxicology Laboratories
OSAC Unit | Forensic Toxicology
Unit Chair
Name: | Robert Johnson
Affiliation:
Unit Technical Contact
Name: | Robert Johnson
Affiliation:
Begin Comment Period | 2022-02-01
End Comment Period | 2022-02-28
Resolution Vote Outcome: | Approved by Subcommittee (electronic ballot closed 5/12/2022). 15 Yes, 0 No, 0 Abstain
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Email of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Andrea Roth |  | Some LTG members urged ‘no’ on this standard, for the following reasons related to lack of specificity: Section 5.2.4 offers no specific guidance as to when, and why, an examiner would continue with an identification even with non-ideal materials (e.g. tablets), and how they would be “appropriately characterized.” Sections 5.3.2 & 5.3.3 offer a non-exhaustive list of techniques; how is it possible that there is not a closed universe of acceptable techniques, or some standard that any chosen technique must meet? The end of Section 5.3 suggests there is no minimum retention requirement for labs. Section 6.2 offers no standard for what is ‘appropriate’ storage or to what standard storage conditions ‘shall be established.’ | No Revision Required | Appropriate characterization mentioned in section 5.2.4 is addressed in sections 5.3.2 and 5.3.3. The techniques listed in section 5.3.2 and 5.3.3 are the most common available to be used by this field for the purpose of structural elucidation and purity determination.
2 | Abbegayle Dodds |  | Yes | No Response Needed
3 | Carla Turner |  | No In regards to 7.4 Historical Calibrations, the requirement to perform new calibrations with the preparation of new internal standard solutions: The use of HS-GC-FID instrumentation for quantitative alcohol testing, specifically, is extremely robust thus allowing for the use of historical curves. Although quantitative results vary slightly with batches of internal standard, performing a new calibration in these circumstances is not necessary if the following alternative criteria are met. 1. There are defined criteria for evaluation of new batches of internal standard with the existing calibration curve prior to use. AND 2. Reported uncertainty estimates include the contribution of small variations between internal standard batches. Our internal standard solutions last one month, and we perform alcohol calibrations annually. If we had to repeat the process monthly, our laboratory which analyzes approximately 5000 alcohol specimens per month and any other high throughput laboratory would effectively be brought to a screeching halt. | No Revision Required | This criteria is a minimum requirement for use of an historical calibration method.
4 | Elizabeth Fisher |  | NO 5.2.1: unnecessary to run blank matrix through every type of extraction procedure if it is screened with a comprehensive method that is more sensitive (lower LOI) than all other procedures. will be an unnecessary burden on labs with many different procedures. | No Revision Required | The standard allows for concurrent evaluation of the blank matrix and the blank matrix must be evaluated not only for target analytes but also interferences which are method and instrument specific.
5 | Jon Stephenson |  | No. 7.5 and 8.3.3 Setting a hard requirement of 20% for controls and calibrators offers a competitive advantage to laboratories with large budgets such as private and federal laboratories. A requirement limit should be up to the laboratory based upon the needs of the customer. There may be drugs that need stricter limits due to legal statutes, but that again should be determined by each laboratory. Currently set limits require use of deuterated internal standards for all analytes, which is not practical for most laboratory budgets. 7.4 Limits are set on the use of historical calibrations, include having to recalibrate when a new internal standard is generated. This assumes that a laboratory cannot make the internal standard at the same concentration. This requirement should be updated to say that it can be used as long as the preparation of the internal standard is included in the uncertainty budget. This again would increase the costs of laboratories unduly not only in materials but in labor. OSAC standards should be minimum requirements, meaning that there is potential to exceed those requirements and not overly prohibitive upon laboratory funding. Laboratories cannot adopt standards they cannot afford to meet. | No Revision Required | For 7.5 and 8.3.3- This criteria is consistent with Standard 036, Section 8.2- Minimum Standard for Method Validation. The requirements for calibrator and control acceptance should be achievable without stable isotope internal standard. For 7.4- This criteria is a minimum requirement for use of an historical calibration method.