## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB 062-21 Standard for Topography Comparison Software for Toolmark Analysis
OSAC Unit | Firearms and Toolmarks
Unit Chair
Name: | Erica Lawton
Affiliation:
Unit Technical Contact
Name: | Zachary Carr
Affiliation:
Begin Comment Period | 2021-12-07
End Comment Period | 2022-01-04
Resolution Vote Outcome: | Reviewed by SC QTG rep; 14 YES, 1 NO. NO COMMENT: Does not seek to resolve or anticipate resolving any LTG comments or suggestions.
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Andrea Roth, OSAC LTG Chair | ASB 062-21 VOTE: NO (Andrea Roth, Julia Leighton, Jennifer Friedman, Kate Philpott, Todd Edelman, Maneka Sinha, Emily Prokesch, John Ellis, Colette Tvedt, Barry Scheck) COMMENT: This standard, like ASB-063–and in contrast to ASB-061–provides very little guidance as to what is required of a deployment validation study, other than the same generic four-part plan (4.3.2 and 4.3.3.2). | No Revision Required | We appreciate the guidance expressed in this comment and we have drafted a standard that seeks to strike a balance between providing appropriate guiderails without being overly prescriptive.
2 | Andrea Roth, OSAC LTG Chair | 4.3.3.1 provides a little more detail about what is required of developmental validation, but fails to highlight the importance of pushing the system until it fails, i.e. including challenging samples that will help the developer (and ultimately the end user) define the conditions under which performance breaks down. Indeed, there is no mention of the importance of including challenging samples (e.g. damaged, poorly marked, consecutively manufactured, etc) in either the standard or the annex, which includes a sample validation plan. | No Revision Required | 4.3.3.1 already specifies that studies should be robust and should specify in which situations results are applicable. Validations should demonstrate that it is fit for the intended purpose (makes/models/caliber/types/etc. of toolmarks) and future versions of this document may consider additional clarification of this topic as more laboratories implement these techniques. We appreciate the guidance expressed in this comment and we have drafted a standard that seeks to strike a balance between providing appropriate guiderails without being overly prescriptive. Section 4.3.3.1 does warn against overfitting, and specifies that the samples used in validation should be similar to casework. The documents also stress the importance of establishing the limitation of a procedure and the conditions under which reliable results can be obtained, critical aspect of the procedure, and the ability of the procedure to meet the needs of the application. This is similar, and perhaps more prescriptive than wording found in other similar standards, such as SWGDAM's validation of DNA analysis methods. The document states that, "The larger and more inclusive the validation set, the stronger the validation result"
3 | Andrea Roth, OSAC LTG Chair | In addition, this standard should make it clear that the failure to include challenging samples should be reported as a limitation of the validation. | No Revision Required | The documents do state that limitations should be described. Limitations will be specific to the intended purpose of the validation.
4 | Andrea Roth, OSAC LTG Chair | It is problematic that, given Category 1 software is not statistically validated, examiners utilizing this type of software may still “describe the frequency of seeing [a particular score] in their experience.” (4.2.3.3) | No Revision Required | The standard is clear that any opinions of frequency in this situation will have no statistical confidence established. "If asked about the significance of this statement for software at Category 1, the only acceptable response shall be that there is no statistical confidence established for any results for a non-statistically validated scoring function."
5 | Andrea Roth, OSAC LTG Chair | It is unclear how scores from casework samples, where ground truth is not known, provides a meaningful backdrop to the score in a particular case; it is also unclear how anyone could challenge such a representation. Are examiners going to routinely provide full case files from other cases as part of discovery? | No Revision Required | The documents do not prescribe the use of casework samples where the ground truth is unknown. Ground truth must be known in validation studies. Test fires may be obtained from casework firearms where the ground truth is known.
6 | Andrea Roth, OSAC LTG Chair | It is even more concerning because the examiner is not required to report “that there is no statistical confidence established” for these results unless they are expressly asked about the significance of their frequency statement. This impermissibly shifts the burden to attorneys, who are often not savvy about science/statistics. Testimony about the limitations of ranking/scoring statements should be a required part of any testimony where a rank or score is included. | No Revision Required | These documents are not meant to provide guidance to attorneys on how to question expert witnesses.
7 | Andrea Roth, OSAC LTG Chair | There are a number of statistical concepts that are confusingly/ambiguously covered in this standard, and could use more clarity. For example, “false positive rate” is defined as “the number (or percentage) or known non-matches which are incorrectly determined to be an identification”. (3.4) Developmental validation has to include “false positive rate”, presumably as the standard defines it (4.3.3.1). However, the software generates similarity scores, not “identifications”, so it’s unclear how these two concepts connect up. | No Revision Required | The statistical terms are defined in terms and definitions section of the document consistent with established statistical usage.
8 | Andrea Roth, OSAC LTG Chair | The standard permits the examiner to present statements such as “At a threshold of X, the false match probability is Y”. (4.2.4.2) Is the “threshold of X” expected to be an identification threshold? It’s currently unclear how a threshold value relates to the false positive rate and positive predictive value (3.9), both of which are linked to a binary framework (matches/non-matches). Relatedly, this standard states that scoring functions may be used to provide a statistical assessment regarding common origin or weight of evidence, but it’s not clear how these different statistical measures – all of which are described in the document in binary terms – can be used in a probabilistic framework. | No Revision Required | A threshold used during validation to establish the positive predictive value, false positive rate, etc. does not have to be used in casework. This standard does not and is not intended to force a binary decision. Depending on the software or model used, a threshold may or may not be used to result in a binary decision. Even when not reaching a binary decision, a score can be used to establish the weight of evidence using various methods (Positive predictive value or false positive rate).