## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB 063-21 Implementation of 3D Technologies in Forensic Firearm and Toolmark Comparison Laboratories
OSAC Unit
Unit Chair
Name: | Erica Lawton
Affiliation:
Unit Technical Contact
Name: | Zachary Carr
Affiliation:
Begin Comment Period | 2021-12-07
End Comment Period | 2022-01-04
Resolution Vote Outcome: | Reviewed by SC QTG rep; 14 YES, 1 NO. NO COMMENT: Does not seek to resolve or anticipate resolving any LTG comments or suggestions.
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Andrea Roth, OSAC LTG Chair | ASB 063-21 VOTE: NO (Andrea Roth, Julia Leighton, Jennifer Friedman, Kate Philpott, Todd Edelman, Maneka Sinha, Emily Prokesch, John Ellis, Colette Tvedt, Barry Scheck)
2 | Andrea Roth, OSAC LTG Chair | COMMENT: We have a number of concerns with this standard. Unlike ASB-061, which requires that deployment validation and performance checks for 3D instrumentation be documented and that documentation retained (in boldface), this document doesn’t have as clear a mandate. It is unclear whether the standard mandates documentation (and retention) of methods as well as all data collected and conclusions. This would be easy enough to fix. To facilitate transparency and fulsome independent review, deployment validation and performance checks must be fully documented (methods/data/conclusions), and that data must be retained and made available upon request. | No Revision Required | The current document does describe documentation and making it available upon request. The standard as written states that, "validation shall be a planned and documented activity". The extent of documentation will be specific to the laboratory and the validation.We have drafted a standard that seeks to strike a balance between providing appropriate guide rails without being overly prescriptive. The standard at 4.1.3.5 states, "In all cases, the data from a development validation study shall be made available upon request."
3 | Andrea Roth, OSAC LTG Chair | Moreover, the standard provides very little guidance as to what is required of either a developmental or deployment validation study, other than the same generic four-part plan (4.1.2.4 and 4.2.2.2). | No Revision Required | We appreciate the guidance expressed in this comment. Studies should be specifically designed for the intended purpose. This standard states that the validation should reflect the range of toolmark types expected to be seen in casework and should reflect the activity being validated. It is not possible for the document to spell out every scenario. Standard 062 also provides further guidance for validations (4.3.3.1).
4 | Andrea Roth, OSAC LTG Chair | In lieu of specificity with regard to validation requirements, the standard includes a requirement that both developmental and deployment validation be evaluated by a technical reviewer (4.1.3.1 and 4.2.3.2). We applaud the technical reviewer requirement, but find it concerning that there are no specific requirements as to who qualifies as a technical reviewer other than “an individual with the knowledge/expertise to conduct the technical review”. At very least the standard must articulate what knowledge/expertise the technical reviewer must have, such as study design and statistics. Otherwise, the technical reviewer requirement risks becoming an end-run around the lack of specificity about study design in this document. | No Revision Required | This standard places responsibility onto the forensic science service provider (FSSP) to select the most appropriate technical reviewer based on the specifics of the validation. The quality of the validation is related to the quality of those conducting the validation and the study design. Appropriate expertise is application specific. Based on ISO 17025 the onus is on the management to determine suitable qualifications for laboratory work. Therefore, the management determines appropriate knowledge and expertise. The strength of a validation is affected by several factors, these include scale/scope as well as who conducts the validation. The documents state that validation shall be peer reviewed and publicly available which means that one or more peers would provide an independent check. The document states that validation must be performed by someone with appropriate knowledge or expertise. Laboratory personnel are self-motivated to find someone appropriate.
5 | Andrea Roth, OSAC LTG Chair | Similarly, what constitutes “technically-qualified” under 4.1.3.6 (conflict resolution) should be articulated. | No Revision Required | See previous response which is based on international standards for testing laboratories.
6 | Andrea Roth, OSAC LTG Chair | Further, this standard requires peer review of foundational literature and developmental validation studies, which we appreciate, but includes no other requirements to ensure FSSPs rely on quality literature. We would recommend that the standard incorporate the criteria articulated in the National Commission on Forensic Science’s “Scientific Literature in Support of Forensic Science and Practice” (https://www.justice.gov/archives/ncfs/file/786591/download), or at very least cite to the NCFS document. | No Revision Required | The strength of the validation relies upon the literature reviewed. There is no agreed upon metric for what constitutes "acceptable" literature. Std 063 states that the literature should be peer-reviewed. The quality of the validation is related to the quality of cited references. Labs are self motivated to create the strongest validation study.
7 | Andrea Roth, OSAC LTG Chair | It is unclear what “peer review” of a presentation at a scientific meeting entails (does this refer to review of abstracts by conference planners, or “review” by the audience, who are likely being presented a small amount of carefully selected data, or something else); this is problematic. | No Revision Required | Scientific meeting presentations are a method of disseminating findings, and are used in all branches of research. Peer reviewed journal publications are excellent resources. Emerging technologies are often first presented in peer-reviewed conference presentations. Inclusion of meetings/conferences allows for another method of dissemination of findings. Works presented at research and training conferences often subsequently end up in peer-reviewed journals.