## Document Information
OSAC Registry Approval (Legacy) 1.5, Comment Adjudication Response Template
Document Title | ANSI/ASB Standard 077, First Edition 2020, Standard for the Developmental and Internal Validation of Forensic Serological Methods
Requesting Unit | Human Forensic Biology
Unit Chair |  | Unit Technical Contact
Name: | Beth Ordeman | Name: | Christie Smith
Affiliation: |  | Affiliation
Beginning Comment Period Date | 2021-02-02
End Comment Period Date | 2021-03-02
Comment Adjudication Meeting Dates
# of Members Present
Resolution Date and Vote Outcome | Yes: 23 Abstain: 1 Absent: 6
Note: This template is intended for use by all Units considering a new document for addition into OSAC Registry

## Comment Adjudication
# | Person | Section | Editorial or Technical | Attached File | Comment/Proposals | Response | Reason | Resolution | Response -- From Christie | Stacy - Recommended change | SM comment
1 | Andrea Roth |  | Technical |  | Foreword This standard provides requirements for the validation of methods that will be used to evaluate body fluids, stains, or residues related to forensic investigations. A validation should include characterization of the test procedure, limitations of the method, and the identification and documentation of influences that may change performance. In this document the industry standard definition for serology as it relates to forensic science is used instead of the traditional scientific definition.Comment (DK): "Limitations" are not validation, but ascertaining limitations on a method’s validity can be part of a validation study. If that is what is meant, why is it here? Section 3 defines "characterization" to include "limitations," and "characterization" is already in the list. Revise to "validation must include ascertaining the operating characteristics of the test method, its limitations, and factors that affect its performance." | will delete the forward and bring format to new OSAC formatting | OSAC formatting has changed | Persuasive - review required | Delete entire forward; edit to newest OSAC formatting (add Disclaimer)
2 | Andrea Roth |  | Technical |  | Foreward cont...Comment (DK): Regarding “industry standard definition,” what industry is this? Where is that definition found? There is only a SWGDAM document in the bibliography. Is it the standard for the "industry"? | "industry standard" comment: I don't see this in the document |  | Not persuasive | No change as "industry standard" is not in the document
3 | Andrea Roth |  | Technical |  | 3.2 confirmatory test A test that is specific for the presence of a body fluid, stain, or residue of interest, and reduces or eliminates false positive results. Comment (DK/JL/JF/AR/JG): Specificity is not all or nothing; a confirmatory test is more specific than a presumptive one, but it need not have a specificity of 1. The standard as written suggests a confirmatory test can have a zero error rate (by “eliminating” false positives). | Changed to match the one in the lexicon. The lexicon references SWGDAM definition (SWGDAM Guidelines for the Collection and Serological Examination of Biological Evidence. Scientific Working Group on DNA Analysis Methods, 2014). | will edit to lexicon definition | Persuasive - review required | Changed to match the one in the lexicon. The lexicon references SWGDAM definition (SWGDAM Guidelines for the Collection and Serological Examination of Biological Evidence. Scientific Working Group on DNA Analysis Methods, 2014). | A test that is specific for a biological material or substance of interest and that is used for the conclusive identification of a biological fluid; this usually refers to a serological or microscopic test for detection of a particular biological fluid (e.g., blood or semen). | I think the original definition was a modification of this one. It should match. Easily defensible.
4 | Andrea Roth |  | Technical |  | 3.3 contamination The unintentional introduction of exogenous materials or substances into a test sample. Comment (DK/JF/JL/AR/JG): Delete “unintentional” or otherwise make clear that contamination can be intentional as well. | contamination: check the lexicon definition and maybe our latest sero document defintion | No change b/c defintion used is one in the lexicon so it will stay | Not persuasive | contamination: check the lexicon definition and maybe our latest sero document defintion. Updated comment: it is in lexicon so no change
5 | Andrea Roth |  | Technical |  | 3.7 developmental validation The acquisition of test data and determination of conditions and limitations of a new methodology; this generally occurs while the conditions and parameters are being worked out prior to the establishment of a defined assay, procedure or product. Internal validation studies follow developmental validation studies. Comment (DK/JL/AR/JG): The definition as currently written describes a validation test rather than validation. Validation occurs when the test is successful-- not when data (indicating a lack of validity) have been acquired (or as the definition of "internal validation" puts it, "accumulated." (This issue arose in ASB 038, Internal validation of DNA methods, as well). | developmental validation: check lexicon definition; does it match what is here? | No change b/c defintion used is one in the lexicon so it will stay | Not persuasive | developmental validation: check lexicon definition; does it match what is here? Updated comment: it is in lexicon so no change
6 | Andrea Roth |  | Technical |  | 3.9 internal validation The accumulation of test data within the laboratory for developing the laboratory standard operating procedures and determining the limits of the method(s). Internal validation demonstrates that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory. Comment (DK/AR): The definition as written describes a validation test rather than validation. Validation occurs when the test is successful-- not when data (indicating a lack of validity) have been accumulated. (We suggest changing to “the accumulation of data that show how the method performed and that it performs successfully for its stated purpose”). | not exact definition from lexicon. Since other edits are going to be made, we will edit this to: "In general, the accumulation of test data within the laboratory for developing the laboratory standard operating procedures and demonstrating that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory." | Edit to:In general, the accumulation of test data within the laboratory for developing the laboratory standard operating procedures and demonstrating that the established protocols for the technical steps of the test and for data interpretation perform as expected in the laboratory | Not persuasive | internal validation: check lexicon defnition and maybe our latest sero document definition
7 | Andrea Roth |  | Technical |  | 3.14 population studies Experiments performed to determine the effectiveness and utility of the test with representative samples from the population. Comment (DK): "Population studies" normally refers to studies of characteristics of a population (such as the relative frequencies of serotypes in a population). What is "the population" here? | population studies: delete since this is a sero document? It appears in the doc 1 time under dev. Validation requirement so if we delete definition, then how do we address it in the dev. Validation section other than just deleting it but is that ok? updated comment: delete both instances of Population studies within the doc | this is a sero doc, not population studies are N/A: delete within this doc | Persuasive - review required | population studies: delete since this is a sero document? It appears in the doc 1 time under dev. Validation requirement so if we delete definition, then how do we address it in the dev. Validation section other than just deleting it but is that ok?
8 | Andrea Roth |  | Technical |  | 3.15 presumptive test A screening test which may be positive in the presence of a biological material of interest. Some presumptive tests are sensitive but not specific. A positive result indicates that further testing could be informative. Comment (DK/JL/JF/AR/JG): This definition does not clearly distinguish presumptive from confirmatory tests. Both "may be positive in the presence of a biological material." According to the definition, both can be sensitive and specific." Unless a test of any kind has perfect sensitivity and specificity, "further testing could be informative." | Accept. Statement revised to read "A screening test that indicates the presence of a material of interest although the test result does not constitute the identification of that material. A negative presumptive test indicates that the material of interest was not detected; it is not confirmation of its absence." | Changed to match definition in the lexicon. | Persuasive - review required | Changed to match the one in the lexicon. | A screening test that indicates the presence of a material of interest although the test result does not constitute the identification of that material. A negative presumptive test indicates that the material of interest was not detected; it is not confirmation of its absence. | Original definition was from the SWGDAM Guildelines for Collection & Serological Examination of Biological Evidence.
9 | Andrea Roth |  | Technical |  | 3.18 robustness studies Experiments performed to measure the capability of a procedure to remain unaffected by small but deliberate variations in method parameters and provide an indication of reliability during normal usage. Comment (DK/JF/AR/JL/JG): Method parameters should be defined in the terminology section. Also, the standard must make clear what is meant by “reliability,” and what is an indication of reliability.Robustness studies are experiments that measure the capability of procedures to produce the expected results despite variations in method parameters consistent with variations during normal usage. | None. | Original definition is a modification of the definition of robustness provided in the lexicon. | Not persuasive | Definition is a modification of the definition of robustness provided in the lexicon. | None | Original definition is a modification of the definition of robustness provided in the lexicon.
10 | Andrea Roth |  | Technical |  | 4.1.1 The laboratory shall use validated methods for all presumptive and confirmatory tests. Developmental and internal validation shall precede the implementation of any new methods used for forensic serological analysis. Comment (DK): "Validated method" has not been defined. Only the procedure for studying validity has been defined. | Statement revised to read "The laboratory shall use validated procedures for performing forensic serological analysis of evidence. Developmental and internal validation shall precede the implementation of any new methods used in testing." | Agreed. Validated method not defined in document. | Persuasive - review required | Revised standard for clarity. | The laboratory shall use validated procedures for performing forensic serological analysis of evidence. Developmental and internal validation shall precede the implementation of any new methods used in testing. | This original language was a modification of the language used in previous version of the QAS.
11 | Andrea Roth |  | Technical |  | 4.1.2 The laboratory shall use different samples for developmental validation studies and internal validation studies. Comment (DK): Why can't "developmental validation" be done at a different laboratory? | Statement revised to read "Developmental and internal validation studies shall be conducted using different samples." | Agreed. | Persuasive - review required | Agreed. Statement revised. | Developmental and internal validation studies shall be conducted using different samples. | Maybe just take out the part that says "The laboratory shall". The intent is that when a laboratory decides to develop a new method in house, it must use different samples for the developmental and internal validations. This does not preclude a different laboratory from performing the validation. See conformance section. It states that the developmental validation can be internal, external, or documented in peer reviewed literature
12 | Andrea Roth |  | Technical |  | 4.1.3 The technical designee shall determine the number, types and range of sample types to be used in each of the validation studies to ensure the generation of sufficient data to validate the method. Comment (AR/JF/JL/JG): Make clear that these types need to be not only sufficient in number but sufficient in quality (realistic based on type of casework the method might be applied to). | No changes made. | Further clafication of studies needing to be performed in provided elsewhere in the standard. Mock case samples is in the list for validation requirement. | Not persuasive | 4.1.3: look at our sero doc and edit this to our language? "sufficient' is vague…edit this? Updated comments: not in sero doc | No recommended change.
13 | Andrea Roth |  | Technical |  | 4.1.4 The internal validation shall not exceed the scope of the conditions tested in the developmental validation. Samples that fall outside the range of conditions used in developmental validation shall require additional developmental validation studies. Comment (DK): Why not? Is it wrong to get more information on how the method works? The distinction between "developmental" and "internal" is somewhat artificial. The fact a method works in the "internal" studies is further evidence of validity writ large. | No changes made. | Standard 077 outlines the requirements for both developmental and internal validations. A developmental validation is more rigorous than an internal validation as it establishes the foundation of the method. Internal validation studies that fall outside the scope of the developmental validation should be subject to the requirements of a developmental validation prior to implementation by the laboratory. | Not persuasive | 4.1.4: I think intent was that if internal validation exceeds scope of dev. Validation then you don't have a foundation. Does this need clarifying? Updated comment: no change is needed. If you extend the scope of dev. Validation in your internal, then you have to circle back and expand your dev. validation. | No recommended change.
14 | Andrea Roth |  | Technical |  | 4.1.6 For laboratory systems that consist of more than one laboratory, validation studies may be shared; however, performance checks shall be conducted and documented at each site. Comment (AR): Are there guidelines for when one lab could rely on / adopt the internal validation results of another lab in the same system? | This is clear to a reader that does DNA testing. Validation done within a lab system, individual labs need to do PCs. |  | Not persuasive | Not persuasive, but we can edit since we are editing other line items. Adding language that the validating lab doesn’t need to do a PC b/c they are doing the validation might help. | Not persuasive, but we can edit since we are editing other line items. Adding language that the validating lab doesn’t need to do a PC b/c they are doing the validation might help.
15 | Andrea Roth |  | Technical |  | 4 4 7 The laboratory shall have a policy for retention of the summary and data correlating to developmental validations internal validations, modification to the procedures, and performance checks. Comment (DK): Minor but “correlating to” is not the right phrase here – perhaps change to “underlying”? | edit for clarity | to make more clear that labs need to have access to publication or supporting documentation | Not persuasive |  | Edit wording to "The laboratory shall have at a minumum peer-reviewed publication of the underlying scientific principle(s) of methods and/or supporting documentation from any external developmental validation(s)."
16 | Andrea Roth |  | Technical |  |  | 4.4.7: edit "correlating" to "from"?? |  | Not persuasive | 4.4.7: edit "correlating" to "from"?? | Not persuastive, but will change for better wording choice. The laboratory shall have a policy for retention of the summary and data associated with developmental validations internal validations, modification to the procedures, and performance checks.
17 | Andrea Roth |  | Technical |  | Bibliography The following bibliography is not intended to be an all-inclusive list, review, or endorsement of literature on this topic. The goal of the bibliography is to provide examples of publications addressed in the standard. Comment: We think this needs to be rewritten, given that the standard doesn’t address publications and there is only one example. Perhaps change to "publications that address the subject matter of the standard"? | Bibliography: can we edit this or is it part of the document format? Maybe ask Kristi? |  | Not persuasive | Bibliography: can we edit this or is it part of the document format? Maybe ask Kristi? | Delete bibliography from this document to be in line with other sero doc of ours
No response needed

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry. Supportive comments may also need adjudicating if issues raised are relevant. Public Comments are posted to the OSAC External Website.
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee*
No response needed | Comment does not require a response
*If all commenters express the same or similar reasoning for not moving a document forward, the OPO looks to confirm that all similar comments have the same adjudication response (e.g. Persuasive, Not Persuasive, etc.). We also look to confirm that the response provided by the unit is the same or similar. This is to ensure that when the final comment(s) and response(s) are published to the OSAC website, that viewers have a clear understanding of the unit's perspective on a given issue.