## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB BPR 107-22 Best Practice Recommendation for Measuring Trigger Pull of a Firearm and Estimating Its Uncertainty
OSAC Unit | Firearms and Toolmarks
Unit Chair
Name: | Erica Lawton
Affiliation:
Unit Technical Contact
Name: | Todd Weller
Affiliation: | FATM Subcommittee
SC or FSSB Quality Task Group (QTG) Review Completion Date
Notes made by the QTG, if applicable:
Full Subcommittee Resolution Vote Outcome. | 18 yes votes, 0 no votes, 7/10/2023 two comments: There are some grammar and spelling errors under Subcommittee Response that need corrected prior to moving this document forward (e.g. in order to introduce, variation misspelled). There are several typos in the superscript text that should be fixed. Eg. "[1]19]" and "[5,1]22]]". There are others.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition
Not Applicable The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope.
No Response Needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it.
No Revision Required The comment lacks sufficient merit to warrant a change. | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required The comment reveals a problem that makes the standard unsuitable for the registry. | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Email of Commenter | Public Comment | Resolution/Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
PUBLIC COMMENTS
1 | Will Guthrie |  | Yes. Although the procedures used to estimate the trigger pull uncertainties potentially could be improved in some ways, this document seems to provide a reasonable procedure to start with. The procedure can be refined over time, as needed. Some additional research on the effects of assumptions used to simplify or streamline the uncertainty analysis could be carried out to determine the need for refinements. One potential effect I would consider studying would be the sharing of the workload from the process study among several examiners without controlling the balance of measurements across examiners (for example, what would might the effect on the estimated uncertainty be if 1 examiner completed 95% of the study, with 5 other examiners each completing 1% compared to a study where the work is split approximately equally across 6 examiners?). | No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. | In the next revision of this standard, the standard could be revised in order introduce more statements that make it explicit how the study should be designed in the case of multiple examiners. The current version of the standard does require all exmainers to particpate.
2 | Emilee Amihere |  | Yes, BPR 107-22 should be added to the OSAC Registry. However, wording of the portions about averages is a little unclear and could be misinterpreted without clarification. How is the minimum/maximum combined weight at which the sear holds/releases an average (4.3.2 e, f, and NOTE of 4.4)? Is this the average of the individual measurements taken? It would be helpful if this were worded more clearly. | No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. | An example could be provided on the next revision cycle to clarify what is meant by the 'average' on 4.3.2
3 | Andrea Roth |  | The LTG has no legal related objections to this standard but we note that it is statistics-heavy and proposed an approach that should be approved by a consensus of the STG before being placed on the registry. Our "yes" is conditional on the STG being consulted to ensure that they do not have objections. Even if the STG has not volunteered a vote or comments, the FSSB should solicit it before voting, to ensure the standard has the technical merit deserving of the Registry. | No Response Needed The comment either supports the standard as written or does not seek any change to it. | Throughout the OSAC and ASB process the STG has had multiple opportunity to review and comment on the document, and it appears atleast one member has commented during this round (Will Guthrie).
4 | Terri Cypher |  | No. If I am understanding BPR 107-22 as written, this recommendation is supporting the use of averages when a range is used to report a conclusion; therefore, eliminating the provision of the true minimum and maximum (with a MU) to the customer. If a firearm has a varying range for a minimum trigger pull, and the average is reported rather than the actual minimum measured, it could make a difference in relaying important information to the customer (i.e., specific detail needed with cases involving children). In my experience, you either use a range or an average, not an average within a range. I don't support putting a best practice on the registry that suggests otherwise. | No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. | Section 4.3.2 (e) recommends documenting the minimum and maxmimum measurements of when the sear is always released and is not released. Further is says a laboratory MAY also record trigger pulls as an average (but this is not required). In Sectoin 4.4.2 not only recommends documenting the average of measurements and the laboratory's uncertainty of measurments but also the individual measurements. Section 4.7.11 specifically addresses firearms that exhibit large variation in trigger pull measurments. During the drafting of this document, discussions were held about reporting a range vs an average and it was decided to leave this up to the laboratory and it's customer's needs. The document does not specifically have a Reporting section/requirement, only the suggestion of an option for when using arsenal weights (the note under 4.4.3). Future revision of this BPR may address reporting requirements including an improved measure for the varation in the trigger pull of the evidence firearm.