## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB 120-21 Standard for the Analytical Scope and Sensitivity of Forensic Toxicological Testing of Blood in Impaired Driving Investigations
OSAC Unit | Forensic Toxicology
Unit Chair
Name: | Robert Johnson
Affiliation:
Unit Technical Contact
Name: | Robert Johnson
Affiliation:
Begin Comment Period | 2022-02-01
End Comment Period | 2022-02-28
Resolution Vote Outcome: | Approved by Subcommittee (electronic ballot closed 5/12/2022). 15 Yes, 0 No, 0 Abstain
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Email of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Andrea Roth |  | Some LTG members urged ‘no’ on this standard, for the following reason: "Table 1, and the Standard overall, does not reflect the 2021 “Recommendations for Toxicological Investigation of Drug-Impaired Driving and Motor Vehicle Fatalities—2021 Update,” J. Anal. Toxicol. (Jul. 2021), and there is no explanation or accounting for why this Standard would or should deviate from those recommendations, or what labs should do when encountering a disagreement between the Standard and the 2021 Recommendations." | No Revision Required - The scope of the document specifically states that it is a minimum requirement for targeted analytes & sensitivity. Section 4.1.4 acknowledges that the list is not all-inclusive. The JAT publication (as listed in the bibliography) serves as a guideline or recommendation for laboratories to strive for.
2 | Mark Loudon-Brown |  | No. 3.2 analytical sensitivity: No definition or other instruction is given as to how to objectively determine reliability 3.4 limit of detection: No instruction is given regarding how to treat the admission that this is an estimate; No definition or other instruction is given as to how to objectively determine reliability 3.5 lower limit of quantitation: No instruction is given regarding how to treat the admission that this is an estimate; No definition or other instruction is given as to how to objectively determine reliability; No definition of bias or precision is provided, or how to determine, objectively, whether either would be acceptable 4.1.4 The list is not inclusive of all drugs that may be relevant in an impaired driving investigation: Why not? What are labs supposed to do when presented with other drugs? 4.2 While it is preferred that testing includes all compounds listed in Table 1, based on customer requests, the scope of testing may be limited as follows: This gives too much discretion to a “customer” to define the scope of testing, which should be left to the discretion of the laboratory. It also necessarily injects bias into the testing by allowing the customer to direct outcomes. 4.3 The laboratory shall determine the appropriate analytical instrumentation to be utilized for both the screening of case samples and the confirmation of presumptive-positive analytes of interest: This gives the laboratory too much discretion without guidance as to how to determine what constitutes “appropriate analytical instrumentation.” 4.4 Laboratories shall meet the required scope and analytical sensitivity by testing internally, externally, or a combination of both: This is insufficient. Internal and external testing should be required, at the very least where it is possible, and minimum requirements for what constitutes satisfactory testing, internally and externally, must be provided. Table 1: Table 1, and the Standard overall, does not reflect the 2021 “Recommendations for Toxicological Investigation of Drug-Impaired Driving and Motor Vehicle Fatalities—2021 Update,” J. Anal. Toxicol. (Jul. 2021), and there is no explanation or accounting for why this Standard would or should deviate from those recommendations, or what labs should do when encountering a disagreement between the Standard and the 2021 Recommendations | No Revision Required - Items 3.2, 3.4, and 3.5 are standard definitions accepted within the field and defined in the OSAC Lexicon. They are delineated in ASB 036 which describes how to determine these parameters. Section 4.1.4 acknowledges that the list is not all-inclusive. The JAT publication (as listed in the bibliography) serves as a guideline or recommendation for laboratories to strive for. Limited resources may prevent laboratories from testing additional substances. For Section 4.2, this allows the customer to choose if alcohol and/or drugs will be tested but does not allow customer to specify which drugs would be tested. This group notes that ASB 053 requires laboratories to list scope of testing. For comment on Section 4.3, this is outside the scope of the document. Laboratories can choose which instrumentation will be used to meet the standards put forth in ASB 098 & ASB 113. For comment on Section 4.4, external testing would not be required if internal testing meets the requirements of this document. For comment on Table 1, the scope of the document specifically states that it is a minimum requirement for targeted analytes & sensitivity. Section 4.1.4 acknowledges that the list is not all-inclusive. The JAT publication (as listed in the bibliography) serves as a guideline or recommendation for laboratories to strive for.
3 | Abbegayle Dodds |  | Yes | No response needed.