## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ANSI/ASB 152-21 Standard for the Minimum Content Requirements of Forensic Toxicology Procedures
OSAC Unit | Forensic Toxicology
Unit Chair
Name: | Robert Johnson
Affiliation:
Unit Technical Contact
Name: | Robert Johnson
Affiliation:
Begin Comment Period | 2022-02-01
End Comment Period | 2022-02-28
Resolution Vote Outcome: | Approved by Subcommittee (electronic ballot closed 5/12/2022). 15 Yes, 0 No, 0 Abstain
Categories for adjudication of all public comments.
Resolution /Disposition ---- Term | Definition
Not Applicable | The comment is not relevant to the document or its scope.
No Response Needed | The comment either supports the standard as written or does not seek any change to it.
No Revision Required | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Email of Commenter | Public Comment | Subcommittee Response/Rationale | Notes (optional field)
PUBLIC COMMENTS
1 | Andrea Roth |  | Some LTG members urged ‘no’ on this standard for the following reasons: This proposed standard should not be placed in the Registry because it fails to provide the specificity necessary to inform a laboratory what should be included in a written analytical or standard operating procedure. The section on reporting (4.13), like all “forensic reports[,] . . . must include clear characterizations of the limitations of the analyses, including measures of uncertainty in reported results and associated estimated probabilities where possible.” Nat’l Research Council Comm. on Strengthening Forensic Sci. in the United States, Strengthening Forensic Science in the United States: A Path Forward 113 (2009), at 21-22. A standard that governs what should be included in a standard operating procedure describing report contents should address each of the above listed items with sufficient specificity for the method or technique under consideration (in appropriate discipline-specific language, based on the subcommittee’s subject matter expertise) that FSSPs have clear guidance as to what must be in a report for that method or technique. | No Revision Required: The scope of this document covers what should be included for "analytical procedures" (e.g., the analysis of cocaine). The calculation of measurement uncertainty is outside the scope of this document. In addition, the report of measurement uncertainty is also outside the scope of this document. This is why the reporting standard (ANSI/ASB 053, see Section 5.5) is referenced and included as a normative reference. A separate standard document on measurement uncertainty is currently being worked on by ASB; this document will provide the guidance suggested in the comment.
2 | Abbegayle Dodds |  | Yes | No response needed.