## Document Information
OSAC Registry Request Comment Adjudication Response Template
Document Title | ASTM E2125-19 Standard Practice for Microcrystal Testing in Forensic Analysis for Phencyclidine and Its Analogues
Requesting Unit | Seized Drugs SC
Unit Chair |  | Unit Technical Contact
Name: | Agnes Winokur | Name: | Agnes Winokur
Affiliation: | DEA | Affiliation | DEA
Beginning Comment Period Date | 2020-10-06
End Comment Period Date | 2020-11-06
Comment Adjudication Meeting Dates | 2021-01-25 | 2021-02-01 | 2021-02-19
# of Members Present | Entire SC; SC Chair has provided OPO supporting documents and emails capturing the SC's discussions.
Resolution Date and Vote Outcome | 4/27/2021, 15 YES, 0 NO, 0 ABSTAIN
Note: This template is intended for use by all Units considering a new document for addition into OSAC Registry

## Comment Adjudication
ID | Person | Section | Page | Line | Editorial or Technical | Attached File | Comment/Proposals | Response | Reason | Resolution
1 | Julia Leighton |  |  |  |  | LTG - CTG comments E2125, E1969 and E1968.docx | ASTM E2125-19 Standard Practice for Microcrystal Testing in Forensic Analysis for Phencyclidine and Its Analogues should not be placed on the OSAC Registry
[7 empty] | All three documents use the following language in section 12 when describing whether a result should be reported as positive. “If crystals morphologically similar to those formed by [phencyclidine/methamphetamine/amphetamine/ cocaine] standards are formed … the test material is considered positive.” (Emphasis added). At no point do the proposed standards articulate the degree of similarity that is sufficient. To be sure, the introduction states “[t]these tests require skill and expertise on the part of the analyst that can be gained adequately only through appropriate training and experience in their use. These tests should not be attempted by those who are unfamiliar with them … .” However, this caution does not address the failure to articulate a meaningful standard for “similar” and does not provide a standard to ascertain whether an analyst has the requisite skill and expertise. | Appendix Added and Proposed: Adding 4 bullets under 12.2 12.2 If crystals morphologically similar to those formed by phencyclidine or phencyclidine analogue standards by at least two of the precipitating reagents, the test material is considered positive by this technique for the presence of PCP, PCPy, PCM, or TCP. 12.2.1 The forensic science service provider shall define what is morphology similar based on the limitations of the technique that were generated and documented during the validation process. 12.2.2 Validation procedures should include Limit of Detection determination, which can be accomplished by evaluating at least 5 samples with different known amounts of PCP or PCP analogues, in replicates of at least 3, and approaching a drug amount where no specific drug-reagent crystals form. 12.2.3 Matrix effects should be evaluated during the validation procedures, which can be accomplished by mixing in with PCP or PCP analogues (at different known amounts) at least 5 different adulterants/diluents that are commonly seen with PCP seized drug exhibits at the time of validation. 12.2.4 Validation procedures shall include the determination of a cut-off value known amount of PCP or PCP analogues, where the determination of results is too subjective and thus, experience is required to adequately assess the value of the observations. | This is a practice and thus it is expected that each forensic science provider validates the method used and generate the information that is being requested. As such, by adding these 4 sections, we have now required the specific data that must be generated and addressed. An appendix to further illustrate the steps. | Not persuasive - Nonetheless, a work item is being opened at the SDO level to consider the changes proposed in this adjudication. See attached APPENDIX document.
[7 empty] | To be sure, the introduction states “[t]these tests require skill and expertise on the part of the analyst that can be gained adequately only through appropriate training and experience in their use. These tests should not be attempted by those who are unfamiliar with them … .” However, this caution does not address the failure to articulate a meaningful standard for “similar” and does not provide a standard to ascertain whether an analyst has the requisite skill and expertise. | New KSA statement 1.5 This standard is intended for use by competent forensic science practitioners with the requisite formal education, discipline-specific training (see Practice E2917 and E2326), and demonstrated proficiency to perform forensic casework. | This is language set by the SDO. However, ASTM has changed the statement and the document will be updated. | Not persuasive - Nonetheless, a work item is being opened at the SDO level to consider the changes proposed in this adjudication. See attached ADJUDICATION PROPOSAL document.
[7 empty] | Given the availability and widespread use of test methods – GCMS, MS and IR – that rely less on human judgment and are more amenable to articulable standards for results, measurable limitations and estimates of uncertainty, the proposed standards should include language recommending using, were possible, these other methods. | This is not a standard to address a complete analytical scheme for the analysis of seized drugs, that would be ASTM E2329. This is a standard practice for a specific technique that is available and used by forensic science service providers today. | The concern is outside the scope of the standard and there are still laboratories that use this technique. | Not persuasive
[7 empty] | All three standards encourage digital photographs of the crystal patterns as a best practice (see section 7.1.2) for documenting the work. Because the method relies on an unarticulated standard for determining when the patterns are sufficiently “similar”, digital imaging must be required. Only with digital images can “another analyst or scientist, with proper training and experience, ... understand and evaluate all the work performed and independently analyze and interpret the data and draw conclusions.” See National Commission on Forensic Science, Recommendation to the Attorney General Documentation, Case Record, and Report Contents, https://www.justice.gov/archives/ncfs/page/file/905536/download. | Proposed addition to 12.3 12.3 Document all observed crystalline precipitates in the case file for each item analyzed and for the performance verification sample. Discussion: Digital photographs of each item and the performance verification sample are required to be included in the case file for documentation, if there are no other techniques utilized that generate instrumental reviewable data for the forensic identification and reporting of PCP or PCP analogues. | An analyst's notes is reviewable data. The final reporting of cocaine (as per ASTM E2329) requires an analytical scheme that incorporates other techniques that generate instrumental data. However, a discussion section to 12.2 will ensure that if another technique is not used (that generates instrumental data), then a digital photograph is required. | Previously considered. See attached ADJUDICATION PROPOSAL document.
[7 empty] | In addition to the concerns raised above, several sections in the standards do not adequately define limitations and variations associated with the method. For all three standards section 6.0 should detail the limits of the method or state at what concentration of adulterant the method is no longer reliable. Likewise, sections 11.1.6 and 11.1.7 should address what degree of variation is acceptable and by how much can the concentration be reduced. | Please see additions described above for 12.1 and an Appendix that would show how a validation plan can be done. | This is a practice and thus it is expected that each forensic science provider validates the method used and generate the information that is being requested. As such, by adding these 4 sections, we have now required the specific data that must be generated and addressed. We also added an appendix for more detailed information. | Not persuasive - Nonetheless, a work item is being opened at the SDO level to consider the changes proposed in this adjudication. See attached ADJUDICATION PROPOSAL document.
No response needed

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee*
No response needed | Comment does not require a response
*If all commenters express the same or similar reasoning for not moving a document forward, the OPO looks to confirm that all similar comments have the same adjudication response (e.g. Persuasive, Not Persuasive, etc.). We also look to confirm that the response provided by the unit is the same or similar. This is to ensure that when the final comment(s) and response(s) are published to the OSAC website, that viewers have a clear understanding of the unit's perspective on a given issue.