## Document Information
OSAC Registry Request Comment Adjudication Template
Document Title | ASTM E2330-19 Standard Test Method for Determination of Concentrations of Elements in Glass Samples using ICP-MS
Requesting Subcommittee | Materials (Trace)
Subcommittee Chair |  | Subcommittee Technical Contact
Name: | Diana Wright | Name: | Troy Ernst
Affiliation: |  | Affiliation
Email: |  | Email:
Phone: |  | Phone:
Beginning Comment Period Date | 2020-04-07
End Comment Period Date | 2020-05-07
Comment Adjudication Meeting Dates | 5/21/20 (email), 6/4/20 (phone)
# of Members Present | 2
SC Adjudication Approval Vote | 25 affirmative, 0 negative, 1 abstention.
Note: This template is intended for use by all subcommittees considering a new document for addition into OSAC Registry

## Comment Adjudication
# | Person | Affiliation | Attached File | Comment/Proposals | Response | Status | Resolution | Disposition | Resolution Date and Vote Outcome | Company Name | Interest Category | Submission Date | Group Name | Document Name | Revision Number | Document Description | History
1 | Jessica Willis | PDSDC | Yes | A number of defects in ASTM Standard Test Method for Determination of Concentrations of Elements in Glass Samples Using Inductively Coupled Plasma Mass Spectrometry (ICP-MS) for Forensic Comparisons, Designation: E2330 – 19 require that the standard be amended before adoption. Each deficiency is discussed in the attached document. | See following rows and SC response document "E1967 and E2330 approved adjudication response by SC.docx" for adjudication of individual comments from the dcoument referenced by Ms. Willis. |  | Resolved | Not persuasive
|  |  |  | GENERAL AMBIGUITIES Section 1.5 states that the element set listed in the proposed standard is only an example of which elements may be present in a glass sample. Section 1.4 indicates that the method described in the standard is applicable to elements, other types of glass, and other concentration ranges besides those listed in Sections 1.2 and 1.3. But an analyst attempting to follow the procedures outlined in the standard when analyzing samples with elements, types of glass, or concentration ranges other than those listed would have no way of discerning which of these categories this method is applicable or inapplicable to from the standard. In order to avoid misapplication of the method and errors, this standard must be amended to define precisely which elements, types of glass, or concentration ranges it applies to before it is adopted. | It is not a critical limitation in the use of this document for its intended purpose. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  |  | THE ROLE OF EXPERIENCE AND TRAINING Section 1.7 attempts to describe the role of “knowledge, skills, or abilities acquired through education, training, and experience” in applying the method described in the proposed standard. Problematically, the standard undermines its own importance and instead invites analysts to deviate from the prescribed method and over-rely on training and experience by stating that the standard “cannot replace” knowledge, etc. Education, knowledge, training, skill, ability and experience vary from lab to lab and from analyst to analyst. As you are well aware, standards such as this one are meant to set a common baseline for forensic examinations and comparisons, promote quality and consistency of work across labs and analysts, prevent deviations from best practices and acceptable methods, and avoid errors, among other things. See e.g., NAT’L RESEARCH COUNCIL, STRENGTHENING FORENSIC SCIENCE IN THE UNITED STATES: A PATH FORWARD 6 (2009). The proposed standard must be modified to strongly encourage adherence to the method and discourage discretionary deviations from the prescribed, tested method it outlines. As described more thoroughly below, the standard must also require that all deviations from the outlined method be comprehensively documented. | As standard language, this is not subject to revision. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  |  | DOCUMENTATION AND REPORTING The proposed standard fails to require adequate—or, in fact, any—documentation of examinations, procedures, analysis and interpretation and results by the analyst. For example, as described above, Section 1.7 over-values the role of training and experience relative to the procedures outlined in the proposed standard. Despite this, the proposed standard fails to require thorough documentation of any deviations to the outlined procedure. This deficiency must be resolved to require comprehensive documentation of deviations including (1) what deviations are taken and (2) why such deviations are taken. Additionally, Section 11.2, indicates that other methods may “provide similar or better performance in terms of error rates” than the method described in the instant standard. Yet, the standard does not require documentation of why a method is selected even where a method with poorer performance is chosen. The standard must be updated to require such documentation. As you are aware, it is essential that all forensic analysts thoroughly document each step in their examination and analysis, contemporaneously to performance. See, e.g., Recommendation to the Attorney General Documentation, Case Record, and Report Contents, National Commission on Forensic Science, adopted Sept. 13, 2016, available at: https://www.justice.gov/archives/ncfs/page/file/905536/download. Documentation must encompass examination, testing, analysis and interpretation of results and must be sufficient to allow [an] independent analyst to “understand and evaluate all the work performed and independently analyze and interpret the data and draw conclusions.” Id. The standard must be amended to require such documentation before adoption. | It is not a critical limitation of the current document. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  |  | SAMPLE PRESERVATION The proposed standard advises that the described technique is destructive. (Section 4.1.) Yet it provides no guidance on sample preservation for independent analysis. We encourage you to amend the proposed standard to require preservation of sufficient sample for independent testing. | It is not a critical limitation of the current document. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  |  | QUALITY CONTROL The proposed standard lacks sufficient detail and fails to provide satisfactory guidance on a number of quality control measures as described below. Section 4.4 indicates that extraneous material on glass may result in inaccurate concentrations of measured elements. The proposed standard, however, does not indicate how to determine if extraneous material is present, how to remove such material or what action should be taken if it is suspected that measured concentrations are inaccurate. The standard must be updated to resolve each of these issues. | The concern is addressed elsewhere in the document. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  |  | Section 10.1 (Continuing Calibration Verification (CCV)) This section indicates that standards are to be measured “periodically” throughout analysis but fails to define “periodically.” As a result, the proposed standard fails to guide analysts on how frequently standards should be measured. This section also states that the system must be recalibrated “any time one or more element concentrations measured for the CCV sample fall outside the acceptable concentration ranges for the actual concentration of the elements of the CCV.” Yet, it does not provide guidance on whether sample analysis must be repeated if any element concentration for the CCV sample falls outside of acceptable concentration ranges. To avoid the potential for error, we encourage that the standard be amended to require that sample analysis be repeated where element concentration for CCV samples fall outside of acceptable concentration ranges. Section 10.3 (Accuracy of Standard Reference Material (SRM)) This section acknowledges that where element concentrations of SRMs fall outside of the acceptable concentration ranges, sample analysis can result in inaccurate concentrations. Importantly, the section indicates that “[c]orrective actions should be taken to address the source of the inaccuracy prior to additional analysis” but fails to prescribe what corrective actions must be taken to ensure accuracy. This deficiency must be resolved before the standard may be adopted. | Document provides sufficient information to address these concerns, including referring to individual laboratory protocols. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
2 | David H Kaye |  | No | The OSAC Legal Resources Task Group (LRTG) discussed ASTM E2330−19 (Standard Test Method for Determination of Concentrations of Elements in Glass Samples Using Inductively Coupled Plasma Mass Spectrometry (ICP-MS) for Forensic Comparisons). LRTG members did not oppose inclusion of the standard on the OSAC Registry. The comments that follow are submitted on behalf of Lynn Garcia, David Kaye, Ronald Reinstein, and Andrea Roth. ASTM E2330-19 represents an advance over its predecessor, ASTM E2330-12, which the OSAC Legal Resource Committee reviewed in 2015. The measurement process that this test method presents can be used either in what has been called a “two-stage” or “frequentist” procedure, or instead (and better) to produce a statement of the weight of the evidence. The interpretive procedure defined in the test method is a categorical matching rule (inclusion or exclusion). The standard explicitly (and wisely) leaves open the use of other matching rules that are at least as effective for addressing the hypothesis that two specimens have the same true compositional features. The section on “interpretation” (11) helpfully points to studies to show that the method has a low rate of misclassifying glass fragments from the same and different sources and an interlaboratory comparison from 2011 that found very similar replicate measurements across laboratories. Considering these aspects of the standard, we believe that it could be added to the OSAC Registry to replace ASTM E2330-12. For future development, we note that the standard would be more valuable to the legal community if it included the observed rates of misclassifications of same- and different-source samples. Other than asserting that methods such as this one “yield[] high discrimination among sources of glass” (1.1), the standard does not address the legally important issue of interpreting an inclusion that was the focus of earlier LRC comments. This limitation on the scope of the standard might have been made explicit in Section 1 (scope). Similarly, Section 4 (significance and uses) could have stated that the standard is not meant to be used for interpreting the significance of an inclusion for the hypothesis that two specimens originated from the same source of glass. Submitted 5/7/20, by David H. Kaye, Chair, LRTG | No response needed |  | Resolved | No response needed | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
No response needed

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with negative comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee
No response needed | Comment does not require a response
Resolution categories
Term | Definition
Resolved | Response has been adjudicated (agreed and voted on)
Unresolved | Response has not been adjudicated (agreed and voted on)