## Document Information
OSAC Registry Approval (Legacy) 1.5, Comment Adjudication Response Template
Document Title | ASTM E1588 − 20, Standard Practice for Gunshot Residue Analysis by Scanning Electron Microscopy/Energy Dispersive X-Ray Spectrometry
Requesting Unit | Chemistry: Trace SAC, ILE & GSR SC
Unit Chair |  | Unit Technical Contact
Name: | Brend Christy | Name: | Mary Keehan
Affiliation: |  | Affiliation
Beginning Comment Period Date | 2021-01-05
End Comment Period Date | 2021-02-05
Comment Adjudication Meeting Dates | Ad-hoc Task Group consisting of 7 Subcommittee members met several times over the first 4 months of 2021, and adjudicated comments from LTG.
# of Members Present
Resolution Date and Vote Outcome | Subcommittee voted 31-2 in favor of submitting this to FSSB for Registry approval
Note: This template is intended for use by all Units considering a new document for addition into OSAC Registry

## Comment Adjudication
ID | Person | Section | Page | Line | Editorial or Technical | Attached File | Comment/Proposals | Response | Reason | Resolution
| OSAC LTG | 9.1.3 |  |  |  |  | Section 9.1.3 references the elemental composition of particles classified as characteristic of GSR. [Sentence containing commentary was removed.] It would be helpful to include some discussion of the operating characteristics of the referenced procedure. What is known about the sensitivity and specificity of the classifications? | Please note that required instrument sensitivity with respect to particle size is covered in Section 8.2.1: “The SEM, operating in the backscattered electron imaging mode, shall be configured to detect particles down to at least 1.0 µm in diameter.” Sensitivity with respect to elemental composition during automated particle location translates to contrast variation between particles and the background, as discussed in section 8.5. This section also provides instruction on how to properly adjust the instrument to achieve the required sensitivity, and section 8.6 provides quality control measures to ensure the instrument settings are adequate for the required sensitivity. Please also note that, beyond the requirement that particles classified as characteristic of GSR must contain the elements lead, antimony, and barium (Section 9.1.3.1), specificity is further detailed in the definition of the term “characteristic particles” (Section 3.1.2: “characteristic particles, n—particles that have compositions rarely found in particles from any source other than GSR”) and in the reference listed in section 9.1.3.1 (reference 7). This reference provides the background research specifying that this combination of elements is characteristic of GSR particles. | Reason addressed in response. | Not persuasive
| OSAC LTG | 9.1.7 |  |  |  |  | Section 9.1.7 cautions examiners regarding the presence of certain elements (e.g., sulfur, iron, zirconium). Is this an exhaustive list? If so, is that based on published literature that can be cited within this section? If not, can that fact be stated? | The three elements referred to in this section (iron, zirconium, sulfur) are to be viewed with caution during the classification of particles, because they are allowable elements in GSR particles as well as indicators of a possible non-firearm source for the particles. Appropriate references are listed in this section for iron (reference 20) and zirconium (reference 21). The fact that barium sulfate is a potential source for the presence of barium and sulfur in a particle that does not contain lead is expected to be common knowledge to the intended user of this standard (see Sections 1.4 and 5.1). | Reason addressed in response. | Not persuasive
| OSAC LTG | 9.1.8 |  |  |  |  | Section 9.1.8 talks about the development of “additional classifications” for specific types of primer compositions, but it provides little guidance about when this would be appropriate. | Section 9.1.2.2 alerts to the possibility of encountering particles with unusual elemental compositions. Then Section 9.1.8 allows the qualified practitioner to create new classifications of GSR particles, in addition to those listed in Sections 9.1.3 through 9.1.6, when new primer formulations or weapon contributions are identified. The SC respectfully submits that the language in Section 9.1.8, in conjunction with Section 9.1.2.2, is sufficient to prescribe when it is appropriate to develop additional classifications. | Reason addressed in response. | Not persuasive
| OSAC LTG | 9.2.2 |  |  |  |  | 9.2.2 “ … The number of candidate particles to be confirmed shall be subject to guidelines set out in the laboratory’s standard operating procedures.” This statement leaves us wondering, is there no minimum that the subcommittee can offer? Can a standard offer guidance on whether/how to establish a minimum? If that guidance exists, can it be specifically referenced? If there is disagreement within the community on whether or how to establish minimum thresholds within the community, why is there disagreement? Is it because there is a lack of published data on the subject? If so, could that be stated to protect against misunderstanding on the part of the end-user (e.g., lawyers and judges)? | Section 9.2.2 addresses the number of particles to be manually relocated and subjected to re-acquisition of the X-ray spectra in order to confirm the automated data acquisition and classification results for those particles; thus, it deals exclusively with the analytical process and is not intended to address the number of classified GSR-type particles necessary for an interpretation with respect to the probative question of whether or not an individual can be associated with the discharge of a firearm. Such interpretation is beyond the scope of E1588, and will be covered in other documents currently being drafted by the SC. The SC notes that, within the Forensic GSR community, there is no currently agreed upon number of particles that must be manually re-acquired in order to confirm them beyond the automated data acquisition; therefore, a declaration of this sort is out of the scope of the standard. For this reason, Section 9.2.2 requires the laboratory’s standard operating procedures to prescribe the number of particles that must be manually re-acquired. | Reason addressed in response. | Not persuasive
| OSAC LTG | 10 |  |  |  |  | Section 10 is important in ensuring a second qualified analyst can understand the basis for the call that was made regarding the threshold for confirmation of GSR particles. We encourage as much documentation in the case record, including photography, as possible. | The SC notes that most accredited laboratories will record and retain more than the stated minimum documentation listed in Section 10. However, this standard Practice must specify at least the minimum documentation required to classify GSR particles, which includes (1) the SEM images of the particles showing their morphologies (satisfied by Section 10.1.1) and (2) the X-ray spectra of the particles, with all relevant elements present clearly identified and labeled (satisfied by Section 10.1.2). With respect to the LTG’s suggestion of photography, the SC notes that an SEM image of a particle can be considered as a “photograph” of it, for visualization purposes. | Reason addressed in response. | Not persuasive
| OSAC LTG | Gen, 1 |  |  |  |  | Finally, the standard lacks information about what level of accuracy is expected even under ideal conditions when following the standard practice. Is this because the data to answer this question are not available? If that is the case, could this information be provided to protect against misunderstanding? | The SC notes that this standard is a “Practice” that covers the analysis of a particle based on a comparison of acquired data to class characteristics in order to determine if it is a classifiable GSR-type particle, and if so, which type. Accuracy with respect to the classifications listed in sections 9.1.3 through 9.1.6 is addressed in the references listed within those sections. Accuracy with respect to the interpretation of the analytical results generated using E1588 in order to address the probative question of whether or not an individual is associated with the discharge of a firearm is beyond the scope of this standard. Accuracy of such interpretations will be covered in other documents currently being drafted by the SC. | Reason addressed in response. | Not persuasive
| OSAC LTG | Gen, 2 |  |  |  |  | As with many ASTM standards, the introduction states: “This standard cannot replace knowledge, skills, or abilities acquired through education, training, and experience (Practice E2917), and is to be used in conjunction with professional judgment by individuals with such discipline-specific knowledge, skills, and abilities.” The general notion that analysts need to know what they are doing and follow a good laboratory SOP does little to provide the kind of clear guidance and transparency needed to ensure the scope and limits of the method are well understood by lawyers and most importantly, the trier of fact. This is a comment the LTG often makes, but it is especially important when the document lacks specificity or clear direction on core decision points in the analytical process. | The SC notes that the statement in section 1.4 contains specific wording approved by the ASTM E30 Executive Committee for use in forensic standards and is included because E1588 requires discipline specific competency in order for it to be used appropriately. The intended users of this standard are Forensic Service Providers, and specifically GSR practitioners who have the requisite knowledge to operate the scientific instrumentation and to classify GSR-type particles, as stated in Sections 1.4 and 5.1. This standard is not intended to function as an overall guide to the discipline of forensic GSR analysis or as a training document, and it is also not intended to cover interpretation of the probative question of whether or not an individual is associated with the discharge of a firearm, or how to report and testify to such interpretations. Forthcoming documents are being developed within the SC to address these topics, which are all outside the scope of E1588. Regarding the LTG’s statement that “the document lacks specificity or clear direction on core decision points in the analytical process,” the SC respectfully disagrees, stating that the “core decision points” in E1588 require direction regarding the following activities: (1) how to assess particle morphology, (2) how to positively identify relevant elements from EDS data, and (3) how to classify particle type based on the identified elements. which are addressed as follows: For (1), specific direction is provided in Section 9.1.1.1. For (2), non-instrument-specific directions are provided in Section 9.2, and it is noted that Scope Section 1.2 specifically states: “Since software and hardware formats vary among commercial systems, guidelines will be offered in the most general terms possible. For proper terminology and operation, consult the SEM/EDS system manuals for each instrument.” For (3), specific directions are provided via a combination of information provided in Sections 3 and 9. | Reason addressed in response. | Not Germane
No response needed

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee*
No response needed | Comment does not require a response
*If all commenters express the same or similar reasoning for not moving a document forward, the OPO looks to confirm that all similar comments have the same adjudication response (e.g. Persuasive, Not Persuasive, etc.). We also look to confirm that the response provided by the unit is the same or similar. This is to ensure that when the final comment(s) and response(s) are published to the OSAC website, that viewers have a clear understanding of the unit's perspective on a given issue.