## Document Information
OSAC Registry Request Comment Adjudication Template
Document Title | ASTM E1967, Standard Test Method for the Automated Determination of Refractive Index of Glass Samples Using the Oil Immersion Method and a Phase Contrast Microscope
Requesting Subcommittee | Materials (Trace)
Subcommittee Chair |  | Subcommittee Technical Contact
Name: | Diana Wright | Name: | Troy Ernst
Affiliation: |  | Affiliation
Email: |  | Email:
Phone: |  | Phone:
Beginning Comment Period Date | 2020-04-07
End Comment Period Date | 2020-05-07
Comment Adjudication Meeting Dates | 5/21/20 (email), 6/4/20 (phone)
# of Members Present | 2
Final SC Vote to Approve Comment Adjudication | 6/15/20; 25 affirmative, 0 negative, 1 abstention.
Note: This template is intended for use by all subcommittees considering a new document for addition into OSAC Registry

## Comment Adjudication
# | Affiliation | Attached File | Comment/Proposals | Response | Status | Resolution | Disposition | Resolution Date and Vote Outcome | Company Name | Interest Category | Submission Date | Group Name | Document Name | Revision Number | Document Description | History
1 | PDSDC | YES | A number of defects in ASTM Standard Test Method for the Automated Determination of Refractive Index of Glass Samples Using the Oil Immersion Method and a Phase Contrast Microscope: E1967 – 19 require that the standard be amended before adoption. The deficiencies are discussed in the attached document. | See following rows and SC response document "E1967 and E2330 approved adjudication response by SC.docx" for adjudication of individual comments from the document referenced by Ms. Willis. |  | Resolved | Not persuasive
|  |  | LACK OF ADEQUATE DEFINITIONS AND GENERAL AMBIGUITIES Section 6.1 indicates that the analyst should select “a number” of glass fragments from the known sample such that there is sufficient variability in the refractive index (RI) throughout the source. However, the section gives no guidance on how many fragments are sufficient to constitute “a number” that will provide sufficient RI variability. Analysts should be provided with adequate guidance on how to select enough fragments from the known sample to achieve sufficient RI variability before the proposed standard can be adopted. | This is not a critical limitation of the current document. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | We commend the standard’s requirement in Section 6.11 that “all pertinent measurements and instrument data” be recorded in the case records. But the standard fails to define which measurements and instrument data are “pertinent.” The proposed standard should be amended to provide clear guidance on which measurements and instrument data should be documented in case notes. | It is not a critical limitation of the current document as the information is already provided in the document, referring to subsections within the same list of steps in a procedure is not necessary. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | See below for additional recommendations for strengthening the standard by improving guidance on documentation. Sections 9.1.1 and 9.1.2 establish boundaries outside of which the difference in results would exceed the repeatability or reproducibility limits. Specifically, they indicate that applying the same test method under proper conditions would, “in the long run[,]” only result in the repeatability or reproducibility limits being exceeded in one case out of 20. Yet “long run” is not defined. This means that analysts cannot know from the proposed standard when the difference in results would result in the repeatability and reproducibility limits being exceeded in more than one of 20 cases. The proposed standard must be updated to provide greater guidance to analysts with respect to this issue before it can be adopted. | As standard ASTM language, this is not subject to revision. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | THE ROLE OF EXPERIENCE AND TRAINING Section 1.5 attempts to describe the role of “knowledge, skills, or abilities acquired through education, training, and experience” in applying the method described in the proposed standard. Problematically, the standard undermines its own importance and instead invites analysts to deviate from the prescribed method and over-rely on training and experience by stating that the standard “cannot replace” knowledge, etc. Education, knowledge, training, skill, ability and experience vary from lab to lab and from analyst to analyst. As you are well aware, standards such as this one are meant to set a common baseline for forensic examinations and comparisons, promote quality and consistency of work across labs and analysts, prevent deviations from best practices and acceptable methods, and avoid errors, among other things. See e.g., NAT’L RESEARCH COUNCIL, STRENGTHENING FORENSIC SCIENCE IN THE UNITED STATES: A PATH FORWARD 6 (2009). The proposed standard must be modified to strongly encourage adherence to the method and discourage discretionary deviations from the prescribed, tested method it outlines. As described more thoroughly below, the standard must also require that all deviations from the outlined method be comprehensively documented. | As standard language, this is not subject to revision. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | DOCUMENTATION AND REPORTING Additionally, the proposed standard fails to require much other appropriate documentation of examinations, procedures, analysis and interpretation and results by the analyst. For example, as described above, Section 1.5 over-values the role of training and experience relative to the procedures outlined in the proposed standard. Despite this, the proposed standard fails to require thorough documentation of any deviations to the outlined procedure. This deficiency must be resolved to require comprehensive documentation of deviations including (1) what deviations are taken and (2) why such deviations are taken. | These are covered by laboratory protocols. See SC response document |  | Resolved | Not Germane | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | Additionally, Section 11.2, indicates that other methods may “provide similar or better performance in terms of error rates” than the method described in the instant standard. Yet, the standard does not require documentation of why a method is selected even where a method with poorer performance is chosen over a method with better performance. The standard must be updated to require documentation of the reasoning and justification for choosing a particular method, particularly where a better method is available. | This comment was not intended for this document. See SC response document |  | Resolved | Not Germane | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | As you are aware, it is essential that all forensic analysts thoroughly document each step in their examination and analysis, contemporaneously to performance. See, e.g., Recommendation to the Attorney General Documentation, Case Record, and Report Contents, National Commission on Forensic Science, adopted Sept. 13, 2016, available at: https://www.justice.gov/archives/ncfs/page/file/905536/download. Documentation must encompass examination, testing, analysis and interpretation of results and must be sufficient to allow and independent analyst to “understand and evaluate all the work performed and independently analyze and interpret the data and draw conclusions.” Id. The standard must be amended to require such documentation before adoption. | These are covered by laboratory protocols. See SC response document |  | Resolved | Not Germane | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | ERRORS AND QUALITY CONTROL Section 4.2 states that measurement of surface fragments can yield refractive index (RI) values different than RI values for the interior of the same broken glass source. The section, however, does not indicate how analysts should resolve this issue or how to avoid discrepant measurements. It is essential that this deficiency be resolved prior to adoption of the method. | Because they are addressed elsewhere in the document, no revision is necessary. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | Section 8.1.1 indicates that “the number of measurements and the distribution of refractive index values in a glass source affect... errors[.]” Despite the acknowledged potential for both false exclusions and false inclusions, the section fails to provide guidance for analyst on how to avoid or address such errors. The standard must be revised to provide such guidance before adoption. | Because the reference addresses this concern and this is simply a cautionary statement, no revision is necessary. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | Sections 9.1 and 9.2 appear to indicate that precision and bias estimates were obtained based on a single study involving “statistical examination of 178 test results, from 31 laboratories, on 3 [glass samples of different material].” Before implementation of the proposed standard, whether a single study with sample size of 178 test results, from 31 laboratories, on 3 materials is large enough to produce accurate precision and bias estimates. Should further studies/statistical examination be necessary, analysts should be cautioned regarding the limits of reliance on the listed precision and bias estimates. | The study followed recommended practices. See SC response document |  | Resolved | Not persuasive | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
|  |  | SAMPLE PRESERVATION The proposed standard provides no guidance on sample preservation for independent analysis. We encourage you to amend the proposed standard to require preservation of sufficient sample for independent testing. | This is outside the scope of this document. It is covered by laboratory protocols and is addressed in the overarching glass guide. See SC response document |  | Resolved | Not Germane | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
2 |  | No | The OSAC Legal Resources Task Group discussed ASTM E1967−19 (Standard Test Method for the Automated Determination of Refractive Index of Glass Samples Using the Oil Immersion Method and a Phase Contrast Microscope). Several members (Lynn Garcia, David Kaye, Ronald Reinstein, and Andrea Roth) submit the comments below. Some are minor but may be useful in future revisions of the standard. Others are more substantial, but we are not asking for the subcommittee to adjudicate them at this time. General ASTM E1967-19 represents an advance over its predecessor, ASTM E1967-11e, which the OSAC Legal Resource Committee reviewed in 2015. We believe that the current version could be improved in several respects to enhance its value to the legal community. Nonetheless, the measurement process that this test method presents is useful as a kind of presumptive or screening test and could be combined with the results of other test methods in what has been called a “two-stage” or “frequentist” procedure (see reference (7) of the standard), or better, to produce a statement of the weight of the evidence. The two main points of legal significance are that (1) the standard should make it clearer that it relies on the “two-stage process” (e.g., reference (7)) for glass evidence -- testing the statistical hypothesis of same-refractive-index, then addressing the substantive issue of “commonality” with frequency data if the hypothesis is not rejected (“the glass samples are indistinguishable”); and (2) the operating characteristics (loosely called “error rates”) for testing the same-refractive index hypothesis should be stated in the standard (to the extent that they are known -- if one or both of them are not known, that fact should be stated). With these two changes, the standard would have significantly more value for lawyers and judges concerned with the use of the test results in court. Scope, significance, and use The sections on scope (2) and significance and use (4) do not explicitly state the purpose of the standard and the refractive index measurements. Is the test method to be used only as a screening test -- a method for concluding that two samples come from different sources? Is it to be used to produce measurements for non-exclusions that could be used in court on their own? Because the standard largely avoids the question of how to interpret a non-exclusion, this limitation in its scope should be made clear at the outset. We realize that the subcommittee is working on a standard that has more information about coordinating various tests on glass fragments or particles, but other test methods for glass indicate how the tests are to be used. ASTM 2330, which is also under consideration, states that 1.1 One objective of a forensic glass examination is to compare glass samples to determine if they can be discriminated using their physical, optical or chemical properties (for example, color, refractive index (RI), density, elemental composition). If the samples are distinguishable in any of these observed and measured properties, it may be concluded that they did not originate from the same source of broken glass. If the samples are indistinguishable in all of these observed and measured properties, the possibility that they originated from the same source of glass cannot be eliminated. The use of an elemental analysis method such as inductively coupled plasma mass spectrometry yields high discrimination among sources of glass. (1-16) This standard has no such statement, begging the question of whether it too yields high discrimination. Section 8 on the “Calculation and Interpretation of Results” Section 8 fails to distinguish between statistical hypotheses (are the true refractive indices the same?) and substantive (legally important) hypotheses. The “hypothesis of commonality” (8.1) is the latter. This phrase suggests that Type I and Type II errors are supposed to pertain to this hypothesis. The section starts off as follows: 8.1 Refractive index measurements are used to test the hypothesis of commonality of the glass from a known broken source and the recovered questioned sample. A refractive index test interval is determined from the broken known glass. Measurements of the questioned glass are then compared to this test interval. 8.1.1 The analyst should be aware that the number of measurements and the distribution of refractive index values in a glass source affect Type I (false exclusion) and Type II (false inclusion) errors (7). 8.2 The procedure to conduct a forensic glass comparison using the recommended test criterion is as follows: ... The first sentence should be “Refractive index measurements are used to test the hypothesis that the true refractive index of glass from a known broken source is the same as the true refractive index of the recovered questioned sample.” The reference to the “hypothesis of commonality” belongs in Section 8.3. That hypothesis comes into play at the second stage of the frequentist analysis. Section 8.2.3 provides that “[i]f the average refractive index of the questioned sample falls within the minimum value to the maximum value range of the known glass sample, the refractive index of the two glass samples is considered indistinguishable (7).” The procedure for declaring a match is not one that would be expected for comparing two sample means. The standard itself does not state how well its range test has been empirically verified. Is reference (7) the only study of this matching rule? That study seems to be limited to determining the false exclusion probability (which it calls the Type I error probability). For refractive-index matching to be useful for courts concerned with “error rates” for scientific evidence (as the Supreme Court has called them), the standard itself should indicate what the available estimates of error probabilities are. Section 8.3 states that “[i]nterpretation of the frequency of occurrence of a particular refractive index may be assessed with relevant databases of known refractive index values that have been demonstrated to be statistically valid.” This single sentence is not sufficiently complete and precise. First, the standard should discuss what makes a database relevant and where they exist. Second, the wording is confusing. One can estimate a population frequency from a database, but the database does not give an assessment or interpretation of the estimated frequency. Databases themselves are not statistically valid or invalid. Validity relates to how they are used. Is the intent to say that the database must be a probability sample? That is too stringent. A large enough sample? What else? Minor Comments Section 6.1 instructs analysts to “[s]elect a number of glass fragments from the known glass sample such that the variability in the refractive index throughout the source can be assessed.” It offers no guidance on how to do this, making it less useful to courts that might consult it to determine whether the test method sets forth a controlling standard to ensure reliability. Section 9.1.2.2 states that “[r]eproducibility limits are listed in Table 1.” Because these are only estimates of the “long run” values, 9.1.2.2 should refer to “observed reproducibility limits.” Section 9.1.5 should read “By definition, estimates of repeatibility and reproducibility made as described in 9.1.1 and 9.1.2 would have an approximate 95% probability of being correct.” Better yet, if it seems necessary to translate the rate of incorrect statements of 1/20 (5%) into the rate of correct statements (95%), that could be done in 9.1.1 and 9.1.2. Submitted 5/7/20, by David H. Kaye, Chair, LRTG | No response needed |  | Resolved | No response needed | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
3 |  | No | Yes. This methodology is used internationally in most forensic jurisdictions that analyse glass for comparative purposes. It has been validated for this purpose for 40 years. Even though LA-ICP-MS provides greater discrimination than glass IR, the technique remains useful, particularly where cost of equipment is a factor. | No response needed |  | Resolved | No response needed | 06/15/2020 Approved by SC (25 affirmative, 0 negative, 1 abstention)
No response needed

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with negative comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee
No response needed | Comment does not require a response
Resolution categories
Term | Definition
Resolved | Response has been adjudicated (agreed and voted on)
Unresolved | Response has not been adjudicated (agreed and voted on)