## START HERE Cover Sheet
OSAC Program Office Use Only
OSAC Registry Approval Process for Published Standards This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | ASTM E2224-23a, Standard Guide for Forensic Analysis of Fibers by Infrared Spectroscopy
OSAC Unit | Trace Materials
Unit Chair
Name: | Diana Wright
Affiliation:
Unit Technical Contact
Name: | Jen Remy
Affiliation:
SC or FSSB Quality Task Group (QTG) Review Completion Date | 2023-11-01
Notes made by the QTG, if applicable: | N/A
Full Subcommittee Resolution Vote Outcome.
Categories for adjudication of ALL COMMENTS.
Resolution / Disposition to be used in the Adjudication | Definition
Not Applicable The comment is not relevant to the document or its scope. | The comment is not relevant to the document or its scope.
No Response Needed The comment either supports the standard as written or does not seek any change to it. | The comment either supports the standard as written or does not seek any change to it.
No Revision Required The comment lacks sufficient merit to warrant a change. | The comment lacks sufficient merit to warrant a change.
No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. | The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher.
Revision Required The comment reveals a problem that makes the standard unsuitable for the registry. | The comment reveals a problem that makes the standard unsuitable for the registry.
Withdrawn The commenter withdrew the comment. | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No Revision Required, Revision Required, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.

## 1.Public Comments
Should this standard be placed on the OSAC Registry as published? Please provide a yes or no answer. |  |  |  | YES OR NO
For a response of No, please provide a justification of 250 words or less for perceived important substantive flaw in the standard. Limit to substantive comments related to the standard’s placement on the OSAC Registry only. Lesser suggestions for future revisions are welcome but should be provided using this separate form.
TABLE OF COMMENTS
# | Name of Commenter | Public Comment | Resolution/Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
PUBLIC COMMENTS
1 | Andrea Roth | Some LTG members would vote 'no' on this standard. Previous negative comments have expressed concern that the standard fails to acknowledge the lack of testing of the validity/accuracy of the method. These members believe that OSAC standards related to methods should have to address performance of the method (e.g. sensitivity, specificity). | No Revision Required The comment lacks sufficient merit to warrant a change. | Infrared (IR) spectroscopy is one of the most common and widely used spectroscopic techniques employed mainly by inorganic and organic chemists due to its usefulness in determining structures of compounds and identifying them. Chemical compounds have different chemical properties due to the presence of different functional groups.(Source: LibreTexts https://chem.libretexts.org/@go/page/1847?pdf) Infrared Spectroscopy is a valid method and is considered highly sensitive for testing a variety of materials, including fibers. This document (ASTM E2224) has been published by ASTM for >10 years and has been deemed a valid and accurate method. Additionally, this document is an ASTM standard guide vs. a test method. A guide provides information or a series of options that does not recommend a specific course of action. It increases the awareness of information and describes approaches for IR of fibers. In contrast, a test method is a procedure that produces a test result, and this type of document would include precision and bias statements. This document fulfills its purpose as a guide and it is clearly stated what is addressed in the scope section. | Spoke with Shirly Montero, our HFTG rep. She had communication with the commenter to help explain the technique and she supported our response.
2 | Adele Quigley-McBride | Comments: Members of the HFTG have concerns with this standard. There are several parts of the document that describe a decision-making process or criteria that is ill-defined or subjective in nature, which could result in considerable variability in analysts’ interpretations and conclusions. Some examples include: - the recommended procedure requires analysts to determine whether or not there are “meaningful differences”, with no adequate definition of what constitutes a “meaningful difference”. - the definition for “exclusionary difference” provides little guidance to suggest what does and does not warrant “meaningful/separable/exclusionary differences”. Specifically, there is no clear guidance to help analysts distinguish within- versus between-sample variance and how that could or should affect their conclusions. - in section 8 (“Classification, Comparison, and Interpretation”), there are ambiguous criteria described for analysts to classify samples. The document lists myriad factors (e.g., “band position, band shape, and band intensity”) with no clear guidance on what should be done with those factors. (e.g., When is the band position noteworthy and what should be done when that is the case?). The phrase “exclusionary differences” appears in this section too, but there are no clear examples provided to help analysts make consistent determinations, just the definition “outside the variability of spectra originating from the same source; and cannot be explained by considerations such as sample heterogeneity, contamination, different sample conditions, or different sample histories”. Ultimately, it seems like analysts are being asked to make what amounts to a holistic judgment as to whether samples do or do not originate from the same source with some factors provided as examples of what they might consider. The HFTG recognizes the difficulties associated with quantifying these types of complex factors, criteria, and judgments, but some effort needs to be made to promote reproducibility and repeatability in this standard—as it is, the judgments made by analysts could vary considerably given the lack of clear guidance. | No Revision Required for Registry Approval The comment does not reveal an issue of sufficient importance to bar registry approval, but it has merit and is being provided to the standard’s publisher. AND... No Revision Required The comment lacks sufficient merit to warrant a change. | The use of the phrase "meaningful differences" in 5.2 and 5.6.2 was unintentional and has been approved and edited by ASTM to 'exclusionary differences' to be consistent throughout. Current version is now E2224aE1. Regardless, the phrases mean the same thing and the user/examiner would understand this in the context of the document. Elsewhere, the term has been updated to 'exclusionary difference', and it is defined in the terminology section. Additionally, 'exclusionary difference' is an OSAC Preferred Term, which was a collaborative effort that included LTG & HFTG members input. Regarding intra vs inter-sample variation, there is guidance in section 8, specifically 8.4. Also, it is not expected for IR spectra of a specific type of fiber to exhibit much variation, however this would be discussed during the overall fiber training for all techniques, and not just specific to IR. The criteria to classify samples is sufficient for a trained fiber examiner to assess exclusionary differences. Also, the sentence quoted beginning with "outside the variability..." (8.5.1) is exactly addressing the guidance suggested by the previous comment - that variability needs to be determined for both the Q and K by running multiple samples, as well as taking into account the other items listed (task relevant info). The use of IR for fiber exam is to identify the fiber type (classification by comparing similarities of characteristic IR bands) and to compare samples to eachother (Q to K). One advantage of IR as a technique is that it is not expected for there to be a lack of reproducibility or repeatability of fiber spectra unless there is some surface contaminant or other sample condition that would need to be considered, which is addressed in the guide (8.5.1) as well as during microscopical examination of the fibers. Therefore, the technique itself, as done in accordance with this guide, is expected to produce similar judgments by trained fiber examiners. | Spoke with Shirly Montero, our HFTG rep. She had communication with the commenter to help explain the technique and she supported our response.