## Document Information
OSAC Registry Approval (Legacy) 1.5, Comment Adjudication Response Template
Document Title | ASTM E3245e1-20 Standard Guide for Systematic Approach to the Extraction, Analysis, and Classification of Ignitable Liquids and Ignitable Liquid Residues in Fire Debris Samples
Requesting Unit | Chemistry: Trace, ILE & GSR SC
Unit Chair |  | Unit Technical Contact
Name: | Brenda Christy | Name: | Michelle Evans
Affiliation: |  | Affiliation
Beginning Comment Period Date | 2021-01-05
End Comment Period Date | 2021-02-05
Comment Adjudication Meeting Dates
# of Members Present
Resolution Date and Vote Outcome
Note: This template is intended for use by all Units considering a new document for addition into OSAC Registry

## Comment Adjudication
ID | Person | Section | Page | Line | Editorial or Technical | Attached File | Comment/Proposals | Response | Reason | Resolution
1 | Jess Gable Cino | 1.3 |  |  |  | PDF of LTG response for easier reading | An LTG Comment Task Group (CTG) consisting of Jessica Gabel Cino (chair), Stephanie Domitrovich, Sabrina Feve, Matt Redle, and Bill Wirskye reviewed ASTM E3245–20. The group sees no legal issue that should preclude the placement of the standard on the OSAC Registry of Standards. LTG member Lynn Garcia notes that she agrees. However, Matt Redle and Bill Wirskye note (and LTG members John Ellis, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Andrea Roth, and Maneka Sinha agree) that § 1.3, which states that “This guide cannot replace knowledge, skill, or ability, acquired through appropriate education, training, and experience and should be used in conjunction with sound professional judgment,” should be deleted. They add that an alternative would be the addition of language along the lines of: “Where such a departure from these standards occurs, it is incumbent on the analyst to identify and describe the nature of the departure, the rationale for such a departure, and the variance or method employed to account for such circumstances.” They explain that Daubert recognizes the value that a set of existing standards may provide to a court facing a challenge to the admissibility of a test result obtained as a result of adherence to testing standards recognized within a discipline. On the other hand, the failure to follow recognized standards may suggest, rightly or wrongly, a different result in a given case. The judge and attorneys on both sides need to be aware that a variance has occurred from accepted standards. That is fairly obvious. What may not be obvious to the analyst is the potential ethics problem that failing to identify a variance from accepted standards may create for the attorneys. A prosecutor practicing in a jurisdiction that follows the ABA Model Rule of Professional Conduct 3.8 (d) is obliged to disclose to the defense all evidence or information known to the prosecutor that “tends to negate the guilt of the accused….” For those somewhat familiar with the Brady rule, this is not Brady. This is an ethics rule. “Tends to negate” does not require a showing of materiality. It is a very low bar. Failure to adhere to a standard may well be considered favorable to a defendant as evidence that may permit impeachment of the expert. Failure to notify the defense of this fact by the prosecution may be problematic in this regard. The simple inclusion of a note in the report, such as I suggest avoids this problem. This creates another problem for the defense. In many jurisdictions a defendant represented by a court appointed attorney must file a timely request for the authorization of funds so that defense counsel can retain a defense expert. The defense expert may be retained to consult in such a case. The consulting expert may be asked to review the case and specifically any deviation from the approved standard for use as impeachment material. The failure of the attorney to do so may call into question whether the defendant was afforded the effective assistance of counsel as required under the constitution. If a provision such as 1.3 is to be a part of the standard then these and other problems are avoided by simply giving notice in the report that such a variance has occurred. | The following is the proposed ILEGSR Subcommittee response to the LTG negative comment during the open comment portion of the OSAC 1.5 Registry Approval process for ASTM E3245-20ϵ1 Standard Guide for Systematic Approach to the Extraction, Analysis, and Classification of Ignitable Liquids and Ignitable Liquid Residues in Fire Debris Samples: In response to the LTG, the ILEGSR Subcommittee first would like to thank the LTG members for their review of E3245, for their statement that they “see no legal issue that should preclude the placement of the standard on the OSAC Registry,” and for their additional thoughtful comments regarding the potential legal ramifications when deviations from a standard are encountered. The statement in section 1.3 contains specific wording approved by the ASTM E30 Executive Committee for use in forensic standards that have sections related to interpretation. Section 1.3 is included in E3245, because this document contains guidance related to interpretation (Section 11) and requires discipline specific competency in order for it to be used appropriately. Therefore, the ILEGSR Subcommittee respectfully disagrees with the removal of section 1.3 from E3245. As the ILEGSR Subcommittee chooses to retain section 1.3 of E3245, we now focus on the last sentence in the LTG negative comment, which states: “If a provision such as 1.3 is to be a part of the standard then these and other problems are avoided by simply giving notice in the report that such a variance has occurred.” The ILEGSR respectfully submits to the LTG that the requirement to report the method used, and any deviations to the method used, is covered in E3245 through Section 5.5, which states: “This guide is intended to be used in conjunction with generally accepted forensic accreditation requirements including documentation and records.” It is noted that the generally accepted forensic accreditation requirements in ISO 17025: 2017 Section 7.8.2.1 specify that forensic service providers must report the “identification of the method used” (Subsection f) and “additions to, deviations, or exclusions from the method” (Subsection k). Therefore, a forensic science provider utilizing E3245 and reporting it as part of their specific analytical method would be required to also report any additions to, deviations, or exclusions from what is contained in E3245. Finally, the ILEGSR Subcommittee would like to respectfully point out to the LTG that E3245 itself is classified as an ASTM “guide” and not a “practice” or a “test method” (see ASTM definitions of each of these types of standards below); it does not provide a detailed step-by-step prescription for a specific procedure. Therefore, it is the opinion of the ILEGSR Subcommittee that the requirement to report deviations from E3245, while technically not applicable, has nevertheless been appropriately and adequately addressed in the standard. Definitions of Types of ASTM Standards (per ASTM’s “Form & Style for ASTM Standards” handbook dated October 2018): guide, n— a compendium of information or series of options that does not recommend a speciﬁc course of action. DISCUSSION—A guide increases the awareness of information and approaches in a given subject area. practice, n— a deﬁnitive set of instructions for performing one or more speciﬁc operations that does not produce a test result. DISCUSSION—Examples of practices include, but are not limited to: application, assessment, cleaning, collection, decontamination, inspection, installation, preparation, sampling, screening, and training. test method, n— a deﬁnitive procedure that produces a test result. DISCUSSION—Examples of test methods include, but are not limited to: identiﬁcation, measurement, and evaluation of one or more qualities, characteristics, or properties. A precision and bias statement shall be reported at the end of a test method. | The referenced statement in 1.3 is a requirement for ASTM E30 forensic science standards and is not able to be removed. | Not persuasive
2 | Katherine Judson | 7.2.2 11.2 11.3 |  |  |  |  | I don't object to ASTM E3245-20 being placed on the registry, but I do wish to make some comments about it because I think one portion is incomplete and another refers to a document which needs revision. E245-20, 7.2.2 refers to the need to prevent examiners from exposure to biasing information. This is a necessary inclusion but should include some additional information in accordance with the National Commission on Forensic Science document on which it relies (FN 18). Specifically, the NCFS recommended developing an SOP on minimizing task-irrelevant information and a documentation requirement for the provided information that could potentially be biasing. Those recommendations should be included/required here. Additionally, while 11.2 and 11.3 aren't themselves a problem necessarily, they refer to Practice E620, which is in need of revision to, at a minimum, bring it into compliance with the recommendations of the NCFS. Resolving the issues with E620 is important so that the documents that refer to it don't need to be called into question. | The following is the proposed ILEGSR Subcommittee response to the comments received by Katherine Judson during the open comment portion of the OSAC 1.5 Registry Approval process for ASTM E3245-20ϵ1 Standard Guide for Systematic Approach to the Extraction, Analysis, and Classification of Ignitable Liquids and Ignitable Liquid Residues in Fire Debris Samples: In response to Ms. Judson, the ILEGSR Subcommittee would like to thank her for the review of E3245 and for stating that she doesn’t “object to ASTM E3245-20 being placed on the registry.” The ILEGSR Subcommittee agrees with Ms. Judson’s comments regarding biasing information and the reporting document (E620). The subcommittee is working to incorporate human factors concepts and the need for minimization of analyst exposure to contextually irrelevant and potentially biasing information into our proposed new standards as they are drafted, and into our existing standards as they are revised. The subcommittee’s position at this time is that a requirement for the development of an SOP on minimizing task-irrelevant information and for documentation of the provided information that could potentially be biasing, would better serve the forensic community in an over-arching document, such as E3255 (Standard Practice for Quality Assurance of Forensic Science Service Providers Performing Forensic Chemical Analysis) or perhaps E1492 (Standard Practice for Receiving, Documenting, Storing, and Retrieving Evidence in a Forensic Science Laboratory). The subcommittee realizes that E620 would benefit from revision; however, this is outside the scope of the Registry approval discussion for E3245, and our subcommittee is not in direct control of E620. Ms. Judson’s suggestions can be shared with the technical contact for E620 for consideration during the next revision. | The additional information on bias and editing E620 are outside the scope of this document and subcommittee. | Not Germane
No response needed

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee*
No response needed | Comment does not require a response
*If all commenters express the same or similar reasoning for not moving a document forward, the OPO looks to confirm that all similar comments have the same adjudication response (e.g. Persuasive, Not Persuasive, etc.). We also look to confirm that the response provided by the unit is the same or similar. This is to ensure that when the final comment(s) and response(s) are published to the OSAC website, that viewers have a clear understanding of the unit's perspective on a given issue.