## CE-SDS
Template for Reporting Data: CE-SDS
Please complete the green boxes to the extent possible.
Lab (e.g. NIST)
1. Method Information
Manufacturer
Detectors
Detection Wavelength |  | (i.e. 220 nm)
Instrument Software
Analysis Software
Full capillary length (cm)
capillary distance from inlet to detection window (cm)
internal diameter of capillary (um)
Reducing agent
Alkylating agent
MW ladder |  | (i.e. 10 kDa)
Internal standard
Final protein concentration injected (mg/mL) |  | (i.e. 0.5 to 1 mg/mL)
Separation Time-Non-reduced (min)
Separation Time-Reduced (min)
Initial Separation Voltage Ramp
Rinse Pressure Ramp
Injection Voltage
Separation voltage ramp
Cartridge temperature |  | (i.e. 25 °C)
Sample storage temperature
Electropherogram scan data rate
Scan Range |  | (i.e. 190-400 nm)
Peak detect threshold
Peak detect peak width
Date stock solutions were prepared
System Suitability Standards
SDS-MW buffer prep (specify in-house/commercial source)
2. Summary of data
Analyst initials
Measurement date
Hours samples were stored at (2-6)˚C prior to measurement
Number of replicate meas.
Sequence run time for all samples
Non-reduced | [9 empty] | Reduced
Sample Name | Peak Number | Migration Time (Range) | Peak Identity | MW (approx) | CV,% | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area for all peaks (%) | CV, % | Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW (approx) | CV, % | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area (%) | CV, %
Amgen mAb Unstressed | [9 empty] | Amgen mAb Unstressed
Heavy
Calculated Values | Monomer Purity (%) | Stdev | CV, % | [6 empty] | Calculated Values | Heavy Chain Relative Abundance, % | Stdev | CV, % |  | Light Chain Relative Abundance, % | Stdev | CV, % |  | Glycan Occupany of Heavy Chain, % | Stdev | CV, % | Thioether Relative Abundance, % | Stdev | CV, %
Non-reduced | [9 empty] | Reduced
Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV,% | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area for all peaks (%) | CV, % | Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV, % | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area (%) | CV, %
NISTmAb Unstressed | [9 empty] | NISTmAb Unstressed
Heavy
Calculated Values | Monomer Purity (%) | Stdev | CV, % | [6 empty] | Calculated Values | Heavy Chain Relative Abundance, % | Stdev | CV, % |  | Light Chain Relative Abundance, % | Stdev | CV, % |  | Glycan Occupany of Heavy Chain, % | Stdev | CV, % | Thioether Relative Abundance, % | Stdev | CV, %
Non-reduced | [9 empty] | Reduced
Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV,% | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area for all peaks (%) | CV, % | Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV, % | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area (%) | CV, %
Amgen mAb Stir stressed | [9 empty] | Amgen mAb Stir stressed
Heavy
Calculated Values | Monomer Purity (%) | Stdev | CV, % | [6 empty] | Calculated Values | Heavy Chain Relative Abundance, % | Stdev | CV, % |  | Light Chain Relative Abundance, % | Stdev | CV, % |  | Glycan Occupany of Heavy Chain, % | Stdev | CV, % | Thioether Relative Abundance, % | Stdev | CV, %
Non-reduced | [9 empty] | Reduced
Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV,% | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area for all peaks (%) | CV, % | Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV, % | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area (%) | CV, %
NISTmAb Stir stressed | [9 empty] | NISTmAb Stir stressed
Heavy
Calculated Values | Monomer Purity (%) | Stdev | CV, % | [6 empty] | Calculated Values | Heavy Chain Relative Abundance, % | Stdev | CV, % |  | Light Chain Relative Abundance, % | Stdev | CV, % |  | Glycan Occupany of Heavy Chain, % | Stdev | CV, % | Thioether Relative Abundance, % | Stdev | CV, %
Non-reduced | [9 empty] | Reduced
Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV,% | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area for all peaks (%) | CV, % | Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV, % | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area (%) | CV, %
Amgen mAb light stressed | [9 empty] | Amgen mAb light stressed
Heavy
Calculated Values | Monomer Purity (%) | Stdev | CV, % | [6 empty] | Calculated Values | Heavy Chain Relative Abundance, % | Stdev | CV, % |  | Light Chain Relative Abundance, % | Stdev | CV, % |  | Glycan Occupany of Heavy Chain, % | Stdev | CV, % | Thioether Relative Abundance, % | Stdev | CV, %
Non-reduced | [9 empty] | Reduced
Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV,% | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area for all peaks (%) | CV, % | Sample Name | Peak Number (including any standards) | Migration Time (Range) | Peak Identity | MW | CV, % | Corrected Peak Area | CV, % | Corrected Peak Area/Total Corrected Area (%) | CV, %
NISTmAb light stressed | [9 empty] | NISTmAb light stressed
Heavy
Calculated Values | Monomer Purity (%) | Stdev | CV, % | [6 empty] | Calculated Values | Heavy Chain Relative Abundance, % | Stdev | CV, % |  | Light Chain Relative Abundance, % | Stdev | CV, % |  | Glycan Occupany of Heavy Chain, % | Stdev | CV, % | Thioether Relative Abundance, % | Stdev | CV, %
3. Additional Notes/Comments: