## Document Information
OSAC Registry Request Comment Adjudication Template
Document Title | ASTM E2329-14 - Standard Practice for Identification of Seized Drugs
Requesting Subcommittee | Seized Drugs
Subcommittee Chair |  | Subcommittee Technical Contact
Name: | Sandra Rodriguez-Cruz | Name: | Sandra Rodriguez-Cruz
Affiliation: | DEA | Affiliation | DEA
Email: | senidrcruz@gmail.com | Email: | senidrcruz@gmail.com
Phone: | 760-597-7936 | Phone: | 760-597-7936
Beginning Comment Period Date | 2015-08-14
End Comment Period Date | 2015-09-13
Comment Adjudication Meeting Dates | There were no in-person meetings. Subcommittee met via conference call on October 29, 2015 (17 members present).
# of Members Present | Voting on the adjudication comments was completed via Kavi on November 12, 2015.
Note: This template is intended for use by all subcommittees considering a new document for addition into registry.

## Comment Adjudication
Id | Person First Name | Person Last Name | Assigned To | Origin | Category | Section | Page | Line | Subject | Comment | Proposal | Response | Status | Resolution | Disposition | Resolution Date and Vote Outcome | Company Name | Interest Category | Submission Date | Group Name | Document Name | Revision Number | Document Description | History
206 | Hiram | Evans |  | Public Review | Substantive | 5 |  |  | Categories | Move microcrystal tests from Category B to Category A as this technique is capable of differentiating optical isomers from each other and from racemates; other Category A techniques generally can with derivatization, i.e. altering the analyte | Move microcrystal tests from Category B to Category A | Not persuasive. Category A techniques require a theoretical basis that underpins the findings which are used to anticipate or predict responses of the technique. For instance, mass spectrometry uses relative bond strength, mechanistic and leaving group considerations to be able to predict mass fragments that will be observed. FTIR uses changes in dipole moment, which are known for specific functional groups and can be predicted before the experiment is conducted. Raman uses electronic transitions that can be calculated for particular molecular structures. H1 NMR peaks can be calculated from appearance in a functional group and J coupling considerations. Lastly, X-ray diffractometry behaves according to predictions of structural results of ab initio calculations. By contrast, the results of Category B techniques may have theoretical underpinnings, but have broad responses such that other compounds are known to interfere (e.g. chromatography), or the technique is reference driven (pharmaceutical identifiers) or the examination is not chemically based (cannabis examination) or, lastly, the technique provides results that are established empirically (microcrystal tests). In short, Category A tests use techniques that provide structural information, Category B includes techniques that do not provide structural information, but provide a high degree of selectivity and Category C tests are useful examinations, but do not fall neatly into either of the other categories. While microcrystalline analyte/reagent complexes can (and some have been) characterized by x-ray crystallographic structures, the resulting observed microcrystal form and habit cannot be predicted. The vast amount of work that has been done to characterize microcrystal forms have been developed empirically. Additionally, while it has been shown that particular microcrystalline techniques can distinguish between two very similar compounds in some (but not all) cases, it does not mean it’s capable of distinguishing a separate set of completely unrelated compounds unless it is tested empirically. There is no a priori predictive theory that would allow one to determine that an observed microcrystal form would not be reproduced by another compound with the same reagent. Furthermore, while certain microcrystalline tests can be very specific, there are examples of non-specific microcrystal examinations that could not differentiate among closely related compounds. An article by Manura in JFS, 1978, vol 23 indicates that among 57 morphine derivatives, any one crystal test can yield the same/similar results among several related compounds, whereas using two carefully selected crystal tests allows differentiation among all 57 morphine derivatives. There are other known examples of non-specific microcrystalline tests. If microcrystal tests were elevated to Category A, one interpretation of this standard practice would be to allow a laboratory to select one non-specific microcrystal test, run a color test and effect an identification. This, to be sure, would be troubling indeed if the selected microcrystal test results were indistinguishable from other compounds. It is for these reasons that the subcommittee recommends to keep microcrystal tests Category B and finds the suggestion to elevate the technique to Category A non-persuasive. | New | Not persuasive | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes | Forensic Science Consultancy |  | 2015-09-02 22:54 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-02 22:54:22 - 172.18.0.4 - - Added new comment 2015-09-02 22:54:22 - 172.18.0.4 - - Updated submitter info 2015-09-02 22:54:22 - 172.18.0.4 - - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-02 22:54:22 - 172.18.0.4 - - Updated comment info: category=Substantive ¦ section=5 ¦ item=Table ¦ page= ¦ line= ¦ proposal updated
207 | Hiram | Evans |  | Public Review | N/A | 6.1.4.2 |  |  | Documentation | strike "as well as" and substuitute "or" | Strike "as well as" and substitute "or" | Editorial. As written, there is one interpretation of this section that would require recording images photomicrographically in addition to contemporaneous peer review rather than allowing the laboratory to select one. This interpretation is overreaching. Compare this requirement to 6.1.4.3 for botanical exhibits where "recording of detailed descriptions OR digital images..." is allowed. If photographs for microcrystals is mandated, this could become a slippery-slope to requiring that, for instance, all results of color tests would have to be photographed instead of simply reporting the resulting color in the notes. Additionally, as written, two Category B types of testing seem to have differing levels photodocumentation requirement. This section is preceded in 6.1.4 with "Examples of reviewable data are" which does allow the laboratory to elect the type of data to collect for microcrystalline tests, but this section should be reworded at the next opportunity. | New | Editorial - review requested | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes | Forensic Science Consultancy |  | 2015-09-02 22:57 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-02 22:56:39 - 172.18.0.4 - - Added new comment 2015-09-02 22:56:40 - 172.18.0.4 - - Updated submitter info 2015-09-02 22:56:40 - 172.18.0.4 - - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-02 22:56:40 - 172.18.0.4 - - Updated comment info: category=N/A ¦ section=6.1.4.2 ¦ item=Paragraph ¦ page= ¦ line= ¦ proposal updated
224 | Timothy | Tripp |  | Public Review | N/A | E2329-14 | 2015-01-02 | 5.1 & 6.1.7 | Two technical items for review toward intent | Standard 5.1 outlines Category techniques. GCMS is a Category A. I expect the intent was for full scan spectral data to be the Category A; however, this is not stated. Could the policy be inferred that a SIM on GCMS would be sufficient for identification? (albeit the policy references only molecular weight as lower discriminatory) Statement toward intent of full scan may be beneficial. Standard 6.1.7 allows for dual technique to serve as both Category A & B, however, it would then be based on only one sampling. Potential reminder that best practices would still require a 2nd sampling of an additional technique? I would think a QA/QC consideration would be to clarify this as to not allow single samplings where practicable. | 5.1 Category A table lists "Mass Spectrometry" make it read Mass Spectrometry (Full Scan Mode) 6.1.7 (current wording fine) Add qualifying statement "additional testing may be needed to conform with 6.1.6.1" | 5.1 - Not persuasive - Section 5.1 ends with "classification of the technique may be lower if the sample, analyte, or mode of operation diminishes its discriminating power." Further, Section 5.1.1.2 specifies one example of the varying degree of discriminating power for MS, which addresses an aspect of the submitter's concern that SIM could be deemed "acceptable". Addition of "full scan mode" to E2329 would not be suitable--one laboratory may elect to scan from m/z = 15 to 400 at unit resolution and another may elect m/z = 40 to 600 with 1/2 amu resolution and a third may have a system that alternates between SIM and full scan throughout the chromatographic peak--it is not the purview of this document to decide or mandate one of these over the other; it is the purview of this document to state that these three situations do not represent equivalently discriminatory techniques and that should be considered by the laboratory when developing an analytical scheme. 6.1.7 - Not persuasive - A hyphenated method can provide orthogonal evidence to effect an identification. While it is true that the practice of second sampling is a good approach (indeed it is identified in Section 6.1.6.1 as a QA measure) it is not the only way to ensure a robust QA program: sample homogenization and reanalysis are other examples of ways a laboratory could effectively achieve the same end. This purpose of this document is to guide a laboratory toward making good choices in its analytical scheme, not to dictate exactly how to do so. | New | Not persuasive | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes | Illinois State Police Forensic Sciences Command |  | 2015-09-11 18:19 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-11 18:19:24 - 172.18.0.4 - - Added new comment 2015-09-11 18:19:24 - 172.18.0.4 - - Updated submitter info 2015-09-11 18:19:24 - 172.18.0.4 - - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-11 18:19:24 - 172.18.0.4 - - Updated comment info: category=N/A ¦ section=E2329-14 ¦ item=Paragraph ¦ page=1-2 ¦ line=5.1 & 6.1.7 ¦ proposal updated
225 | Sebastian | Sparenga |  | Public Review | N/A | 5 | 2 | Table 1 | ASTM E2329-14 Table 1: Categories of Analytical Techniques | I believe this procedure should not be adopted with Table 1 as written, specifically with microcrystalline tests as a Category B item. Microcrystalline tests are highly discriminatory, sensitive, and specific, and thus should be moved into Category A. They have been widely and successfully used in laboratories for decades, and in some cases, centuries. The methods have stood the test of time and are well-established and reliable. One study in particular (Nichols, "Drug Proficiency Test False Positives: A Lack of Critical Thought," Science & Justice, 1997; 37:191-196) showed that these methods are no less reliable than instrumental methods of analysis. This study demonstrated that laboraties using microcrystalline tests made no errors in the identification of target compounds in proficiency tests conducted over an eight year period. There is no information regarding why microcrystalline tests are downgraded to Category B. Other techniques in this category (GC, TLC, etc.) lack the specificity and discriminatory power of microcrystalline tests. Microcrystalline tests fit more appropriately in Category A, especially compared to Infrared Spectroscopy (a Category A technique). IR does not easily distinguish between isomers such as d-amphetamine and d,l-amphetamine, whereas they may be readily differentiated using microcrystalline tests. Although I understand that this public comment is meant more for whether E2329-14 should be included in the OSAC Registry, I feel this issue is too important to ignore, and thus should be addressed before it is adopted by OSAC. | Move microcrystalline tests from Category B to Category A. | Previously considered. See response to entry ID 206. | New | Previously considered | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes | McCrone Research Institute |  | 2015-09-11 19:35 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-11 19:35:14 - 172.18.0.4 - - Added new comment 2015-09-11 19:35:14 - 172.18.0.4 - - Updated submitter info 2015-09-11 19:35:14 - 172.18.0.4 - - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-11 19:35:14 - 172.18.0.4 - - Updated comment info: category=N/A ¦ section=5 ¦ item=Table ¦ page=2 ¦ line=Table 1 ¦ proposal updated
233 | John Paul | Jones II |  | Public Review | N/A | 1 | 1 | 1 | LRC Comments on ASTM E2329 | See attached document (comments submitted by Lynn Garcia for LRC) | see attached document | See Seized Drugs subcommittee responses within LRC document. | New | Not persuasive | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes | NIST |  | 2015-09-16 15:16 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-16 15:15:46 - 172.18.0.4 - john.jones@nist.gov - Added new comment 2015-09-16 15:15:46 - 172.18.0.4 - john.jones@nist.gov - Updated submitter info 2015-09-16 15:15:46 - 172.18.0.4 - john.jones@nist.gov - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-16 15:15:46 - 172.18.0.4 - john.jones@nist.gov - Updated comment info: category=N/A ¦ section=1 ¦ item=N/A ¦ page=1 ¦ line=1 ¦ proposal updated
236 | Human Factors Committee (HFC) | Human Factors Committee (HFC) |  | Public Review | N/A | All | All | All | HFC Comments on ASTM 2329 | 1. The Role of Subjective Judgment This standard establishes three categories of analytical techniques for identification of drugs. It calls for more than one technique to be used and specifies (in some instances) that the techniques used be drawn from different categories. However, it makes an exception for the identification of botanical materials, such as cannabis. Section 6.1.3 states: “Identification of botanical material may be made utilizing morphological characteristics (Category B) alone provided sufficient botanical features appropriate for identification are observed. “ Hence, identification of botanicals like cannabis may rest solely on the subjective judgment of an analyst. No criteria are provided for how the analyst should exercise this subjective judgment. To say that the analyst should identify the botanical as cannabis when “sufficient botanical features appropriate for identification are observed” does not provide a standard or criterion for making that determination. It is entirely up to the analyst to determine what is “sufficient.” There is nothing inherently wrong with relying on the subjective judgment of experts to make forensic determinations. However, subjective human judgments (particularly those made in the absence of objective criteria) are not always reliable and may be susceptible to cognitive and contextual bias. Consequently, the Human Factors Committee recommends that a several steps be taken whenever important forensic determinations depend on subjective judgment. • First, the procedures should be validated before adoption by testing the accuracy of trained analysts on samples of known origin. There should be research testing how accurately trained analysts can distinguish illegal substances like cannabis from legal botanicals that might be mistaken for an illegal substance. Those advocating the use of subjective human judgment for making these determinations should bear the burden of demonstrating that such judgments can be made reliably and accurately by trained analysts. • Second, there should be routine blind proficiency testing of analysts who perform these tasks to assure that they have been trained to proficiency. • Third, laboratories should adopt context management procedures to reduce the chances that analysts’ subjective judgments will be influenced inappropriately by task-irrelevant contextual information. It may well be appropriate to address these matters in other standards rather than in a revision of this proposed standard. But the Human Factors Committee believes strongly that these matters should be addressed whenever important forensic determinations depend on subjective judgment. |  | Not persuasive - Trained botanists may make conclusions on the basis of their education and training--it is not the purview of this document to disallow a trained botanist to NOT identify marijuana on a botanical basis. The subjectivity of this type of analysis is as subjective as the field of botany. For botanists and non-botanists alike, it is the role of laboratories to identify criteria for a suitable botanical analysis. There are features that are not subjective such as presence of palmate structure or serrated edges. Other features may require training in order to interpret the feature: cystoliths and bud structure. This document is making an allowance for the laboratory to elect to use botanical analyses, however, this document's role is not to dictate how. • First point: that "procedures should be validated before adoption by testing the accuracy of trained analysts on samples" is already addressed in 1.4 stating "This practice does not replace knowledge, skill, ability, experience, education or training and should be used in conjunction with professional judgement." Of course a laboratory needs to validate its methods which is covered in E2549 referenced herein in Section 2; the goal of this document is broader and is guiding the choice of an entire analytical scheme. • Second point: proficiency testing is covered in E2327 also referenced in Section 2 of this document • Third point: "management procedures to reduce... task irrelevant contextual information" The thrust of E2329 is to provide labortories with the minimum scientific criteria necessary to consider an identification scheme complete based on scientific principles, not hunches or suggestion. | New | Not persuasive | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes |  |  | 2015-09-16 16:39 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Added new comment 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Updated submitter info 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Updated comment info: category=N/A ¦ section=1 ¦ item=N/A ¦ page=1 ¦ line=1 ¦ proposal updated
| Human Factors Committee (HFC) | Human Factors Committee (HFC) |  | Public Review | N/A | All | All | All | HFC Comments on ASTM 2329 | 2. The “Expectation of No Uncertainty” Section 4.2 states: “It is expected that in the absence of unforeseen error, an appropriate analytical scheme effectively results in no uncertainty in reported identifications.” Similarly, Section 6.1.8 states: “The chosen analytical scheme shall…preclude a false positive identification…” The expectation of “no uncertainty” in reported identifications is inconsistent with the growing recognition that all forensic sciences are ultimately probabilistic and that error rates need to be established empirically (see the 2009 NAS report). Like the discredited claim that latent print analysis has a “zero error rate,” these statements seem anachronistic, no longer in keeping with the level of analytic rigor now expected in forensic science. Moreover, the statement that there is “no uncertainty” absent “unforeseen error” is effectively self-cancelling. From a human factors perspective it is entirely foreseeable that there will be unforeseen errors, which means, as a practical matter, that complete certainty is unobtainable. While we have no objection to aspirational statements (e.g., “forensic scientists should always strive for certainty and should try to have an error rate of zero”), we worry that the quoted statements from these standards confuse aspirations with reality. As with the comments above, it may well be appropriate to address these matters in other standards, rather than in a revision of this proposed standard. But the Human Factors Committee believes that guidelines are needed on when, if ever, forensic science conclusions should be stated as a matter of certainty and when, if ever, forensic scientists should claim that errors have been “precluded.” In the absence of clear guidelines on these issues, there is a danger that forensic scientists may read the adoption of standards like these as license to make such claims. |  | Editorial review requested - 4.2 The intent of the document is to provide a framework for a laboratory to select an appropriate analytical scheme from among good methods. This document sets the minimum standard. It is in this context that 4.2 is written; that is, when enough appropriate tests are selected and run, then the resultant conclusion is not in question. The use of the word "uncertainty" is not in an absolute statistical sense and can be revisited upon editorial review, however, it does not take away the focus of the document being to guide a laboratory to do enough testing to be sure of the conclusion. Additionally, as written, an intepretation of 4.2 allows for the of the stated purpose of setting the minimum number of tests that a laboratory needs to conduct before issuing a conclusion, thus the document need not be changed before placing on the registry. Not persuasive - 6.1.8 Similar to comments made by the LRC, the HFC points out that error rates should be assigned to qualitative techniques, yet no suggestions on how to do so are provided. For qualitative assessments, there is not a way to assign error rates across laboratory systems since analytical schemes are varied--this would have to be done within each laboratory. For quantitative measurements, error rates are a natural extension of the data because errors associated with equipment and software can be calculated. However, without a step-by-step procedure for every analytical method, even errors in quantitative data need to be calculated lab by lab. It is not in the scope of a document that guides analytical choices of laboratories to address error. | New | Editorial - review requested | Resolved | Resolution Date: 11/12/2015 Vote Outcome: YES-16 votes; NO-0 votes |  |  | 2015-09-16 16:39 | SAC Chemistry/Instrument Analysis | Link to - ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 0 | This link will provide access to ASTM to view: ASTM E2329-14 Standard Practice for Identification of Seized Drugs | 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Added new comment 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Updated submitter info 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Updated comment info: section=N/A ¦ category=Editorial ¦ state=New ¦ response=None 2015-09-16 16:38:50 - 172.18.0.4 - john.jones@nist.gov - Updated comment info: category=N/A ¦ section=1 ¦ item=N/A ¦ page=1 ¦ line=1 ¦ proposal updated

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Editorial - review requested | There is general agreement with edit given, edit by SDO may be requested
Persuasive - review required | General agreement with negative comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee
No response needed | Comment does not require a response
Resolution categories
Term | Definition
Resolved | Response has been adjudicated (agreed and voted on)
Unresolved | Response has not been adjudicated (agreed and voted on)