Panel IV:  Building Environment and Using EM/Light – Overview & Best Practices and Use of Em/Light to Date, Gaps in Research

David J. Weber, MD, MPH, FSHEA, FIDSA, FRCM1*

1Division of Infectious Diseases, University of North Carolina at Chapel Hill

*Corresponding author:  	David J. Weber, MD, MPH

Bioinformatics Building, Suite 2163, Campus Box 7-3-

130 Mason Farm Road, Chapel Hill, NC 28599-7030

dweber@unch.unc.edu

There is substantial evidence that environmental contamination leads to patient acquisition of multidrug-resistant organisms (MDROs) and improved cleaning/disinfection reduce healthcare-associated infections (HAIs): 1) Hospital room surfaces are frequently contaminated withMDROs; 2) MDROs survive days to months; 3) rooms frequently inadequately cleaned; 4) Rooms are frequently contaminated post-terminal disinfection; 5) disinfection reduces contamination; 6) improved terminal disinfection reduces HAIs; 6) enhanced terminal disinfection (e.g., UV-C devices) reduces risk of MDR colonization/infection in subsequent patient admitted to the room; 7) enhanced terminal disinfection of rooms with a colonized or infected patient may lead to hospital-wide decrease in HAIs.

Ultraviolent light (UV) light is now widely used for terminal room decontamination of hospital rooms.  Most devices use UV-C irradiation with a wavelength of 254nm.  Advantages of UV devices for terminal room disinfection include the following: 1) reliable biocidal activity against a wide range of pathogens; 2) surfaces and equipment decontaminated; 3) demonstrated effectiveness to reduce healthcare associated infections (HAIs) in before-after studies and randomized clinical trial; and, 4) residual free and does not give rise to health and safety concerns.  Limitations for using UV for terminal room disinfection include: 1) can only be done for terminal disinfection; 2) all patients and staff must be removed from room; 3) requires 5-15 min for killing of vegetative bacteria and 10-45 min for inactivation of spores (e.g., C. difficile); 4) requires direct or indirect line of sight for microbial inactivation; 5) substantial capital equipment costs; and 6) does not remove dust and stains which are important to patients/visitors.

Multiple clinical trials have demonstrated that use of a UV room disinfection device following standard cleaning/chemical disinfection of rooms that housed a patient with an MDRO results in a lowered risk of a subsequent occupant to develop colonization or infection with the MDRO and may lead to a hospital-wide decrease in MDROs.  Although most study used a before-after design and did not determine that there was no change in hand hygiene and room cleaning compliance some studies have assessed hand hygiene and cleaning compliance and used a more sophisticated design (e.g., prospective cohort or randomized clinical trial).

Future research using UV room disinfection devices should focus on the following:  1) demonstrate overall hospital reduction in HAIs by using UV devices for patients on contact precautions (e.g., CRE); 2) assess effectiveness of room disinfection units when used for terminal disinfection of all patients (not just those on contact isolation); 3) assess effectiveness in other settings (e.g., nursing homes, day care centers, veterinary hospitals, etc.)

References

- Rutala WA, Weber DJ.  Best practices for disinfection of noncritical environmental surfaces and equipment in health care facilities: A bundle approach.  Am J Infect Control. 2019 Jun;47S:A96-A105.

- Chen LF, Knelson LP, Gergen MF, Better OM, Nicholson BP, Woods CW, Rutala WA, Weber DJ, Sexton DJ, Anderson DJ; CDC Prevention Epicenters Program.  A prospective study of transmission of Multidrug-Resistant Organisms (MDROs) between environmental sites and hospitalized patients-the TransFER study.  Infect Control Hosp Epidemiol. 2019 Jan;40(1):47-52..

- Rutala WA, Kanamori H, Gergen MF, Knelson LP, Sickbert-Bennett EE, Chen LF, Anderson DJ, Sexton DJ, Weber DJ; the CDC Prevention Epicenters Program.  Enhanced disinfection leads to reduction of microbial contamination and a decrease in patient colonization and infection.  Infect Control Hosp Epidemiol. 2018 Sep;39(9):1118-1121.

- Anderson DJ, Moehring RW, Weber DJ, Lewis SS, Chen LF, Schwab JC, Becherer P, Blocker M, Triplett PF, Knelson LP, Lokhnygina Y, Rutala WA, Sexton DJ; CDC Prevention Epicenters Program.  Effectiveness of targeted enhanced terminal room disinfection on hospital-wide acquisition and infection with multidrug-resistant organisms and Clostridium difficile: a secondary analysis of a multicentre cluster randomised controlled trial with crossover design (BETR Disinfection).  Lancet Infect Dis. 2018 Aug;18(8):845-853

- Anderson DJ, Knelson LP, Moehring RW, Lewis SS, Weber DJ, Chen LF, Triplett PF, Blocker M, Cooney RM, Schwab JC, Lokhnygina Y, Rutala WA, Sexton DJ; CDC Prevention Epicenters Program.  Implementation Lessons Learned From the Benefits of Enhanced Terminal Room (BETR) Disinfection Study: Process and Perceptions of Enhanced Disinfection with Ultraviolet Disinfection Devices.  Infect Control Hosp Epidemiol. 2018 Feb;39(2):157-163.

- Anderson DJ, Chen LF, Weber DJ, Moehring RW, Lewis SS, Triplett PF, Blocker M, Becherer P, Schwab JC, Knelson LP, Lokhnygina Y, Rutala WA, Kanamori H, Gergen MF, Sexton DJ; CDC Prevention Epicenters Program.  Enhanced terminal room disinfection and acquisition and infection caused by multidrug-resistant organisms and Clostridium difficile (the Benefits of Enhanced Terminal Room Disinfection study): a cluster-randomised, multicentre, crossover study.  Lancet. 2017 Feb 25;389(10071):805-814.

- Weber DJ, Kanamori H, Rutala WA.  'No touch' technologies for environmental decontamination: focus on ultraviolet devices and hydrogen peroxide systems.  Curr Opin Infect Dis. 2016 Aug;29(4):424-31.

- Weber DJ, Rutala WA, Anderson DJ, Chen LF, Sickbert-Bennett EE, Boyce JM.  Effectiveness of ultraviolet devices and hydrogen peroxide systems for terminal room decontamination: Focus on clinical trials.  Am J Infect Control. 2016 May 2;44(5 Suppl):e77-84.

- Weber DJ, Anderson D, Rutala WA.  The role of the surface environment in healthcare-associated infections.  Curr Opin Infect Dis. 2013 Aug;26(4):338-44.

- Weber DJ, Anderson DJ, Sexton DJ, Rutala WA.  Role of the environment in the transmission of Clostridium difficile in health care facilities.  Am J Infect Control. 2013 May;41(5 Suppl):S105-10.