## DLS
Template for Reporting Data: Dynamic Light Scattering
Please complete the green boxes to the extent possible.
Lab name (e.g. NIST)
1. Method Information
Instrument Information |  | Measurement Settings |  | Additional Parameters
Manufacturer |  | Temperature (°C) | 25 | Solvent viscosity at 25 °C (cP) | 0.89
Model |  | Equilibration time prior to measurement (s) | 60 | Solvent refractive index | 1.33
Laser wavelength (nm) |  | Delay between measurements (s) | 0 | dn/dc (mL/g), for optional SLS | 0.187
DLS detector angle, in air (°) |  | Acquisition Time (s) (Optional, as specified by instrument) |  | Particle refractive index | 1.41
SLS detector angle (°), optional |  | Number of acquisitions per measurement (Optional, as specified by instrument)
Software version |  | Total time per measurement (s)
Sample cell type (plate reader, flow cell, cuvette) |  | Attenuation | Auto
Sample volume for each replicate (µL) |  | Positioning method
Bead controls analyzed
2. Summary of data
Analyst Initials
Measurement Date
Hours samples were stored at (2-6)˚C prior to measurement
Definition of size used (specify radius or diameter)
Sample identity | Amgen stir-stressed |  |  |  |  | NISTmAb stir-stressed |  |  |  | Amgen unstressed |  |  |  | NISTmAb unstressed |  |  |  | Amgen light |  |  |  | NISTmAb light
Sample name
Sample concentration (mg/mL)
Sample preparation, if any (centrifugation, spinning down, etc.) |  | Briefly describe procedure
Number of measurements | 3 |  |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3
Mean count rate, across measurements, (Cnt/s) | Mean: | Stdev: |  |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev:
Mean Z-average radius or diameter (cumulants analysts), nm | Mean: | Stdev: |  |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev:
Mean polydispersity index | Mean: | Stdev: |  |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev:
Mw (kDa) (optional, if used with SLS) | Mean: | Stdev: |  |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev: |  |  | Mean: | Stdev:
| Peak Number | Size (nm) | Stdev | % Intensity |  | Peak Number | Size (nm) | Stdev | % Intensity | Peak Number | Size (nm) | Stdev | % Intensity | Peak Number | Size (nm) | Stdev | % Intensity | Peak Number | Size (nm) | Stdev | % Intensity | Peak Number | Size (nm) | Stdev | % Intensity
| 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
| 2 |  |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2
3. Additional Notes/Comments:
Note on AB34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Specify radius or diameter