## Sheet1
Sections 6.2 - Accuracy
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirements: | Under standard test conditions with calibration controls adjusted according to the instructions of the manufacturer, the relative error of indication of the instrument shall not exceed ± 30 % over the entire effective range of exposure rates.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
| Instrument maximum measurement range: |  |  |  | mR/h
Measurement Results - Instruments
Exposure rate values
|  | 0.1 | mR/h | 5 | mR/h | 0 | mR/h
| 1 |  | mR/h |  | mR/h |  | mR/h
| 2 |  | mR/h |  | mR/h |  | mR/h
| 3 |  | mR/h |  | mR/h |  | mR/h
| 4 |  | mR/h |  | mR/h |  | mR/h
| 5 |  | mR/h |  | mR/h |  | mR/h
| 6 |  | mR/h |  | mR/h |  | mR/h
| 7 |  | mR/h |  | mR/h |  | mR/h
| 8 |  | mR/h |  | mR/h |  | mR/h
| 9 |  | mR/h |  | mR/h |  | mR/h
| 10 |  | mR/h |  | mR/h |  | mR/h
| Mean | #DIV/0! | mR/h | #DIV/0! | mR/h | #DIV/0! | mR/h
| Acceptance Range | 0.07 | 0.13 | 3.5 | 6.5 | 0 | 0
|  | - 30% | + 30% | - 30% | + 30% | - 30% | + 30%
Test Results
| Are the results within ±30% ? |  | Yes | No
0.1 mR/h
5 mR/h
80 % of maximum range
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: