## Sheet1
Sections 10 - Documentation
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirements: | 10.1 Type test report The manufacturer shall provide a report covering the type tests performed in accordance with the requirements of this standard. 10.2 Certiﬁcate The manufacturer shall provide a certiﬁcate or other documentation containing at least the following information: (Requirements in data collection section)
| Note: | Only one data sheet per model is required. Comments are required when a test requirement is not verified.
| Requirement |  |  | Yes | No
Did the manufacturer provide a report on the tests performed?
Was contact information provided in the manual?
Did the manual describe the type of detector?
Was the exposure rate range defined in the manual?
Were the reference point and reference orientations described?
Was information provided about the location and dimensions of sensitive volume of detectors?
Was information provided regarding the wall thickness and materials?
Was information provided regarding energy response?
Was information provided angle of incidence response?
Was information on accuracy, linearity and lower limit of detections provided?
Was the weight and dimensions provided?
Did the manual contain information about battery requirements?
Were results under environmental conditions provided?
Were results of electrical tests provided?
Were results of mechanical tests provided?
Did operation instructions contain schematic electrical diagrams?
Did operation instructions contain spare parts?
Did operation instructions contain specifications?
Did operation instructions contain troubleshooting guide?
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date: