## Sheet1
Section 5.4 - Exposure Rate Range
Test Data and Report
Manufacturer:
Model: |  | Serial Number:
Requirement: | The instrument shall have an operating range from 5 µR/h (0.05 µGy/hr) to at least 10 mR/h (0.1 mGy/h).
Note: | Comments are required when the requirement is not verified.
Verify
|  |  | Yes | No
Does the stated range meet the requirement?
|  | What is the stated response range of the instrument? |  |  | (add units)
Comments:
Performed by: |  | Date:
Reviewed by: |  | Date: