## Sheet1
Sections 5.8 - Mass
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirements: | Instruments shall be less than 3.0 kg (6.6 lbs).
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: | °C | %RH |  | mmHg
Test Equipment Used:
Verify
[6 empty] | Yes | No
Is the mass less than 3 kg?
What is the mass (grams)?
Comments:
| Completed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: