## Sheet1
Sections 6.3 - Photon Energy Response
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirements: | The instrument shall respond to photon radiation between 60 keV and 1.33 MeV. The response shall be within ±50% of the applied exposure rate normalized to 137Cs. NOTE: Section not required for Level 1 testing.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
Background reading: |  |  |  |  | (add units)
Measurement Results
|  |  | 241Am | 60Co | 137Cs
Applied Exposure Rates
(add units)
Instrument Readings
|  | 1 |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0!
|  | Std dev | #DIV/0! | #DIV/0! | #DIV/0!
|  | COV % | #DIV/0! | #DIV/0! | #DIV/0!
Acceptance ranges
|  | low (- 50%) | 0 | 0 | 0
|  | high (+ 50%) | 0 | 0 | 0
Test Results
Was the response within ± 50 % of the applied exposure rate?
|  |  | 241Am | 60Co | 137Cs
Yes
No
Comments:
| Completed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: