## Sheet1
Section 7.2 Temperature Shock
Test Data and Report
Manufacturer:
| Model: | [8 empty] | Serial Number:
| Requirement: | The instrument shall be fully functional within 30 min of exposure to rapid temperature changes from 22 °C to –20°C, –20°C to 22 °C, 22 °C to 50 °C, and 50 °C to 22 °C with each change being made in less than 5 min. Relative humidity shall be within the range specified in Table 1.
|  | Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Source Data:
Measurement Results
| pre-test at 22°C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C |  |  |  | 22 to -20° C |  |  |  | -20 to 22° C
[5 empty] | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
1 |  |  |  | 1
2 |  |  |  | 2
3 |  |  |  | 3
4 |  |  |  | 4
5 |  |  |  | 5
6 |  |  |  | 6
7 |  |  |  | 7
8 |  |  |  | 8
9 |  |  |  | 9
10 |  |  |  | 10
Mean | #DIV/0! |  |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV % | #DIV/0! |  |  | COV % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Was the mean reading within the acceptance range? |  |  | Yes
No
| Did instrument alarm due to the temperature test alone? |  |  | Yes
No
|  | (± 15%) Acceptance Range: | #DIV/0! | to | #DIV/0!
|  |  | low 15% |  | high 15%
Comments:
| Completed by: | [5 empty] | Date: |  |  |  |  | Reviewed by: | [5 empty] | Date: