## Sheet1
Sections 7.3 - Humidity
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirements: | The instrument shall function correctly over the range of relative humidity from 40% to 93% RH at 35 ºC.
| Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Source Data:
Measurement Results - 137Cs
Nominal
|  |  | 40% RH | 93% RH | 40% RH
|  |  | 22° C | 35° C | 35° C
|  | 1 |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0!
|  | STD | #DIV/0! | #DIV/0! | #DIV/0!
|  | COV % | #DIV/0! | #DIV/0! | #DIV/0!
| Were the results within tolerance? |  | Yes
No
| Did any alarms occur from humidity exposure alone? |  | Yes
No
Acceptance Range
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low 15% |  | high 15%
Comments:
| Completed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: