## Sheet1
Section 8.1 Electrostatic Discharge
Test Data and Report
Manufacturer:
| Model: |  |  |  |  | Serial Number:
| Requirements: | During exposure to electrostatic discharges at intensities of up to 6 kV using the contact discharge technique, the instrument shall function correctly. No alarms shall occur as a result of the electrostatic discharge alone.
| Note: | Comments are required when a test requirement is not verified.
|  | Ambient Conditions: |  | °C |  | % RH |  | mmHg
Test Equipment Used:
Source Data:
Exposure or Count Rate Response
| Pre-Test Response |  | Gamma Response
|  |  | 2 kV | 4 kV | 6 kV
1 |  | 1 |  |  |  | (add units)
2 |  | 2
3 |  | 3
4 |  | 4
5 |  | 5
6 |  | 6
7 |  | 7 |  |  |  |  | Acceptance Range
8 |  | 8
9 |  | 9 |  |  |  |  | #DIV/0! | to | #DIV/0!
10 |  | 10 |  |  |  |  | low (-15%) |  | high (+15%)
Mean | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
Were the results within the acceptance range?
|  |  |  | 2 kV | 4 kV | 6 kV
Yes
No
Did the instrument alarm during testing?
Yes
No
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: