## Sheet1
Sections 8.3 - Magnetic Fields
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirements: | The instrument should be fully functional when exposed to a constant DC magnetic field in three mutually orthogonal orientations relative to a 10 Gauss magnetic field.
| Note: | Comments are required when a test requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
Measurement Results Without Sources
Orientation
|  |  |  | Initial |  | Second |  | Third
|  |  |  | Yes | No | Yes | No | Yes | No
Did the instrument alarm during the test?
Did the instrument display spurious indications?
Observations:
Measurement Results With Cs-137
| Initial Orientation |  | Second Orientation |  | Third Orientation
| Nominal | 10 Gauss | Nominal | 10 Gauss | Nominal | 10 Gauss
| Zero Intensity | (DC) | Zero Intensity | (DC) | Zero Intensity | (DC)
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Acceptance Range
|  | Initial Orientation: | #DIV/0! | to | #DIV/0!
|  | Second Orientation: | #DIV/0! | to | #DIV/0!
|  | Third Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: