## Section 10
Sections 10 - Documentation
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirements: | 10.1 Certiﬁcate A certiﬁcate shall accompany each hand held nuclide identiﬁer, giving at least the following information: a) Manufacturer’s name or registered trademark, b) Type of the instrument and serial number, c) List of radionuclides to which the instrument was tested, d) Exposure rate range, e) Tests performed 10.2 Operation and maintenance manual Each instrument shall be supplied with operating instructions, maintenance, and technical documentation.
| Note: | Only one data sheet per model is required. Comments are required when the requirement is not verified.
Verify
|  |  |  | Yes | No
Did a ceritifcate accompany the instrument?
If yes, did it included the following information:
Manufacturer's name of registered trademark?
Type of instrument and serial number?
List of radionuclides to which the instrument was tested?
Exposure rate range?
Tests performed?
| Was the following documentation supplied? |  |  | Yes | No
Operating instrumetions
Maintenance documentation
Technical documentation
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date: