## Section 5.4
Section 5.4 - Markings
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirements: | All external instrument controls, displays, and adjustments shall be identified as to function. Internal controls needed for operation shall be identified through markings and identification in technical manuals. External markings shall be easily readable and permanently fixed under normal conditions of use (including use of normal decontamination procedures). The following markings shall appear on the exterior of the instrument or each major subassembly (i.e., detector probe) as appropriate: 5.4.1.1 Manufacturer and model number, 5.4.1.2 Unique serial number, 5.4.1.3 Location of the effective center(s) or area(s) of detection (reference point) 5.4.1.4 Function designation for controls, switches, and adjustments that are not menu or software driven.
| Note: | Comments are required when the requirement is not verified.
Verify
[5 empty] | Yes | No
Manufacturer and model number
Unique serial number
Location of the effective center(s) or area(s) of detection
Function designation for controls, switches, and adjustments that are not menu or software driven
Photographs
Comments:
| Completed by: |  |  | Date:
| Reviewed by: |  |  | Date: