## Section 6.10
Section 6.10 False Identification
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirement: | The instrument shall not identify a radionuclide that is not present when operated in a stable and low ambient radiation background. An indication shall also be provided stating that the field is too low to perform an identification.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: | °C | %RH |  | mmHg
Test Equipment Used:
Isotope Identification Results
ID no source
| 1 |  |  |  | Yes | No
| 2 |  | Did instrument state "move closer" or "field too low", etc?
3
4
5
6
7
8
9
10
Number Correct
Comments:
| Completed by: |  |  | Date:
| Reviewed by: |  |  | Date: