## Section 6.11
Section 6.11 Interference from Surrounding Material
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
Requirement: |  | The instrument shall be able to identify radionuclides in the presence of backscattered radiation
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source data:
Test Equipment Used:
Radionuclide Identification Results
Cs-137
1
2
3
4
5
6
7
8
9
10
Number Correct
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: