## Section 6.13
Section 6.13 Neutron Response
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall indicate the presence of neutron radiation. If the instrument responds in count rate, no further testing other than that stated in 6.4.3 is required. If the instrument provides a dose equivalent rate response, the response shall be linear over its range and within ±50% of the CVT.
| Note: | Comments are required when the requirement is not verified. If this test does not apply, enter N/A for each of the ten readings.
|  | Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
| Manufacturer stated maximum response range: |  |  |  |  | mrem/h
Source Data:
Measurement Results
|  | 20% max range |  | 50% max range |  | 80% max range
|  | 0 | mrem/h | 0 | mrem/h | 0 | mrem/h
| Acceptance Range | 0 - | 0 | 0 - | 0 | 0 - | 0
| 1 |  | mrem/h |  | mrem/h |  | mrem/h
| 2 |  | mrem/h |  | mrem/h |  | mrem/h
| 3 |  | mrem/h |  | mrem/h |  | mrem/h
| 4 |  | mrem/h |  | mrem/h |  | mrem/h
| 5 |  | mrem/h |  | mrem/h |  | mrem/h
| 6 |  | mrem/h |  | mrem/h |  | mrem/h
| 7 |  | mrem/h |  | mrem/h |  | mrem/h
| 8 |  | mrem/h |  | mrem/h |  | mrem/h
| 9 |  | mrem/h |  | mrem/h |  | mrem/h
| 10 |  | mrem/h |  | mrem/h |  | mrem/h
| Mean | #DIV/0! | mrem/h | #DIV/0! | mrem/h | #DIV/0! | mrem/h
Comments:
| Performed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: