## Section 6.14
Section 6.14 Over-Range Characteristics for Identification
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The manufacturer shall state the maximum exposure rate (relative to 137Cs) for identification.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
|  |  | Manufacturer stated maximum exposure rate: |  | mR/h
Measurement Results
|  |  | Over-Range Test Exposure Rate: |  | mR/h
|  |  | Over-Range Exposure Duration: |  | min.
|  |  | Time to Recovery: |  | sec.
ID Cs-137
1
| 2 |  |  |  |  | Yes | No
| 3 |  |  | Did instrument provide indication that exposure rate was too high?
4
5
6
7
8
9
10
Number Correct
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: