## Section 6.17
Section 6.17 Over-Range Characteristics for Exposure Rate Indication
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall indicate that an over-range condition exists when the ambient exposure rate is greater than the manufacturer-stated maximum exposure rate.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
Measurement Results
|  |  | Manufacturer's Stated Maximum Exposure Rate: |  |  | mR/h
|  |  | Over-Range Test Exposure Rate: |  |  | mR/h
Indication of Over-Range within 5 seconds:
|  |  | Over-Range Exposure Duration: |  |  | min.
|  |  | Recovery Time: |  |  | min.
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: