## Section 6.5
Section 6.5 Radionuclide Identification
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirement: | When identifying radionuclides, test results are considered acceptable when an instrument identifies the radionuclide(s) of interest, or that radionuclide(s) and expected daughter(s). It is considered not acceptable if the instrument identifies unexpected radionuclides or only the daughter(s) of the radionuclide(s) of interest. If a library is used as part of the identification process, it shall contain the radionuclides listed in 6.5.1 for test purposes as a minimum, and it shall not be altered during the entire testing process. Manufacturers shall specify which analysis modes are available for instrument operation. Some examples are: a) Region summing b) Peak fitting c) Least-squares analysis of library spectra (both manufacturers and user supplied) d) Automatic switching e) Operation of user supplied spectral analysis software f) Other manufacturer spectral analysis techniques Test requirements shall be applied to each available mode, unless the instrument selects the analysis mode automatically.
| Categorization | 6.5.1 The radionuclides of greatest interest and those most likely to be encountered are listed in four different categories. NOTE—This is an informative list and should not be considered as all-inclusive. Special Nuclear Materials: Uranium (used to indicate 233U, 235U), 237Np, Pu. Medical radionuclides: 18F, 67Ga, 51Cr, 75Se, 89Sr, 99Mo, 99mTc, 103Pd, 111In, Iodine (123I, 125I, 131I), 153Sm, 201Tl, 133Xe. Naturally occurring radioactive materials (NORM): 40K, 226Ra, 232Th and daughters, 238U and daughters. Industrial radionuclides: 57Co, 60Co, 133Ba, 137Cs, 192Ir, 204Tl, 226Ra, and 241Am.
Requirements: |  | 6.5.2 The manufacturer shall state the radionuclides that the instrument can identify and their category. The categories selected should be based on the list shown in 6.5.1. The instrument shall display the identiﬁed radionuclide(s) and its category, and store the results as stated in 5.10.
| Note: | Comments are required when the requirement is not verified.
List analysis modes used to identify radionuclides:
|  |  |  | Yes | No
The manufacturer provided a list of radionuclides and the list is categorized
Does the instrument library contain the radionuclides listed in section 6.5.1?
The instrument displays the identified radionuclide and its category
Comments
| Prepared By: |  |  | Date:
| Reviewed By: |  |  | Date: