## Section 6.7
Section 6.7 Simultaneous Radionuclide Identification
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall be able to identify a minimum of two radionuclides simultaneously. NOTE - All identifications shall be performed within the time specified by the manufacturer or 2 min, whichever is less.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C | %RH | mmHg
Source data:
Test Equipment Used:
Isotope Identification Results
Ba133 & RGPu
1
2
3
4
5
6
7
8
9
10
Number Correct
Comments:
| Completed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: