## Section 7.1
Section 7.1 Ambient Temperature Influence
Test Data and Report
Manufacturer:
| Model: |  |  |  |  | Serial Number:
| Requirement: | The instrument shall be operational at temperatures from –20 °C to +50 °C.
| Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
Gamma Exposure Rate Measurement Results
|  | 22° C | 30° C | 40° C | 50° C | 10° C | 0° C | -10° C | -20° C
| 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| COV | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | (± 15%) Acceptance Range: | #DIV/0! | to | #DIV/0!
[6 empty] | low (-15%) |  | high (+15%)
Neutron Exposure Rate Measurement Results
|  | 22° C | 30° C | 40° C | 50° C | 10° C | 0° C | -10° C | -20° C
| 1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| COV | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | (± 15%) Acceptance Range: | #DIV/0! | to | #DIV/0!
[6 empty] | low (-15%) |  | high (+15%)
Radionuclide Identification Results
|  | 22° C | 30° C | 40° C | 50° C | 10° C | 0° C | -10° C | -20° C
ID 1
ID 2
ID 3
ID 4
ID 5
ID 6
ID 7
ID 8
ID 9
ID 10
Number Correct
Neutron (Cf-252) cps
Did instrument alarm due to the temperature test alone? No source present |  | Yes
No
Comments:
|  | Performed by: |  |  |  |  | Date:
|  | Reviewed by: |  |  |  |  | Date: