## Section 7.2
Section 7.2 Temperature Shock
Test Data and Report
Manufacturer:
| Model: | [8 empty] | Serial Number:
| Requirement: | The instrument shall be fully functional within one hour of exposure to rapid temperature changes from 22 °C to –20 °C, –20 °C to 22 °C, 22 °C to 50 °C, and 50 °C to 22 °C with each change being made in less than 5 min. The instrument shall provide an indication if it is not fully functional.
|  | Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
| 22° C |  |  |  | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
[5 empty] | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
1 |  | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! |  |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV% | #DIV/0! |  |  | COV% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Conf-Int (-) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Nominal Mean |  |  |  | Conf-Int (+) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Acceptance Range
#DIV/0! | to | #DIV/0!
low |  | high
(-15%) |  | (+15%)
|  |  | 22° C | 22 to -20° C |  |  |  | - 20 to 22° C |  |  |  | 22 to 50° C |  |  |  | 50 to 22° C
|  |  |  | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
ID 1
ID 2
ID 3
Number Correct
Neutron (Cf-252) cps
|  |  |  | ID Acceptance Criteria: | [9 empty] | A: | Am-241, Co-60
|  |  |  | Correct Radionuclides ID: (A is correct) | [9 empty] | B:
|  |  |  | Temperature shock Pass/Fail: Comparison of ID results at test points with the ID results at ambient temperature being the baseline. | [9 empty] | C:
D:
Comments:
|  | Performed by: | [11 empty] | Date:
|  | Reviewed by: | [11 empty] | Date: